University of Oklahoma

Graduate College

revealing additional information about electricity market underlying power system using power system principles and published market results

A Dissertation

submitted to the Graduate Faculty

in partial fulfillment of the requirements for the

Degree of

Doctor of Philosophy

By

seyed hossein hosseini

Norman, Oklahoma

2014

revealing additional information about electricity market underlying power system using power system principles and published market results

A Dissertation approved for the

School of Electrical and Computer Engineering

By

______________________________

Dr. John N. Jiang, Chair

______________________________

Dr. Chitru Fernando

______________________________

Dr. Joseph Havlicek

______________________________

Dr. Thordur Runolfsson

______________________________

Dr. Hjalti Sigmarsson

© Copyright by SEYED HOSSEIN HOSSEINI 2014

All Rights Reserved.

Dedicated to my immediate family

# Acknowledgements

I would like to thank my academic advisor Dr. John Jiang for his valuable advises and support during my PhD studies at University of Oklahoma. I was fortunate to work with him and I am grateful for his encouragement and patience.

I would also like to thank Dr. Kwok Cheung from Alstom Grid for sharing with us his valuable insights about electricity markets and FTR auction which helped in improving this dissertation.

I would like to thank my PhD committee for their time and their helpful guidance.

Finally, I would like to thank my family for their kind support.

Table of Contents

Acknowledgements	iv

List of Tables	viii

List of Figures	x

Abstract	xi

Chapter 1: Introduction	1

Chapter 2: Electricity Market Overview	4

2.1 A brief overview of electricity market	4

2.2 Energy Locational Marginal Price (LMP)	6

2.3 Basic market cooptimization problem	7

Chapter 3: Financial Transmission Rights Auction	10

3.1 FTR basics	10

3.2 Network model and PTDFs	12

3.3 Market Participants interested in FTR for hedging	14

3.4 Auction formulation	16

3.4.1 Basic Nomenclature	16

3.4.2 Auction formulation	17

3.4.3 Notes	20

3.5 MCP	21

3.6 Example 3.1	22

3.7 Settlements based on LMP and Shadow prices	28

3.8 Sample Monthly auction results	29

3.9 Some notes on ISOs transmission right auctions	31

3.9.1 General notes	31

3.9.2 CAISO auction	31

3.9.3 ERCOT auction	32

3.9.4 MISO auction	33

3.9.5 PJM auction	33

Chapter 4: Estimation Challenges, Applications, and Contribution	34

4.1 Estimation of actual PTDFs from auction/market outcome for additional insights and for regulatory auditing	34

4.2 The need for reliable PTDFs to construct FGR portfolios	35

4.3 PTDF estimation for generation investment	36

4.4 Other applications and contribution	37

Chapter 5: Proposed Estimation Method for FTR auctions and electricity market	39

5.1 FTR Auction dual problem	39

5.2 Involving auction outcome and grid structure in estimation	43

5.3 Proposed estimation method	44

5.3.1 Example 5.1	46

Chapter 6: Simulation Results	51

6.1 Some special cases	51

6.2 Estimation of PTDFs and transmission line limits in different scenarios	52

6.2.1 Case 1-Example 3.1 and 5.1	52

6.2.2 Case 2 (18 buses, 23 transmission lines, 8 FTRs) with a negative bid	57

6.2.3 Case 3 (618 buses, 500 transmission lines, 100 FTRs)	64

Chapter 7: Discussions	65

7.1 Pseudo obligations	65

7.1.1 Addressing the special cases of some Options and FGRs	65

7.1.2 Revisiting Case 2	66

7.2 Simultaneous estimation of multiple PTDFs	67

7.2.1 Brute-Force Method	67

7.2.2 Revisiting Case 1	68

7.2.3 Revisiting Case 2	69

Chapter 8: Concluding Remarks	71

References	75

Appendix A: Case 3-Transmission line input	78

Appendix B: Case 3 – FTR input data and auction optimization results	91

Appendix C: Case 3 – PTDF estimation results	94

Appendix D: Case 3 – Line limit estimation results	117

Appendix E: Modified Case 2 with Pseudo obligations	129

Appendix F: Simultaneous PTDF estimation for Case 1	139

Appendix G: Simultaneous PTDF estimation for Case 2	155

# List of Tables

Table 3.1: Transmission Line Data	22

Table 3.2: FTR Data	23

Table 3.3: PTDF Data	23

Table 3.4: Auction optimization solution – Part 1	26

Table 3.5: Auction optimization solution – Part 2	26

Table 3.6: FTR MCP	28

Table 6.1: PTDF estimation results	52

Table 6.2: Line limit estimation results	55

Table 6.3: Transmission Line Data	57

Table 6.4: FTR input data and auction results	58

Table 6.5: PTDF estimation results	59

Table 6.6: Line limit estimation results	62

Table 7.1: FTR input data and auction results	66

Table 7.2: Estimated PTDFs and their behavior	68

Table 7.3: PTDF sets	68

Table 7.4: Estimated PTDFs and their behavior	69

Table 7.5: PTDF sets	69

Table A.1: Transmission Line Data	78

Table B.1: FTR input data and auction results	91

Table C.1: PTDF estimation results	94

Table D.1: Line limit estimation results	117

Table E.1: PTDF estimation results	129

Table F.1: Simultaneous estimation of PTDF set # 1	139

Table F.2: Simultaneous estimation of PTDF set # 2	139

Table F.3: Simultaneous estimation of PTDF set # 3	140

Table F.4: Simultaneous estimation of PTDF set # 4	141

Table F.5: Simultaneous estimation of PTDF set # 5	144

Table F.6: Simultaneous estimation of PTDF set # 6	147

Table F.7: Simultaneous estimation of PTDF set # 7	150

Table G.1: Simultaneous estimation of PTDF set # 1	155

Table G.2: Simultaneous estimation of PTDF set # 2	155

Table G.3: Simultaneous estimation of PTDF set # 3	156

Table G.4: Simultaneous estimation of PTDF set # 4	157

Table G.5: Simultaneous estimation of PTDF set # 5	160

Table G.6: Simultaneous estimation of PTDF set # 6	163

# List of Figures

Figure 2-1: North America ISO/RTO map [2]	6

Figure 3-1: 6-bus system	22

Figure 3-2: PJM monthly FTR auction results [18]	30

# Abstract

In this dissertation we provide a novel estimation framework designed and structured on duality theory for estimation of some key parameters in electricity markets. Specifically, the framework uses financial transmission right (FTR) auction outcomes such as clearing prices and quantities to estimate implicit parameters of the underlying optimization problem such as power transfer distribution factors (PTDF) without the need to know the auction bid/offers. The application of the proposed framework is not limited to electricity markets and can be used in any optimization problem with similar characteristics. We show successful estimation of parameters by simulating the proposed method on small systems and on a large power system extracted from actual US eastern interconnection network model. We also provide discussion on special estimation cases and proposed methods to address them, and future works to improve the algorithm and applicability of the framework.

# Chapter 1: Introduction

Transmission congestion is a recurring event that impacts power system and market operation. Congestion prevents satisfying electrical energy demand in some areas of the system from cheap generation units thus leading to high power prices (locational marginal prices, abbreviated to LMP) at the affected areas.

To hedge against the congestion price risk, financial transmission rights (FTR) are used that entitle the holder to a payoff which is based on the congestion component difference of LMPs between an injection and a withdrawal location. One method to acquire such contracts is to submit bids to buy them in FTR auctions hold by independent system operators (ISO). ISO which has responsibility of reliable and economical operation of power system uses an optimization framework to clear the bids and offers submitted by auction participants. The auction optimization used by ISO tries to ensure obtaining maximum value from submitted bids and offers while satisfying system flow capacity requirements. To make the auction fair to the participants, ISO publishes the physical network model (that is the base model to be modified and used in auction optimization) before holding the auction which can be used by participants to analyze and adjust their to-be-submitted bids/offers. Although ISO uses an updated network model which is set up based on the published base model, the network structural and operational characteristics may be different with the base model such as inclusion of additional planned/forced line outages and line reactance changes. This impacts the values of some implicit structural-related variables such as power transfer distribution factors (PTDF) which have major impact on auction clearance. A PTDF is the sensitivity of active power flow in a reference direction on a line with respect to a power change in injection and withdrawal locations. PTDF changes impact different aspects of FTR applications such as use of FGRs (contracts similar to FTR) for hedging and the FTR auction clearance. Therefore, having a method to track the PTDF variations based on publicly available auction outcome is worthwhile.

A brute-force method to estimate PTDFs is based on extensive stochastic simulations of the FTR auction. In this case, the uncertain inputs such as bids/offer and uncertain system parameters such as line flow limits and reactances are assumed to have distributions and using stochastic draws of the unknown variables the FTR auction optimization is solved to replicate the actual auction result. Extensive and computationally heavy simulation and the need for some priori information are some drawbacks of the brute-force simulation method.

In this dissertation we propose a different estimation method, designed based on the duality theory, for estimation of the underlying parameters in FTR auction and electricity market optimization problems. The objective of the method is to use actual system output to infer the values of the parameters that characterizes the system. The duality in basic definition describes the relationship between primal and dual problems optimal objective values. The application of the proposed estimation method will be shown in PTDF estimation in FTR auctions. This will be of interest to regulators and auditors, market participants, investors, and retail customers as it helps obtain more insights about the market which would lead to a more transparent and efficient market. We would like to mention that the application of our proposed method is not limited to FTR auctions and electricity markets and can be modified to be suitable for any optimization problem with similar characteristics.

The dissertation is organized as follows: Chapter 2 provides a brief overview of electricity markets and the optimization problem solved for clearing bids/offers in the market. We also discuss the locational marginal pricing which has the goal of managing the congestion using market based prices. In Chapter 3, basic attributes and characteristics of financial transmission rights are discussed followed by a formulation of FTR auction optimization problem. Chapter 4 discusses some reasons for estimating PTDFs and the challenges that one may face in doing so. Chapter 5 introduces our proposed estimation method and shows its application in estimating PTDFs in FTR auctions and electricity markets. Simulation results for two small systems and a large power system extracted from actual US eastern interconnection grid are provided in Chapter 6 and Appendices. Chapter 7 provides discussions on some of the special estimation cases and methods used to address them. Simultaneous estimation of multiple parameters is also discussed in this chapter. Finally, Chapter 8 lists some concluding remarks.

# Chapter 2: Electricity Market Overview

In this chapter, we provide a brief overview of electricity markets, locational marginal pricing, and a basic cooptimization model which is used in the market for clearing the energy and ancillary services together.

## 2.1 A brief overview of electricity market

Electricity markets provide a framework for trade of several electricity related commodities. The main product traded in the market is the electrical energy, that is, delivery of a specified amount of MWh energy over a specified time period. Other commodities traded include ancillary services such as Regulation, Spin, Non-Spin and financial contracts such as transmission rights which are means to hedge locational price risk due to congestion in transmission system.

Major market participants include generating companies who use their portfolio of generation units to sell energy such as merchant generators or utilities, transmission companies who own transmission network components, retailers who provide electricity to consumers but do not own generation, and large consumers.

Day ahead (DA) and Real time (RT) are the two general decision time frames for electricity markets. DA market is a forward market typically held the day before RT operating day.  These markets are interrelated since DA decisions can impact RT decisions and financial outcomes. For example if a retailer purchased 5 MWh energy in DA for 30$/MWh but used 7 MWh in RT at RT price of 40$/MWh, then will be charged for 80 $ for 2 MWh that used in excess of its DA purchase. Finally, transmission right auction provides another decision time frame interrelated with DA market which is typically held a month or more in advance of the operating DA market.

The DA market is cleared hourly using a process that co-optimizes energy and ancillary services. The process is a multi-hour mixed integer programming algorithm that tries to maximize bid-based revenues minus offer-based costs (social welfare) over the operating day, subject to security, ancillary services requirements, and other constraints [1]. The RT market is typically cleared every 5 minutes using a security constrained economic dispatch process (SCED) which tries to produce a least cost dispatch of online resources while respecting transmission and generation constraints.

ISO is the independent system operator that coordinates transmission right auction, DA, and RT markets together for the sake of reliable and economical operation of power system and market. An ISO in general must ensure the balance between supply and demand for every operating hour, must respond quickly to major disruptions such as line or generation outages, and must ensure economical and efficient operation of the market. There are several ISOs throughout the US as shown in Figure 2-1. Each ISO holds its own markets based on its regulations and typically market implementations are different for each ISO, however the general market concepts are similar.

Figure 2-1: North America ISO/RTO map [2]

## 2.2 Energy Locational Marginal Price (LMP)

Locational marginal pricing is a mechanism for using market based prices for managing transmission congestion [3]. The LMP is the marginal cost of serving the next increment of demand (1 unit) at a specific location taking into account the balance of supply with demand and respecting physical limits of the transmission system. When transmission congestion does not exist, the LMPs are the same throughout the system since an energy demand in any location can be satisfied by increasing the output of cheapest generation units. In this case, the offer price of the unit providing the next increment of demand would be reported as the LMP throughout the system. When congestion exists, it may not be possible to meet the demand in some locations by generation from cheap units and thus the cost of serving the next increment of demand depends on the location of the demand. In this case, LMPs can be different throughout the system although buses with close LMPs can still be found.

Each LMP can be decomposed to three components of energy, congestion, and loss. The energy component is considered as the marginal cost of producing energy at slack bus which is the same for all system buses and changes with different choices of slack bus. The congestion component of LMP is considered as the marginal cost of transmission congestion when transferring energy from slack bus to the desired bus. The loss component is considered as the marginal cost of losses when transferring energy from slack bus to desired bus. Intuitively, LMP at a bus can be considered as the cost of producing energy at slack bus and withdrawing it from the desired bus, while this production of energy changes the system cost by the congestion component due to its effects on transmission congestion, and by the loss component due to its effect on system loss.

## 2.3 Basic market cooptimization problem

In a very basic form, the RT cooptimization of energy and ancillary services under a DC OPF framework can be summarized as follows:

| minEi, Rii=1KaiEi+biRi | (2.1) |
| --- | --- |
| Subject to i=1KEi-i=1NDi-loss=0 (λ) | (2.2) |
| Pi,min≤Ei+Ri≤Pi,max (γi,μi) ∀ i∈{1,..,K} | (2.3) |
| Ri,min≤Ri≤Ri,max (ϑ1i1,ϑ1i2) ∀ i∈{1,..,K} | (2.4) |
| i=1KRi≥OR (ϑ2) | (2.5) |
| -RRdown,i≤Ei-Ei,t-5≤RRup,i (ϑ3i1,ϑ3i2) ∀ i∈{1,..,K} | (2.6) |
| -fj,max≤fj≤fj,max (θj,βj) ∀ j∈{1,..,L} | (2.7) |

where

| fj=i=1NGSFj,ipi-Di. | (2.8) |
| --- | --- |

Note that in this optimization problem:

- The system has N buses, K generators, and L transmission lines.

- In (2.1), ai and Ei denote marginal offer of generator i and its energy dispatch at time t, and bi and Ri denote marginal offer for reserve of generator i and its allocated reserve at time t respectively.

- In (2.2), Di denotes the demand at bus i at time t.

- Equation (2.4) represents the unit reserve capability.

- Equation (2.5) represents the system-wide reserve constraint where OR denotes the system-wide reserve requirement.

- In (2.6), Ei,t-5 denotes the energy dispatch of unit i at the previous solution of the optimization problem (which here is assumed to be 5 minutes ago). RRdown,i, and RRup,i are the unit ramping limits.

- In (2.7), fj represents flow of line j for a fixed direction

- In (2.8), GSFj,i denotes the generation shift factor of bus i on line j.

- Lagrange multipliers associated to every constraint is shown in parenthesis following the constraint.

The Lagrangian function L can be written as follows:

| L=i=1KaiEi+biRi+λ(i=1KEi-i=1NDi-loss) |  |
| --- | --- |
| +j=1Lβj(i=1NGSFj,iEi-Di-fj,max) |  |
| +j=1Lθj(-fj,max-i=1NGSFj,iEi-Di)+Other terms not having Di |  |

Finally, the LMP of bus i can be calculated as follows,

| LMPi=∂L∂Di=-λ1+∂loss∂Di-j=1Lβj-θjGSFj,i |  |
| --- | --- |

# Chapter 3: Financial Transmission Rights Auction

This chapter is dedicated to introduction of financial transmission rights (FTR) and the auction held by ISO and used by participants to acquire these rights.

## 3.1 FTR basics

A FTR is a financial contract that entitles the holder to a payoff (positive or negative) which is based on the congestion component difference of LMPs between an injection and a withdrawal location [4]. The FTRs defined between an injection and a withdrawal location are typically called Point-to-Point (PTP) FTRs. Transmission rights can also be found in the form of flowgate rights (FGR) with positive revenue based on the shadow price of the underlying flowgate in market optimization problem. A flowgate is a key transmission network element or bundle of several elements (such as several lines) which is monitored for congestion. From now on until Section 3.4 we would use FTRs to denote both FTRs and FGRs to explain general properties of these transmission rights.

A FTR is specified using several attributes such as

- Account holder/Owner

- Category: PTP or FGR

- Type: Obligation or Option

- Injection and Withdrawal location (or Flowgate name for FGRs)

- FTR term and start/end dates: Monthly, Quarterly, etc.

- Time of Use (TOU): On Peak, Off Peak, 24 Hr, On Peak Weekend, On Peak Weekday

- Bid/Offer price and quantity

FTRs can be used for hedging or investment. When LMPs of two locations are different due to congestion, a market participant holding a transaction between these two locations that adds to the congestion severity has to pay a congestion cost which is the difference between congestion components of LMPs at location of withdrawal and at location of injection. In this case, a PTP FTR can be used to hedge this congestion cost since its payoff is the difference between congestion component of LMPs at withdrawal and injection locations. The FTRs can also be used for investment if the participant trades the FTR for the sake of its positive expected payoff and not necessarily for hedging a transaction risk.

FTRs can be acquired by allocating where the ISO in special cases allocates the FTR to some market entities or transmission operators; auctioning where ISO holds several auctions to let market participants submit bids/offers for FTRs; and trading where participants trade their FTRs bilaterally.

In FTR auctions, participants submit their bids and offers and ISO solves an optimization problem to clear the competitive submissions and to calculate FTR market clearing price (MCP). Note that FTR prices cannot be calculated until the auction optimization is solved. The optimization objective is to award FTRs to participants that value them the most. The optimization constraints are in general FTR quantity requirements and simultaneous feasibility test (SFT) requirements which are used to ensure transmission capacity is not oversold in auction. SFT is used to ensure that the network flows due to introduction of FTRs does not violate operating constraints such as line flow limits. It confirms that the transmission system can support an awarded set of FTRs during normal system conditions [4].

ISO collects congestion charges in the day-ahead market and adds it to a FTR balancing account. This account which is also used to collect some other charges will be used to pay FTR settlement revenues (or collect FTR settlement charges). When the ISO collects equal or more than what it pays as FTR revenue, then it is revenue adequate. The auction optimization problem is designed to ensure revenue adequacy although in practice there are chances of revenue inadequacy. Revenue adequacy is ensured (sufficient condition) if the network model and the constraints that are used in the FTR auction are the same as those of DA market [4]. However, this is not the case in practice as the network model and constraints change as time passes. We will discuss later that power transfer distribution factors which are major components of SFT change between FTR auction and DA market and thus would lead to different set of feasibility constraints.

To further ensure revenue adequacy, the auction optimization is designed so that FTRs that are of option type does not provide counterflow. A counterflow is a flow in the opposite direction of main flow which would reduce the congestion severity and thus could lead to more FTRs being cleared in the main direction of flow. We do not delve into details of this design and refer the reader to [4] for further illustrations. However, we will consider this design element in our models.

## 3.2 Network model and PTDFs

The network model is a key component of FTR auction and electricity market operations which is prepared in AC form and is converted to a DC model for FTR auction. The DA market network model choice varies from AC to DC-with-losses for various ISOs. However, most of ISOs use a DC network model for their FTR auction. The AC network model is published to market participants to help them decide their FTR bid/offer submissions however the DC model used in FTR auction is not available and thus is uncertain to participants. The AC network model is generally published for different seasons and loading conditions which are different in active and reactive load pattern, line ratings, and line and generation planned outages. The AC network model includes loads, generators, full transmission line model, voltage transformers and phase shifters, shunt devices, HVDC lines and FACTs and etc. This AC model is converted to a DC network model to be used in FTR auction. To do so, the transmission line resistances are set to zero and all voltage magnitudes are set at 1 p.u. Moreover, all the generation, loads, and shunt and reactive devices are eliminated. Then each FTR will be modeled such as a generator at its injection location and a load at its withdrawal location. This ensures that the sum of FTR injections and withdrawals are balanced in the network.

The converted DC model will be used along with SFT conditions and other constraints to clear the feasible and competitive FTRs. Some of major components of SFT constraints are power transfer distribution factors (PTDFs) which specifies the flow on transmission lines due to FTR injection and withdrawals. A PTDF is specified by a line with reference direction, an injection and withdrawal bus, and a value. The value of PTDF is the sensitivity of active power flow in a reference direction on a line with respect to a power change in injection and withdrawal locations [4]. The PTDFs are calculated from network model and are used in the SFT conditions. For an AC network model, PTDFs change when system operating points are changed such as losses and reactive power flow; system structure is changed such as outages in some lines; line characteristics are changed such as line reactance. For a DC network model, PTDFs only change with changes in system structure and line reactances and they are independent of injections to and withdrawals from network.

## 3.3 Market Participants interested in FTR for hedging

In this section, using some examples we show how some of the electricity market participants may use FTRs to hedge against locational price risk. Specifically we consider an independent retailer, a merchant generator, and a utility company [5].

An independent retailer does not own generation and thus buys energy at electricity spot price to deliver it to consumers. Suppose the retailer has to supply fixed load of L at location B at a fixed rate of R. The retailer has to buy the required energy from market at location B at spot price of SB. Thus, its profit is given by

| P=LR-LSB. | (3.1) |
| --- | --- |

The retailer is exposed to spot price risk and its profit will reduce if SB increases. Suppose the retailer decides to enters an obligation contract to hedge the price risk however the contract is available for spot price at a different location SA. The profit function considering the obligation contract is given by

| P=LR-LSB+Q( SA-K) | (3.2) |
| --- | --- |

where Q is the hedge quantity and K is the strike price of the contract. In this case if the spot price at location A increases above the K then the hedge contract payoff is positive. Finally, the retailer may enter into a FTR contract with the same hedge quantity between locations A and B to hedge against the spot and locational price risk. In this case the profit is (ignoring cost of acquiring FTR)

| P=LR-LSB+Q SA-K+QSB-SA. | (3.3) |
| --- | --- |

To hedge against the spot and locational price risk, the hedge quantity should be chosen so that

| -LSB+QSA+QSB-SA=0 |  |
| --- | --- |

or

| Q=L. |  |
| --- | --- |

Then, the profit would be given by (3.4) which has no uncertainty assuming L is known and fixed. Note that the example introduced here is only for illustration and is very simplified compared to practical cases.

| P=LR-LK | (3.4) |
| --- | --- |

A merchant generator owns generation and sells the electricity at spot price. Consider a merchant generator that decides to sell L amount of energy at the spot price SB however enters into an obligation contract at a different location A to hedge its price risk. Also suppose the merchant generator enters into a FTR to hedge against locational price risk. Then the profit (ignoring generation cost) is given by

| P=LSB-Q SA-K+QSA-SB |  |
| --- | --- |

To hedge against the spot and locational price risk, the hedge quantity should be chosen so that

| LSB-Q SA+QSA-SB=0 |  |
| --- | --- |

or

| Q=L. |  |
| --- | --- |

Then, the profit would be given by

| P=LK. |  |
| --- | --- |

Consider a utility company (UC) that has its generation units at location A and its consumers at location B. Suppose it decides to sell L MWh at location A and purchase L MWh at B to deliver to consumers. Then UC is exposed to spot and locational price risk of A and B. To hedge the risks, the UC enters into a FTR with quantity Q=L. Then the profit is given by

| P=LSA-SBSpot sale and purchase+L(SB-SA)FTR payoff=0 |  |
| --- | --- |

which is certain. Note that the UC collects revenue from consumers by selling them electricity at a fixed rate.

## 3.4 Auction formulation

In this section we provide a general formulation of FTR auction optimization problem. This formulation is meant to cover major characteristics of the FTR auction and is deduced and modified based on references [6]-[21].

### 3.4.1 Basic Nomenclature

| b/s | Participant => b for buyer and s for seller |
| --- | --- |
| t | Time of use (TOU) => Peak or Off-peak or 24hr |
| w | FTR type => Obligation (Obl), Option (Opt), and FGR |
| km | Injection bus k and withdrawal bus m |
| ij | Index of line i-j |
| rs | Index of contingency line r-s |
| r | Auction round |
| mr | Fraction of capacity auctioned in round r |
| β | Bid/Offer price |
| BL | Bid/Offer Block |
| Fijmax | Flow limit of transmission line between bus i and j |
| PTDFij,km | PTDF of line i-j w.r.t. injection at k and withdrawal from m |
| LODFij,rs | LODF of line i-j w.r.t. outage of line r-s |
| Qw,t,km,BLb/s, max | Maximum quantity of offer/bid for right w, TOU t, buses km, and block BL |
| Qw,t,km,BLb/s, min | Minimum quantity of offer/bid for right w, TOU t, buses km, and block BL |
| MCPkm,t-24hr,wr | Market clearing price of the transmission right for round r, right w, buses km, and Peak or Off-peak TOU |
| MCPkm,t=24hr,wr | Market clearing price of the transmission right for round r, right w, buses km, and 24hr TOU |

### 3.4.2 Auction formulation

The auction optimization problem for round r can be summarized as follows:

| maxQw,t,km,BLb/sbs,w,t,km,BLβw,t,km,BLb∙Qw,t,km,BLb-βw,t,km,BLs∙Qw,t,km,BLs | (3.5) |
| --- | --- |

subject to

| bs,t,km,BL{PTDFij,km∙[Qt,km,BL,w=Oblb-Qt,km,BL,w=Obls |  |
| --- | --- |
| +ρ=1r-1Qt,km,BL,w=Oblb,ρ-Qt,km,BL,w=Obls,ρ] |  |
| +max0,PTDFij,km∙[Qt,km,BL,w=Optb-Qt,km,BL,w=Opts |  |
| +ρ=1r-1Qt,km,BL,w=Optb,ρ-Qt,km,BL,w=Opts,ρ] |  |
| +[Qt,ij,BL,w=FGRb-Qt,ij,BL,w=FGRs+ρ=1r-1Qt,ij,BL,w=FGRb,ρ-Qt,ij,BL,w=FGRs,ρ]} |  |
| ≤mrFijmax ∀ ij μij+ | (3.6) |

where Σρ=1r-1( ) denotes the net of FTRs cleared in the previous rounds and Qt,ij,BL,w=FGR denotes the bid/offer quantity for flow on flowgate from i-j.

| bs,t,km,BL{-PTDFij,km∙[Qt,km,BL,w=Oblb-Qt,km,BL,w=Obls |  |
| --- | --- |
| +ρ=1r-1Qt,km,BL,w=Oblb,ρ-Qt,km,BL,w=Obls,ρ] |  |
| +max0,-PTDFij,km∙[Qt,km,BL,w=Optb-Qt,km,BL,w=Opts |  |
| +ρ=1r-1Qt,km,BL,w=Optb,ρ-Qt,km,BL,w=Opts,ρ] |  |
| +[Qt,ji,BL,w=FGRb-Qt,ji,BL,w=FGRs+ρ=1r-1Qt,ji,BL,w=FGRb,ρ-Qt,ji,BL,w=FGRs,ρ]} |  |
| ≤mrFjimax ∀ ij μij- | (3.7) |

The n-1 contingency constraints are as follows:

| bs,t,km,BL{[PTDFij,km+LODFij,rsPTDFrs,km]∙[Qt,km,BL,w=Oblb-Qt,km,BL,w=Obls |  |
| --- | --- |
| +ρ=1r-1Qt,km,BL,w=Oblb,ρ-Qt,km,BL,w=Obls,ρ] |  |
| +max0,PTDFij,km+LODFij,rsPTDFrs,km∙[Qt,km,BL,w=Optb-Qt,km,BL,w=Opts |  |
| +ρ=1r-1Qt,km,BL,w=Optb,ρ-Qt,km,BL,w=Opts,ρ] |  |
| +[Qt,ij,BL,w=FGRb-Qt,ij,BL,w=FGRs+ρ=1r-1Qt,ij,BL,w=FGRb,ρ-Qt,ij,BL,w=FGRs,ρ]} |  |
| ≤mrFijmax ∀ ij and rs νij,rs+ | (3.8) |

| bs,t,km,BL{-[PTDFij,km+LODFij,rsPTDFrs,km]∙[Qt,km,BL,w=Oblb-Qt,km,BL,w=Obls |  |
| --- | --- |
| +ρ=1r-1Qt,km,BL,w=Oblb,ρ-Qt,km,BL,w=Obls,ρ] |  |
| +max0,-[PTDFij,km+LODFij,rsPTDFrs,km]∙[Qt,km,BL,w=Optb-Qt,km,BL,w=Opts |  |
| +ρ=1r-1Qt,km,BL,w=Optb,ρ-Qt,km,BL,w=Opts,ρ] |  |
| +[Qt,ji,BL,w=FGRb-Qt,ji,BL,w=FGRs+ρ=1r-1Qt,ji,BL,w=FGRb,ρ-Qt,ji,BL,w=FGRs,ρ]} |  |
| ≤mrFjimax ∀ ij and rs νij,rs- | (3.9) |

Moreover, the bid/offer quantities should be within appropriate or requested limits.

| Qw,t,km,BLb/s≤Qw,t,km,BLb/s,max ∀ km and BL πw,t,km,BL+ | (3.10) |
| --- | --- |
| -Qw,t,km,BLb/s≤-Qw,t,km,BLb/s,min ∀ km and BL πw,t,km,BL- | (3.11) |

### 3.4.3 Notes

1. Each auction round r is solved separately.

2. The bid prices for obligation FTRs can be negative.

3. Transmission rights awarded in previous rounds ρ=1,…,r-1 are already known and thus are modeled as fixed injections or flows. This has been addressed in the above formulation by terms in Σρ=1r-1 argument.

4. The optimization problem is solved separately for Peak and Off-Peak periods.

5. A 24hr bid/offer is modeled as a combination of a Peak and an Off-Peak bid/offer.

6. Because option holders do not have the obligation to relieve the congestion if the flow direction is not in their benefit, options are modeled such that they do not provide counterflows.

7. Note that the FGRs modeled here are naturally an option since they have a positive payment if the shadow price is positive in their direction and zero payment if shadow price is positive in negative direction.

8. The optimization is first solved without contingency constraints (3.8) and (3.9). Then a contingency analysis is performed to determine the important set of contingent elements and lines or flowgates. Finally, the optimization is resolved considering the additional contingency constraints (3.8) and (3.9) for identified contingencies.

## 3.5 MCP

The market clearing price (MCP) of an obligation right for 1 MW injection at k and withdrawal from m is equal to the congestion cost of a transaction between these locations and can be calculated as [6], [8], [9]:

| MCPkm=ij[μij+-μij-∙PTDFij,km]. |  |
| --- | --- |

For the auction in (3.5)-(3.11), the MCP of FTRs can be summarized as follows:

| MCPkm,t-24hr,w=Obl=ij[μij+-μij-∙PTDFij,km] |  |
| --- | --- |
| +ij,rs[νij,rs+-νij,rs-∙PTDFij,km+LODFij,rsPTDFrs,km] | (3.12) |

| MCPkm,t-24hr,w=Opt=ij[μij+max0,PTDFij,km] |  |
| --- | --- |
| +ij[μij-max0,-PTDFij,km] |  |
| +ij,rs[νij,rs+max0,PTDFij,km+LODFij,rsPTDFrs,km] |  |
| +ij,rs[νij,rs-max0,-PTDFij,km+LODFij,rsPTDFrs,km] | (3.13) |

| MCPkm,t-24hr,w=FGR=μkm++rsνkm,rs+ if km=ijμkm-+rsνkm,rs- if km=ji | (3.14) |
| --- | --- |

The MCP for 24hr transmission right is weighted average of the Peak and Off-peak rights:

| MCPkm,t=24hr,w=MCPkm,t=Peak,w∙TPeak+MCPkm,t=Off-Peak,w∙TOff-PeakTPeak+TOff-Peak | (3.15) |
| --- | --- |

where TPeak and TOff-Peak denote the number of Peak and Off-Peak hours in FTR term, respectively.

## 3.6 Example 3.1

Figure 3-1: 6-bus system

Consider the network model shown in figure 3-1. The network data, FTR bids/offers, and PTDF data are given in the following tables.

| Table 3.1: Transmission Line Data |  |  |  |  |
| --- | --- | --- | --- | --- |
| # | From bus Number | To bus Number | X (PU) | Limit(MW) |
| 1 | 1 | 2 | 0.02 | F12max=F21max=100 |
| 2 | 1 | 4 | 0.02 | F14max=F41max=100 |
| 3 | 2 | 4 | 0.02 | F24max=F42max=200 |
| 4 | 3 | 2 | 0.02 | F32max=F23max=100 |
| 5 | 4 | 5 | 0.02 | F45max=F54max=200 |
| 6 | 6 | 3 | 0.02 | F63max=F36max=100 |
| 7 | 6 | 5 | 0.02 | F65max=F56max=100 |

| Table 3.2: FTR Data |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| # | Type | Bid/Offer | Injection bus | Withdrawal bus | Max Quantity (MW) | Price ($/MW) |
| 1 | Obl | Bid | 1 | 5 | Q15b,max=150 | β15b=15 |
| 2 | Obl | Bid | 6 | 2 | Q62b,max=150 | β62b=12 |
| 3 | Opt | Bid | 4 | 5 | Q45, Optb,max=100 | β45, Optb=6 |
| 4 | Opt | Bid | 2 | 4 | Q24,Optb,max=200 | β24,Optb=16 |
| 5 | FGR | Bid | 2 | 4 | Q24,FGRb,max=200 | β24,FGRb=20 |
| 6 | Opt | Offer | 6 | 5 | Q65, Opts,max=50 | β65, Opts=8 |

| Table 3.3: PTDF Data |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| PTDF12,15 | 0.4286 | PTDF14,15 | 0.5714 | PTDF24,15 | 0.1429 |
| PTDF32,15 | -0.2857 | PTDF45,15 | 0.7143 | PTDF63,15 | -0.2857 |
| PTDF65,15 | 0.2857 | PTDF12,62 | 0.1429 | PTDF14,62 | -0.1429 |
| PTDF24,62 | -0.2857 | PTDF32,62 | 0.5714 | PTDF45,62 | -0.4286 |
| PTDF63,62 | 0.5714 | PTDF65,62 | 0.4286 | PTDF12,45 | 0.0714 |
| PTDF14,45 | -0.0714 | PTDF24,45 | -0.1429 | PTDF32,45 | -0.2143 |
| PTDF45,45 | 0.7857 | PTDF63,45 | -0.2143 | PTDF65,45 | 0.2143 |
| PTDF12,24 | -0.2857 | PTDF14,24 | 0.2857 | PTDF24,24 | 0.5714 |
| PTDF32,24 | -0.1429 | PTDF45,24 | -0.1429 | PTDF63,24 | -0.1429 |
| PTDF65,24 | 0.1429 | PTDF12,65 | -0.0714 | PTDF14,65 | 0.0714 |
| PTDF24,65 | 0.1429 | PTDF32,65 | 0.2143 | PTDF45,65 | 0.2143 |
| PTDF63,65 | 0.2143 | PTDF65,65 | 0.7857 |  |  |

The auction optimization, considering a single round, single TOU, single bid/offer blocks, and no contingency constraints, can be formulated as follows:

| max β15bQ15b+β62bQ62b+β45, OptbQ45, Optb+β24,OptbQ24,Optb+β24,FGRbQ24,FGRb-β65, OptsQ65, Opts | (3.16) |
| --- | --- |

subject to

PTDF12,15Q15b+PTDF12,62Q62b+max⁡(0,PTDF12,45)Q45, Optb+max⁡(0,PTDF12,24)Q24,Optb-max⁡(0,PTDF12,65)Q65, Opts≤F12max μ12+

PTDF14,15Q15b+PTDF14,62Q62b+max⁡(0,PTDF14,45)Q45, Optb+max⁡(0,PTDF14,24)Q24,Optb-max⁡(0,PTDF14,65)Q65, Opts≤F14max μ14+

PTDF24,15Q15b+PTDF24,62Q62b+max0,PTDF24,45Q45, Optb+max0,PTDF24,24Q24,Optb+Q24,FGRb-max0,PTDF24,65Q65, Opts≤F24max μ24+

PTDF32,15Q15b+PTDF32,62Q62b+max⁡(0,PTDF32,45)Q45, Optb+max⁡(0,PTDF32,24)Q24,Optb-max⁡(0,PTDF32,65)Q65, Opts≤F32max μ32+

PTDF45,15Q15b+PTDF45,62Q62b+max⁡(0,PTDF45,45)Q45, Optb+max⁡(0,PTDF45,24)Q24,Optb-max⁡(0,PTDF45,65)Q65, Opts≤F45max μ45+

PTDF63,15Q15b+PTDF63,62Q62b+max⁡(0,PTDF63,45)Q45, Optb+max⁡(0,PTDF63,24)Q24,Optb-max⁡(0,PTDF63,65)Q65, Opts≤F63max μ63+

PTDF65,15Q15b+PTDF65,62Q62b+max⁡(0,PTDF65,45)Q45, Optb+max⁡(0,PTDF65,24)Q24,Optb-max⁡(0,PTDF65,65)Q65, Opts≤F65max μ65+

Line flow constraints on opposite direction:

-PTDF12,15Q15b-PTDF12,62Q62b+max⁡(0,-PTDF12,45)Q45, Optb+max⁡(0,-PTDF12,24)Q24,Optb-max⁡(0,-PTDF12,65)Q65, Opts≤F21max μ12-

-PTDF14,15Q15b-PTDF14,62Q62b+max⁡(0,-PTDF14,45)Q45, Optb+max⁡(0,-PTDF14,24)Q24,Optb-max⁡(0,-PTDF14,65)Q65, Opts≤F41max μ14-

-PTDF24,15Q15b-PTDF24,62Q62b+max0,-PTDF24,45Q45, Optb+max0,-PTDF24,24Q24,Optb-max0,-PTDF24,65Q65, Opts≤F42max μ24-

-PTDF32,15Q15b-PTDF32,62Q62b+max⁡(0,-PTDF32,45)Q45, Optb+max⁡(0,-PTDF32,24)Q24,Optb-max⁡(0,-PTDF32,65)Q65, Opts≤F23max μ32-

-PTDF45,15Q15b-PTDF45,62Q62b+max⁡(0,-PTDF45,45)Q45, Optb+max⁡(0,-PTDF45,24)Q24,Optb-max⁡(0,-PTDF45,65)Q65, Opts≤F54max μ45-

-PTDF63,15Q15b-PTDF63,62Q62b+max⁡(0,-PTDF63,45)Q45, Optb+max⁡(0,-PTDF63,24)Q24,Optb-max⁡(0,-PTDF63,65)Q65, Opts≤F36max μ63-

-PTDF65,15Q15b-PTDF65,62Q62b+max⁡(0,-PTDF65,45)Q45, Optb+max⁡(0,-PTDF65,24)Q24,Optb-max⁡(0,-PTDF65,65)Q65, Opts≤F56max μ65-

The bid/offer quantity constraints:

Q15b≤Q15b,max π15+

Q62b≤Q62b,max π62+

Q45, Optb≤Q45, Optb,max π45, Opt+

Q24,Optb≤Q24,Optb,max π24,Opt+

Q24,FGRb≤Q24,FGRb,max π24,FGR+

Q65, Opts≤Q65, Opts,max π65, Opt+

-Q15b≤0 π15-

-Q62b≤0 π62-

-Q45, Optb≤0 π45, Opt-

-Q24,Optb≤0 π24,Opt-

-Q24,FGRb≤0 π24,FGR-

-Q65, Opts≤0 π65, Opt-

The solution of auction optimization problem is as follows:

| Table 3.4: Auction optimization solution – Part 1 |  |  |  |
| --- | --- | --- | --- |
| # | FTR cleared quantity | Shadow prices |  |  |
| 1 | Q15b=150 | π15+=3 | π15-=0 |  |
| 2 | Q62b=150 | π62+=6 | π62-=0 |  |
| 3 | Q45, Optb=58.3 | π45, Opt+=0 | π45, Opt-=0 |  |
| 4 | Q24,Optb=137.5 | π24,Opt+=0 | π24,Opt-=0 |  |
| 5 | Q24,FGRb=150 | π24,FGR+=0 | π24,FGR-=0 |  |
| 6 | Q65, Opts=50 | π65, Opt+=17 | π65, Opt-=0 |  |

| Table 3.5: Auction optimization solution – Part 2 |  |  |
| --- | --- | --- |
| # | Line flow constraint shadow prices |  |  |
| 1 | μ12+=0 | μ12-=0 |  |
| 2 | μ14+=2 | μ14-=0 |  |
| 3 | μ24+=20 | μ24-=0 |  |
| 4 | μ32+=0 | μ32-=0 |  |
| 5 | μ45+=0 | μ45-=0 |  |
| 6 | μ63+=0 | μ63-=0 |  |
| 7 | μ65+=28 | μ65-=0 |  |

Finally, the MCPs can be calculated using the following formulas and auction results:

MCP15=μ12+-μ12-PTDF12,15+μ14+-μ14-PTDF14,15+μ24+-μ24-PTDF24,15+μ32+-μ32-PTDF32,15+μ45+-μ45-PTDF45,15+μ63+-μ63-PTDF63,15+μ65+-μ65-PTDF65,15

MCP62=μ12+-μ12-PTDF12,62+μ14+-μ14-PTDF14,62+μ24+-μ24-PTDF24,62+μ32+-μ32-PTDF32,62+μ45+-μ45-PTDF45,62+μ63+-μ63-PTDF63,62+μ65+-μ65-PTDF65,62

MCP45,Opt=μ12+max⁡(0,PTDF12,45)+μ12-max⁡(0,-PTDF12,45)

+μ14+max⁡(0,PTDF14,45)+μ14-max⁡(0,-PTDF14,45)

+μ24+max⁡(0,PTDF24,45)+μ24-max⁡(0,-PTDF24,45)

+μ32+max⁡(0,PTDF32,45)+μ32-max⁡(0,-PTDF32,45)

+μ45+max⁡(0,PTDF45,45)+μ45-max⁡(0,-PTDF45,45)

+μ63+max⁡(0,PTDF63,45)+μ63-max⁡(0,-PTDF63,45)

+μ65+max⁡(0,PTDF65,45)+μ65-max⁡(0,-PTDF65,45)

MCP24,Opt=μ12+max⁡(0,PTDF12,24)+μ12-max⁡(0,-PTDF12,24)

+μ14+max⁡(0,PTDF14,24)+μ14-max⁡(0,-PTDF14,24)

+μ24+max⁡(0,PTDF24,24)+μ24-max⁡(0,-PTDF24,24)

+μ32+max⁡(0,PTDF32,24)+μ32-max⁡(0,-PTDF32,24)

+μ45+max⁡(0,PTDF45,24)+μ45-max⁡(0,-PTDF45,24)

+μ63+max⁡(0,PTDF63,24)+μ63-max⁡(0,-PTDF63,24)

+μ65+max⁡(0,PTDF65,24)+μ65-max⁡(0,-PTDF65,24)

MCP24,FGR=μ24+

MCP65,Opt=μ12+max⁡(0,PTDF12,65)+μ12-max⁡(0,-PTDF12,65)

+μ14+max⁡(0,PTDF14,65)+μ14-max⁡(0,-PTDF14,65)

+μ24+max⁡(0,PTDF24,65)+μ24-max⁡(0,-PTDF24,65)

+μ32+max⁡(0,PTDF32,65)+μ32-max⁡(0,-PTDF32,65)

+μ45+max⁡(0,PTDF45,65)+μ45-max⁡(0,-PTDF45,65)

+μ63+max⁡(0,PTDF63,65)+μ63-max⁡(0,-PTDF63,65)

+μ65+max⁡(0,PTDF65,65)+μ65-max⁡(0,-PTDF65,65)

Using the given values for the variables, the MCPs are calculated and the results are shown in Table 3.6.

| Table 3.6: FTR MCP |  |
| --- | --- |
| # | MCPs |  |
| 1 | 12 |  |
| 2 | 6 |  |
| 3 | 6 |  |
| 4 | 16 |  |
| 5 | 20 |  |
| 6 | 25 |  |

Comparing the calculated MCP values in Table 3.6 with bid/offer prices in Table 3.2, we see that:

- A bid to buy a FTR is cleared if the bid price is larger than or equal to the MCP

- An offer to sell a FTR is cleared if the offer price is less than or equal to the MCP

The MCPs in Table 3.6 will be used to calculate the auction settlements. For example if FTR #1 was requested for 300 hours in TOU, then the bidder must pay a Cost=Q15b∙MCP1∙300=150∙12∙300=$540000 to hold the right.

## 3.7 Settlements based on LMP and Shadow prices

FTRs cleared in the monthly auctions will generally be settled hourly using DA market congestion component of LMP. FGRs are settled based on the DA market shadow prices of the underlying flowgate. For obligation FTRs, the payment/charge (P/C) is

| P/CObl=Quantity(MW)∙(LMPCong/with-LMPCong/inj) |  |
| --- | --- |

where LMPCong/inj and LMPCong/with denote congestion components of hourly DA LMP at injection and withdrawal locations. A positive value for P/C would be a payment to FTR holder and a negative value would denote a charge. For option FTRs there is no charge and the payment is

| POpt=Quantity(MW)∙max⁡(0,LMPCong/with-LMPCong/inj). |  |
| --- | --- |

We do not provide settlement formulas for FTR sellers as we assume a participant can only sell FTRs that are already purchased in previous auctions and thus no sell FTR will exist for DA settlement.

## 3.8 Sample Monthly auction results

Figure 3.2 shows part of the PJM monthly FTR auction results for the auction held for July 2014. We observe for example that the auction is cleared for three TOUs (OnPeak, OffPeak, and 24 HR), different monthly or quarterly time periods (Jul, Aug, Sep, Q2, Q3, and Q4), and for Option and Obligation FTRs. FTRs in PJM monthly auction can have a term of one month for any of the next three individual months in the planning period or one quarter for any full remaining quarters where Q1 covers June, July, August; Q2 covers September, October, November; Q3 covers December, January, February; and Q4 covers March, April, and May [20]. Thus, the FTR terms for July auction can be July, August, September, Q2, Q3, and Q4.

Figure 3-2: PJM monthly FTR auction results [18]

## 3.9 Some notes on ISOs transmission right auctions

In this section, we summarize some additional information about variations in FTR auctions for different ISOs [19]-[22].

### 3.9.1 General notes

- FTRs are financial positions.

  - There are annual, seasonal, and monthly auctions.

- A base FTR network model is released to participants typically a few weeks before auction.

- FTR MW amount and MCP is the same for all hours within the TOU block and for the whole FTR term.

- Bid prices can be negative for FTR obligations.

- FTRs settled with congestion components of DA LMP.

### 3.9.2 CAISO auction

- CAISO auctiones congestion revenue rights (CRRs) for hedging congestion risks.

- CRR options are dedicated only to transmission operators.

- Bid/Offers can be piecewise linear.

- Annual auction:

  - Yearly

  - 75% of network capacity

  - Four seasons, two TOU (Peak and Off-Peak): As an example can be awarded a CRR for the 1st season Peak hours. The CRR is going to be applied to all Peak hours in season 1 with fixed price.

  - Eight independent optimizations for two TOU and four seasons.

- Monthly auction: 12 time a year in advance of each month

- DC network model is used for auction.

### 3.9.3 ERCOT auction

- CRRs auctioned in 1-month strips and three TOU (Off-Peak, Peak weekday (PeakWD), and Peak weekend (PeakWE))

- 24hr bids treated as single bid across all TOUs. The MCP of a 24hr CRR is weighted average of different TOU MCPs.

- Bids in form of not-to-exceed price (single segment).

- Annual auction:

  - Two-years

  - 55% of network capacity for the first year

  - 15% of network capacity for the second year

  - Each year optimization executed separately.

  - Only obligations and options.

  - CRRs could be for more than 1-month strips.

- Monthly auction:

  - 1-month strip

  - 90% of network capacity

  - Obligations, options, and FGRs for designated directional network elements

- DC network model is used for auction.

### 3.9.4 MISO auction

- Annual auction consists of several rounds.

- Monthly auction:

  - Two separate optimization for Peak and Off-Peak

### 3.9.5 PJM auction

- Annual auction consists of several rounds.

- Monthly auction:

  - FTR terms of 1 month or 1 quarter

  - Obligations and Options

# Chapter 4: Estimation Challenges, Applications, and Contribution

As illustrated in previous chapters, PTDFs play an important role in FTR auction clearance, and FTR hedge. In practice PTDFs change under different network topology, loading pattern, and controllable transmission system elements limits [23]-[25]. For example, line outage, line addition, and phase shifters reaching their limits are among system events impacting PTDF values. PTDF variations impact different aspects of FTR applications such as use of FGRs for hedging and the FTR auction clearance. In the following we provide several general application categories for which it would be beneficial to know the PTDF variations and thus an estimation framework such as ours can be of significant application. However, the use of our proposed estimation framework is not limited to these applications. Finally we would summarize contribution of our proposed framework to the state of art and its benefits to the electricity market and power system industry.

## 4.1 Estimation of actual PTDFs from auction/market outcome for additional insights and for regulatory auditing

In practice, the FTR auction or DA market network model is published in advance of the auction/market operating day, and it is based on the forecasted network operation. Thus, the PTDFs that are used in the DA market may be different than those published earlier. These PTDFs are not typically publicly available. Thus, an estimation framework which can help estimate PTDF values from publicly available auction/market outcome would have great applications for regulatory audition of market operation such as for market abuse as well as for identifying additional auction/market insights. For example, a generation unit could withhold capacity to cause congestion in several transmission lines. Then, estimation of line flow sensitivities or PTDFs could help auditors to identify the units that have large impact on transmission flows and investigate them carefully for market power abuse.

## 4.2 The need for reliable PTDFs to construct FGR portfolios

As discussed in earlier chapters, the congestion cost between injection location k and withdrawal location m for a transaction between these locations can be calculated as

| Congestion Cost=ij[μij+-μij-∙PTDFij,km] | (4.1) |
| --- | --- |

where μij+, μij- denote shadow prices of line i-j flow limit constraints. Since the settlement of a FGR is equal to the shadow price (μij+ , μij-) of the underlying flowgate, it is possible to construct a FGR portfolio with PTDFij,km as portfolio weights to hedge the congestion risk for a 1 MW transaction between the two locations. However, due to changes in PTDFs, the FGR portfolios that are set up based on an initial set of PTDFs cannot fully hedge the underlying position if the PTDFs at the time of settlement are different than the initial set [23]. Thus an estimation framework which can help update the trader’s knowledge of PTDF values from publicly available data would be valuable. Unlike point-to-point FTRs which can perfectly hedge the LMP differences due to congestion, when FGR portfolios are used to hedge congestion risk of a position, the FGR holder should construct a portfolio that replicates the congestion LMP differences between two desired location of injection and withdrawal. Such a portfolio insures the holder against risks in flowgate shadow prices and flowgate capacity however not against variations in PTDFs. So it is the responsibility of the FGR holder to track the changes in PTDFs to make sure the portfolio revenue would be enough to cover the congestion charges due to LMP differences [25], [26]. Moreover, [26] argues that a portfolio of FGRs can be constructed for any point to point transaction using the maximal PTDFs under any n-1 contingencies. Such a portfolio for sure pays at least the congestion charge between two locations LMPs under n-1 contingencies. Thus our estimation framework would be very valuable in estimating the PTDFs and keep track of their changes.

Note that our estimation framework in its current form can be used for estimating PTDFs in FTR auctions from auction outcome. This is also true for estimating DA market PTDFs from DA market outcome if a DA market network is published in advance. However, typically the DA network model is not publicly available and thus cannot be used by a market outsider to estimate PTDFs. In this case, since the DA network model is set up based on the FTR auction network model as the base model, our proposal is to use the DA market results and FTR auction network model to estimate the DA market PTDFs. To do so, we would need to do some modifications to our estimation framework such as inclusion of network losses. We leave this as a topic for our future research.

## 4.3 PTDF estimation for generation investment

Identifying the appropriate location is one of the earliest steps in investing for a new generation unit. It is crucial to choose a location that does not add to congestion severity of the network otherwise it would impose additional congestion costs to the transactions involving the new unit. In this case, our proposed framework will be very useful as it could give a track of PTDF variations for different injection and withdrawal locations and thus help the investor choose the locations that have small sensitivities on typically congested transmission lines for further investigation for final investment.

## 4.4 Other applications and contribution

Other than the applications discussed above, there are other uses to our proposed framework for estimation of unknown parameters summarized as follows: the proposed framework can also be beneficial to market participants and retail customers since it would improve market transparency due to making the value of underlying system parameters observable to all market participants and thus will lead to more efficient pricing with the hope of reducing the final rate for retail consumers. Moreover, it can help participants to verify their transaction cleared quantities, prices, and settlement charges in FTR auctions and electricity markets by providing the information for underlying parameters that were unknown to them. Specifically, having a track of PTDF changes would also help them to predict and identify the transactions that are subject to curtailment in the market because of violating the flow limit constraints and thus help them to take appropriate preventive actions.

Finally, the contribution of our research work to the state of art can be seen from two perspectives: from the industrial perspective, as explained using several examples introduced above, the proposed method can be useful for regulators and auditors, market participants, investors, and retail customers. From the academic perspective, it provides a novel method for estimating part of the unknown system parameters in an optimization problem without the need to know the uncertain system inputs that are modeled as part of the optimization parameters. This is accomplished by using the duality theory and by introducing additional optimization constraints from system output data which altogether help shrink the optimization feasible region and thus reveal the true value of the unknown parameters. Specifically for the field of electricity markets and power systems, the application of this framework would be extensive for gaining additional knowledge and conducting further research on FTR auction and electricity market optimization problems since the duality theory holds for these optimizations. Finally, it is worth mentioning that the method can also be used for other optimization problems with similar characteristics.

# Chapter 5: Proposed Estimation Method for FTR auctions and electricity market

In this chapter, we propose an estimation method that is designed and structured based on duality theory in optimization [27]-[28]. The duality in basic definition describes the relationship between primal and dual problems optimal objective values. The proposed estimation method, intuitively, tries to estimate the true value of parameters by shrinking the underlying optimization problem feasible region. We perform this by introducing additional constraints from readily available information. The following sections are used to illustrate the steps in the estimation method.

## 5.1 FTR Auction dual problem

One of the equality constraints used in the proposed estimation method is the strong duality of primal and dual. We derive the dual of the FTR auction optimization introduced in equations (3.5)-(3.11) as follows:

| minμij+,μij-,νij,rs+,νij,rs-,πw,t,km,BL+,πw,t,km,BL-{ij(mrFijmax-Ω+)μij++(mrFjimax-Ω-)μij- |  |
| --- | --- |
| + ij,rs(mrFijmax-Θ+)νij,rs++(mrFjimax-Θ-)νij,rs- |  |
| +km,BLQw,t,km,BLb/s,maxπw,t,km,BL+-Qw,t,km,BLb/s,minπw,t,km,BL- } | (5.1) |

where

| Ω+=bs,t,km,BL{PTDFij,km∙ρ=1r-1Qt,km,BL,w=Oblb,ρ-Qt,km,BL,w=Obls,ρ |  |
| --- | --- |
| +max0,PTDFij,km∙ρ=1r-1Qt,km,BL,w=Optb,ρ-Qt,km,BL,w=Opts,ρ |  |
| +ρ=1r-1Qt,ij,BL,w=FGRb,ρ-Qt,ij,BL,w=FGRs,ρ } |  |

| Ω-=bs,t,km,BL{-PTDFij,km∙ρ=1r-1Qt,km,BL,w=Oblb,ρ-Qt,km,BL,w=Obls,ρ |  |
| --- | --- |
| +max0,-PTDFij,km∙ρ=1r-1Qt,km,BL,w=Optb,ρ-Qt,km,BL,w=Opts,ρ |  |
| +ρ=1r-1Qt,ji,BL,w=FGRb,ρ-Qt,ji,BL,w=FGRs,ρ } |  |

| Θ+=bs,t,km,BL{[PTDFij,km+LODFij,rsPTDFrs,km]∙ |  |
| --- | --- |
| [ρ=1r-1Qt,km,BL,w=Oblb,ρ-Qt,km,BL,w=Obls,ρ] |  |
| +max0,PTDFij,km+LODFij,rsPTDFrs,km∙[ρ=1r-1Qt,km,BL,w=Optb,ρ-Qt,km,BL,w=Opts,ρ] |  |
| +ρ=1r-1Qt,ij,BL,w=FGRb,ρ-Qt,ij,BL,w=FGRs,ρ} |  |

| Θ-=bs,t,km,BL{-[PTDFij,km+LODFij,rsPTDFrs,km]∙ |  |
| --- | --- |
| [ρ=1r-1Qt,km,BL,w=Oblb,ρ-Qt,km,BL,w=Obls,ρ] |  |
| +max0,-PTDFij,km+LODFij,rsPTDFrs,km∙[ρ=1r-1Qt,km,BL,w=Optb,ρ-Qt,km,BL,w=Opts,ρ] |  |
| +ρ=1r-1Qt,ji,BL,w=FGRb,ρ-Qt,ji,BL,w=FGRs,ρ} |  |

The dual optimization (5.1) is subject to the following constraints:

| μij+,μij-,νij,rs+,νij,rs-,πw,t,km,BL+,πw,t,km,BL-≥0 | (5.2) |
| --- | --- |

and

- If the FTR type is a buy and Obligation ( b and Obl),

| ijPTDFij,kmμij+-μij- |  |
| --- | --- |
| +ij,rs[PTDFij,km+LODFij,rsPTDFrs,km]νij,rs+-νij,rs- |  |
| +πw,t,km,BL+-πw,t,km,BL-≥βw,t,km,BLb |  |
| for all FTRs of type (b and Obl) and all BL | (5.3) |

- If FTR is ( s and Obl),

| ijPTDFij,kmμij--μij+ |  |
| --- | --- |
| +ij,rs[PTDFij,km+LODFij,rsPTDFrs,km]νij,rs--νij,rs+ |  |
| +πw,t,km,BL+-πw,t,km,BL-≥-βw,t,km,BLs |  |
| for all FTRs of type (s and Obl) and all BL | (5.4) |

- If FTR is ( b and Opt),

| ijμij+max0,PTDFij,km+μij-max0,-PTDFij,km |  |
| --- | --- |
| +ij,rs[νij,rs+max0,PTDFij,km+LODFij,rsPTDFrs,km] |  |
| +ij,rs[νij,rs-max0,-PTDFij,km+LODFij,rsPTDFrs,km] |  |
| +πw,t,km,BL+-πw,t,km,BL-≥βw,t,km,BLb |  |
| for all FTRs of type (b and Opt) and all BL | (5.5) |

- If FTR is ( s and Opt),

| -ijμij+max0,PTDFij,km+μij-max0,-PTDFij,km |  |
| --- | --- |
| -ij,rs[νij,rs+max0,PTDFij,km+LODFij,rsPTDFrs,km] |  |
| -ij,rs[νij,rs-max0,-PTDFij,km+LODFij,rsPTDFrs,km] |  |
| +πw,t,km,BL+-πw,t,km,BL-≥-βw,t,km,BLS |  |
| for all FTRs of type (s and Opt) and all BL | (5.6) |

- If FTR is ( b and FGR),

| ijμij+-μij-+ij,rsνij,rs+-νij,rs-+πw,t,km,BL+-πw,t,km,BL-≥βw,t,km,BLb |  |
| --- | --- |
| for all FTRs of type (b and FGR) and all BL | (5.7) |

- If FTR is ( s and FGR),

| ijμij--μij++ij,rsνij,rs--νij,rs++πw,t,km,BL+-πw,t,km,BL-≥-βw,t,km,BLs |  |
| --- | --- |
| for all FTRs of type (s and FGR) and all BL | (5.8) |

Note that in the discussed primal or dual optimization problems, one of each constraint and its negative duplicate can be binding simultaneously meaning that the following dual variables cannot be non-zero simultaneously:

One of μij+ or μij- ∀ ij

One of νij,rs+ or νij,rs- ∀ ij and rs

One of πw,t,km,BL+ or πw,t,km,BL- ∀ km and BL

## 5.2 Involving auction outcome and grid structure in estimation

To estimate the parameters we would need to include additional information. One set of information that is publicly available in all ISOs is the MCPs which are calculated from auction results. We would use MCPs to construct additional set of constraints in estimation. These constraints are constructed by setting equations (3.12)-(3.14) equal to their auction outcomes. Thus, considering MCPkm,t-24hr,w=Obl, MCPkm,t-24hr,w=Opt, and MCPkm,t-24hr,w=FGR  as known auction results the following will be additional equality constraints used in estimation.

| MCPkm,t-24hr,w=Obl=ij[μij+-μij-∙PTDFij,km] |  |
| --- | --- |
| +ij,rs[νij,rs+-νij,rs-∙PTDFij,km+LODFij,rsPTDFrs,km] | (5.9) |

| MCPkm,t-24hr,w=Opt=ij[μij+max0,PTDFij,km] |  |
| --- | --- |
| +ij[μij-max0,-PTDFij,km] |  |
| +ij,rs[νij,rs+max0,PTDFij,km+LODFij,rsPTDFrs,km] |  |
| +ij,rs[νij,rs-max0,-PTDFij,km+LODFij,rsPTDFrs,km] | (5.10) |

| MCPkm,t-24hr,w=FGR=μkm++rsνkm,rs+ if km=ijμkm-+rsνkm,rs- if km=ji | (5.11) |
| --- | --- |

In addition to using market results in estimation, power grid structure will also be used in the optimization. For example in applying the estimation framework to PTDF estimation, the grid structure is implicitly considered since PTDFs are present in simultaneous feasibility conditions in the auction formulation and its dual.

## 5.3 Proposed estimation method

We propose a core optimization framework to be used in the estimation procedure. Note that the proposed estimation method can be applied to estimate various parameters in the auction and market optimizations. For example in addition to PTDF estimation, it can also be used to estimate line flow limits one at a time (That means only one line limit is uncertain). We do not elaborate on this and only provide the simulation results for line flow estimation whenever necessary. The objective function of the core optimization used in the estimation is minimization of a L1 norm of estimated auction bid/offer prices and their initial guesses. The L1 norm is chosen since in many estimation situations it is less sensitive to data outliers and has been used widely as a robust norm. The equality constraints are strong duality of primal-dual problems and the MCP constraints introduced in (5.9)-(5.11). Finally, the inequality constraints are the dual inequalities in (5.2)-(5.8). The proposed core optimization framework can be summarized as follows:

| minβw,t,km,BLb/s,μij+,μij-,νij,rs+,νij,rs-,πw,t,km,BL+,πw,t,km,BL-βw,t,km,BLb/s-βw,t,km,BLb/s,01 | (5.12) |
| --- | --- |

subject to

| Strong Duality: | arg3.5-arg{5.1}=0 | (5.13) |
| --- | --- | --- |
| Dual inequalities: | 5.2 to 5.8 | (5.14) |
| MCP equalities: | 5.9 to 5.11 | (5.15) |
| Sign requirement | βw,t,km,BLb/s≥0 or βw,t,km,BLb/s≥τ for obligation bids where τ denotes a negative bound. | (5.16) |

where βw,t,km,BLb/s is the vector of unknown bid/offer prices to be estimated and βw,t,km,BLb/s,0 is the vector of initial guesses.

The optimization framework in (5.12)-(5.16) will be the core of the estimation method. The proposed estimation method for estimation of a single parameter starts by sweeping through an appropriate range of the parameter values while solving the core optimization in (5.12)-(5.16) and focusing on the feasibility/infeasibility flag of the optimization. The true value of the parameter will be identified as the values for which the optimization in (5.12)-(5.16) is feasible and optimum. Later we will apply the proposed estimation framework to estimate PTDFs and line flow limits in FTR auction. We will also show in simulation results that for some PTDFs, the optimization is only feasible at their true value, for a second group of PTDFs the true value will be the border of feasibility-infeasibility region, and for a third group of PTDFs a range can be found which includes the true value while the optimization is feasible for that range.

### 5.3.1 Example 5.1

In this section we provide the optimization framework for the FTR auction introduced in example 3.1.

The auction optimization dual is as follows:

| minΔ1F12maxμ12++ F14maxμ14++F24maxμ24++F32maxμ32++F45maxμ45++F63maxμ63++F65maxμ65++F21maxμ12-+ F41maxμ14-+F42maxμ24-+F23maxμ32-+F54maxμ45-+F36maxμ63-+F56maxμ65-+Q15b,maxπ15++Q62b,maxπ62++Q45, Optb,maxπ45, Opt++Q24,Optb,maxπ24,Opt++Q24,FGRb,maxπ24,FGR++Q65, Opts,maxπ65, Opt+ | (5.17) |
| --- | --- |

where

Δ1={μ12+,μ14+,μ24+, μ32+,μ45+,μ63+,μ65+,μ12-,μ14-,μ24-,μ32-,μ45-,μ63-,μ65-,π15+,π62+, π45, Opt+,π24,Opt+,π24,FGR+,π65, Opt+}

The dual optimization is subject to the following constraints:

| μ12+-μ12-PTDF12,15+μ14+-μ14-PTDF14,15+μ24+-μ24-PTDF24,15+μ32+-μ32-PTDF32,15+μ45+-μ45-PTDF45,15+μ63+-μ63-PTDF63,15 +μ65+-μ65-PTDF65,15+π15+-π15-≥β15b | (5.18) |
| --- | --- |
| μ12+-μ12-PTDF12,62+μ14+-μ14-PTDF14,62+μ24+-μ24-PTDF24,62+μ32+-μ32-PTDF32,62 +μ45+-μ45-PTDF45,62+μ63+-μ63-PTDF63,62 +μ65+-μ65-PTDF65,62+π62+-π62-≥β62b | (5.19) |
| μ12+max⁡(0,PTDF12,45)+μ12-max⁡(0,-PTDF12,45) |  |
| +μ14+max⁡(0,PTDF14,45)+μ14-max⁡(0,-PTDF14,45) |  |
| +μ24+max⁡(0,PTDF24,45)+μ24-max⁡(0,-PTDF24,45) |  |
| +μ32+max⁡(0,PTDF32,45)+μ32-max⁡(0,-PTDF32,45) |  |
| +μ45+max⁡(0,PTDF45,45)+μ45-max⁡(0,-PTDF45,45) |  |
| +μ63+max⁡(0,PTDF63,45)+μ63-max⁡(0,-PTDF63,45) |  |
| +μ65+max⁡(0,PTDF65,45)+μ65-max⁡(0,-PTDF65,45) |  |
| +π45,Opt+-π45,Opt-≥β45b | (5.20) |
| μ12+max⁡(0,PTDF12,24)+μ12-max⁡(0,-PTDF12,24) |  |
| +μ14+max⁡(0,PTDF14,24)+μ14-max⁡(0,-PTDF14,24) |  |
| +μ24+max⁡(0,PTDF24,24)+μ24-max⁡(0,-PTDF24,24) |  |
| +μ32+max⁡(0,PTDF32,24)+μ32-max⁡(0,-PTDF32,24) |  |
| +μ45+max⁡(0,PTDF45,24)+μ45-max⁡(0,-PTDF45,24) |  |
| +μ63+max⁡(0,PTDF63,24)+μ63-max⁡(0,-PTDF63,24) |  |
| +μ65+max⁡(0,PTDF65,24)+μ65-max⁡(0,-PTDF65,24) |  |
| +π24,Opt+-π24,Opt-≥β24,Optb | (5.21) |
| μ24++π24,FGR+-π24,FGR-≥β24,FGRb | (5.22) |
| -μ12+max0,PTDF12,65-μ12-max⁡(0,-PTDF12,65) |  |
| -μ14+max0,PTDF14,65-μ14-max⁡(0,-PTDF14,65) |  |
| -μ24+max0,PTDF24,65-μ24-max⁡(0,-PTDF24,65) |  |
| -μ32+max0,PTDF32,65-μ32-max⁡(0,-PTDF32,65) |  |
| -μ45+max0,PTDF45,65-μ45-max⁡(0,-PTDF45,65) |  |
| -μ63+max0,PTDF63,65-μ63-max⁡(0,-PTDF63,65) |  |
| -μ65+max0,PTDF65,65-μ65-max⁡(0,-PTDF65,65) |  |
| +π65,Opt+-π65,Opt-≥-β65s | (5.23) |
| Δ1≥0 | (5.24) |

The core optimization can be summarized as follows:

| minΔ1,Δ2β15b+β62b+β45,Optb+β24,Optb+β24,FGRb+β65,Opts | (5.25) |
| --- | --- |

where Δ2={β15b,β62b,β45,Optb,β24,Optb,β24,FGRb,β65,Opts}. The optimization is subject to

| Strong Duality: | arg⁡{3.16}-arg⁡{5.17}=0 | (5.26) |
| --- | --- | --- |
| Dual inequalities: | 5.18 to 5.24 | (5.27) |

and

| MCP15=μ12+-μ12-PTDF12,15+μ14+-μ14-PTDF14,15+μ24+-μ24-PTDF24,15+μ32+-μ32-PTDF32,15 +μ45+-μ45-PTDF45,15+μ63+-μ63-PTDF63,15 +μ65+-μ65-PTDF65,15 | (5.28) |
| --- | --- |
| MCP62=μ12+-μ12-PTDF12,62+μ14+-μ14-PTDF14,62+μ24+-μ24-PTDF24,62+μ32+-μ32-PTDF32,62 +μ45+-μ45-PTDF45,62+μ63+-μ63-PTDF63,62 +μ65+-μ65-PTDF65,62 | (5.29) |
| MCP45=μ12+max⁡(0,PTDF12,45)+μ12-max⁡(0,-PTDF12,45) |  |
| +μ14+max⁡(0,PTDF14,45)+μ14-max⁡(0,-PTDF14,45) |  |
| +μ24+max⁡(0,PTDF24,45)+μ24-max⁡(0,-PTDF24,45) |  |
| +μ32+max⁡(0,PTDF32,45)+μ32-max⁡(0,-PTDF32,45) |  |
| +μ45+max⁡(0,PTDF45,45)+μ45-max⁡(0,-PTDF45,45) |  |
| +μ63+max⁡(0,PTDF63,45)+μ63-max⁡(0,-PTDF63,45) |  |
| +μ65+max⁡(0,PTDF65,45)+μ65-max⁡(0,-PTDF65,45) | (5.30) |
| MCP24,Opt=μ12+max⁡(0,PTDF12,24)+μ12-max⁡(0,-PTDF12,24) |  |
| +μ14+max⁡(0,PTDF14,24)+μ14-max⁡(0,-PTDF14,24) |  |
| +μ24+max⁡(0,PTDF24,24)+μ24-max⁡(0,-PTDF24,24) |  |
| +μ32+max⁡(0,PTDF32,24)+μ32-max⁡(0,-PTDF32,24) |  |
| +μ45+max⁡(0,PTDF45,24)+μ45-max⁡(0,-PTDF45,24) |  |
| +μ63+max⁡(0,PTDF63,24)+μ63-max⁡(0,-PTDF63,24) |  |
| +μ65+max⁡(0,PTDF65,24)+μ65-max⁡(0,-PTDF65,24) | (5.31) |
| MCP24,FGR=μ24+ | (5.32) |
| MCP65=μ12+max0,PTDF12,65+μ12-max⁡(0,-PTDF12,65) |  |
| +μ14+max0,PTDF14,65+μ14-max⁡(0,-PTDF14,65) |  |
| +μ24+max0,PTDF24,65+μ24-max⁡(0,-PTDF24,65) |  |
| +μ32+max0,PTDF32,65+μ32-max⁡(0,-PTDF32,65) |  |
| +μ45+max0,PTDF45,65+μ45-max⁡(0,-PTDF45,65) |  |
| +μ63+max0,PTDF63,65+μ63-max⁡(0,-PTDF63,65) |  |
| +μ65+max0,PTDF65,65+μ65-max⁡(0,-PTDF65,65) | (5.33) |
| Δ2≥0 and βw,t,km,BLb/s≥τ for obligation bids and possibly a negative bound τ | (5.34) |

# Chapter 6: Simulation Results

In this chapter we apply the proposed estimation framework to PTDF and line limit estimation for three cases. For each case, we consider one unknown variable at one time and solve the core optimization for a range around the true value of the variable and provide the feasibility behavior of the optimization problem.

## 6.1 Some special cases

There are a few special cases in estimation of PTDFs that are listed as follows:

First: The method cannot be used to estimate parameters (PTDF or line flow limits) associated with transmission lines that are not binding in the auction optimization. This is because the shadow prices of these transmission lines are zero in equations (5.14) and (5.15) which makes the PTDFs and flow limits of these lines unobservable through output.

Second: For a similar reason, the PTDF for some of Opt FTRs and FGRs cannot be estimated. For Opt FTRs, the terms with maximum function in (5.14) and (5.15) such as μij+max0,PTDFij,km and μij-max0,-PTDFij,km can be zero depending on the sign of PTDF and the line shadow price. This behavior in some cases makes the Opt FTRs unobservable through output which will lead to not-so-accurate estimation results. For FGR type FTRs, the PTDFs are not observable in (5.14) and (5.15) since the assumption in these equations is that the FGR would imply a full flow on the associated line. We would propose a method in Section 7.1.1 to address FGR and Opt FTR estimation special cases.

Due to these special cases and for brevity, we only provide the estimation results associated with Obl FTRs and associated with binding transmission lines. Moreover, we would not consider contingency constraints in our example and would leave it for our future work.

## 6.2 Estimation of PTDFs and transmission line limits in different scenarios

### 6.2.1 Case 1-Example 3.1 and 5.1

Tables 6.1 and 6.2 provide the estimation results for the system introduced in examples 3.1 and 5.1. As discussed earlier, we only provide the estimation results of PTDFs that are associated to obligation (Obl) FTRs and binding transmission lines. Moreover, for brevity the results of PTDFs with absolute values of less than 0.1 are omitted. Note that the estimation results for each PTDF or line limit are separated with blank rows in both tables. Moreover, we are interested in the feasibility flag column to identify the true value of PTDF or line limit.

| Table 6.1: PTDF estimation results |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Line From Number | Line To Number | From Inj. Bus | To Inj. Bus | Estimated value | True value | Feasibility flag (feasible=1) |
| 1 | 4 | 1 | 5 | 0.45712 | 0.5714 | -2 |
| 1 | 4 | 1 | 5 | 0.468548 | 0.5714 | -2 |
| 1 | 4 | 1 | 5 | 0.479976 | 0.5714 | -2 |
| 1 | 4 | 1 | 5 | 0.491404 | 0.5714 | -2 |
| 1 | 4 | 1 | 5 | 0.502832 | 0.5714 | -2 |
| 1 | 4 | 1 | 5 | 0.51426 | 0.5714 | -2 |
| 1 | 4 | 1 | 5 | 0.525688 | 0.5714 | -2 |
| 1 | 4 | 1 | 5 | 0.537116 | 0.5714 | -2 |
| 1 | 4 | 1 | 5 | 0.548544 | 0.5714 | -2 |
| 1 | 4 | 1 | 5 | 0.559972 | 0.5714 | -2 |
| 1 | 4 | 1 | 5 | 0.5714 | 0.5714 | 1 |
| 1 | 4 | 1 | 5 | 0.582828 | 0.5714 | 1 |
| 1 | 4 | 1 | 5 | 0.594256 | 0.5714 | 1 |
| 1 | 4 | 1 | 5 | 0.605684 | 0.5714 | 1 |
| 1 | 4 | 1 | 5 | 0.617112 | 0.5714 | 1 |
| 1 | 4 | 1 | 5 | 0.62854 | 0.5714 | 1 |
| 1 | 4 | 1 | 5 | 0.639968 | 0.5714 | 1 |
| 1 | 4 | 1 | 5 | 0.651396 | 0.5714 | 1 |
| 1 | 4 | 1 | 5 | 0.662824 | 0.5714 | 1 |
| 1 | 4 | 1 | 5 | 0.674252 | 0.5714 | 1 |
| 1 | 4 | 1 | 5 | 0.68568 | 0.5714 | 1 |
| 2 | 4 | 1 | 5 | 0.11432 | 0.1429 | -2 |
| 2 | 4 | 1 | 5 | 0.117178 | 0.1429 | -2 |
| 2 | 4 | 1 | 5 | 0.120036 | 0.1429 | -2 |
| 2 | 4 | 1 | 5 | 0.122894 | 0.1429 | -2 |
| 2 | 4 | 1 | 5 | 0.125752 | 0.1429 | -2 |
| 2 | 4 | 1 | 5 | 0.12861 | 0.1429 | -2 |
| 2 | 4 | 1 | 5 | 0.131468 | 0.1429 | -2 |
| 2 | 4 | 1 | 5 | 0.134326 | 0.1429 | -2 |
| 2 | 4 | 1 | 5 | 0.137184 | 0.1429 | -2 |
| 2 | 4 | 1 | 5 | 0.140042 | 0.1429 | -2 |
| 2 | 4 | 1 | 5 | 0.1429 | 0.1429 | 1 |
| 2 | 4 | 1 | 5 | 0.145758 | 0.1429 | 1 |
| 2 | 4 | 1 | 5 | 0.148616 | 0.1429 | 1 |
| 2 | 4 | 1 | 5 | 0.151474 | 0.1429 | 1 |
| 2 | 4 | 1 | 5 | 0.154332 | 0.1429 | 1 |
| 2 | 4 | 1 | 5 | 0.15719 | 0.1429 | 1 |
| 2 | 4 | 1 | 5 | 0.160048 | 0.1429 | 1 |
| 2 | 4 | 1 | 5 | 0.162906 | 0.1429 | 1 |
| 2 | 4 | 1 | 5 | 0.165764 | 0.1429 | 1 |
| 2 | 4 | 1 | 5 | 0.168622 | 0.1429 | 1 |
| 2 | 4 | 1 | 5 | 0.17148 | 0.1429 | 1 |
| 6 | 5 | 1 | 5 | 0.22856 | 0.2857 | -2 |
| 6 | 5 | 1 | 5 | 0.234274 | 0.2857 | -2 |
| 6 | 5 | 1 | 5 | 0.239988 | 0.2857 | -2 |
| 6 | 5 | 1 | 5 | 0.245702 | 0.2857 | -2 |
| 6 | 5 | 1 | 5 | 0.251416 | 0.2857 | -2 |
| 6 | 5 | 1 | 5 | 0.25713 | 0.2857 | -2 |
| 6 | 5 | 1 | 5 | 0.262844 | 0.2857 | -2 |
| 6 | 5 | 1 | 5 | 0.268558 | 0.2857 | -2 |
| 6 | 5 | 1 | 5 | 0.274272 | 0.2857 | -2 |
| 6 | 5 | 1 | 5 | 0.279986 | 0.2857 | -2 |
| 6 | 5 | 1 | 5 | 0.2857 | 0.2857 | 1 |
| 6 | 5 | 1 | 5 | 0.291414 | 0.2857 | 1 |
| 6 | 5 | 1 | 5 | 0.297128 | 0.2857 | 1 |
| 6 | 5 | 1 | 5 | 0.302842 | 0.2857 | 1 |
| 6 | 5 | 1 | 5 | 0.308556 | 0.2857 | 1 |
| 6 | 5 | 1 | 5 | 0.31427 | 0.2857 | 1 |
| 6 | 5 | 1 | 5 | 0.319984 | 0.2857 | 1 |
| 6 | 5 | 1 | 5 | 0.325698 | 0.2857 | 1 |
| 6 | 5 | 1 | 5 | 0.331412 | 0.2857 | 1 |
| 6 | 5 | 1 | 5 | 0.337126 | 0.2857 | 1 |
| 6 | 5 | 1 | 5 | 0.34284 | 0.2857 | 1 |
| 1 | 4 | 6 | 2 | -0.11432 | -0.1429 | -2 |
| 1 | 4 | 6 | 2 | -0.11718 | -0.1429 | -2 |
| 1 | 4 | 6 | 2 | -0.12004 | -0.1429 | -2 |
| 1 | 4 | 6 | 2 | -0.12289 | -0.1429 | -2 |
| 1 | 4 | 6 | 2 | -0.12575 | -0.1429 | -2 |
| 1 | 4 | 6 | 2 | -0.12861 | -0.1429 | -2 |
| 1 | 4 | 6 | 2 | -0.13147 | -0.1429 | -2 |
| 1 | 4 | 6 | 2 | -0.13433 | -0.1429 | -2 |
| 1 | 4 | 6 | 2 | -0.13718 | -0.1429 | -2 |
| 1 | 4 | 6 | 2 | -0.14004 | -0.1429 | -2 |
| 1 | 4 | 6 | 2 | -0.1429 | -0.1429 | 1 |
| 1 | 4 | 6 | 2 | -0.14576 | -0.1429 | -2 |
| 1 | 4 | 6 | 2 | -0.14862 | -0.1429 | -2 |
| 1 | 4 | 6 | 2 | -0.15147 | -0.1429 | -2 |
| 1 | 4 | 6 | 2 | -0.15433 | -0.1429 | -2 |
| 1 | 4 | 6 | 2 | -0.15719 | -0.1429 | -2 |
| 1 | 4 | 6 | 2 | -0.16005 | -0.1429 | -2 |
| 1 | 4 | 6 | 2 | -0.16291 | -0.1429 | -2 |
| 1 | 4 | 6 | 2 | -0.16576 | -0.1429 | -2 |
| 1 | 4 | 6 | 2 | -0.16862 | -0.1429 | -2 |
| 1 | 4 | 6 | 2 | -0.17148 | -0.1429 | -2 |
| 2 | 4 | 6 | 2 | -0.22856 | -0.2857 | -2 |
| 2 | 4 | 6 | 2 | -0.23427 | -0.2857 | -2 |
| 2 | 4 | 6 | 2 | -0.23999 | -0.2857 | -2 |
| 2 | 4 | 6 | 2 | -0.2457 | -0.2857 | -2 |
| 2 | 4 | 6 | 2 | -0.25142 | -0.2857 | -2 |
| 2 | 4 | 6 | 2 | -0.25713 | -0.2857 | -2 |
| 2 | 4 | 6 | 2 | -0.26284 | -0.2857 | -2 |
| 2 | 4 | 6 | 2 | -0.26856 | -0.2857 | -2 |
| 2 | 4 | 6 | 2 | -0.27427 | -0.2857 | -2 |
| 2 | 4 | 6 | 2 | -0.27999 | -0.2857 | -2 |
| 2 | 4 | 6 | 2 | -0.2857 | -0.2857 | 1 |
| 2 | 4 | 6 | 2 | -0.29141 | -0.2857 | -2 |
| 2 | 4 | 6 | 2 | -0.29713 | -0.2857 | -2 |
| 2 | 4 | 6 | 2 | -0.30284 | -0.2857 | -2 |
| 2 | 4 | 6 | 2 | -0.30856 | -0.2857 | -2 |
| 2 | 4 | 6 | 2 | -0.31427 | -0.2857 | -2 |
| 2 | 4 | 6 | 2 | -0.31998 | -0.2857 | -2 |
| 2 | 4 | 6 | 2 | -0.3257 | -0.2857 | -2 |
| 2 | 4 | 6 | 2 | -0.33141 | -0.2857 | -2 |
| 2 | 4 | 6 | 2 | -0.33713 | -0.2857 | -2 |
| 2 | 4 | 6 | 2 | -0.34284 | -0.2857 | -2 |
| 6 | 5 | 6 | 2 | 0.34288 | 0.4286 | -2 |
| 6 | 5 | 6 | 2 | 0.351452 | 0.4286 | -2 |
| 6 | 5 | 6 | 2 | 0.360024 | 0.4286 | -2 |
| 6 | 5 | 6 | 2 | 0.368596 | 0.4286 | -2 |
| 6 | 5 | 6 | 2 | 0.377168 | 0.4286 | -2 |
| 6 | 5 | 6 | 2 | 0.38574 | 0.4286 | -2 |
| 6 | 5 | 6 | 2 | 0.394312 | 0.4286 | -2 |
| 6 | 5 | 6 | 2 | 0.402884 | 0.4286 | -2 |
| 6 | 5 | 6 | 2 | 0.411456 | 0.4286 | -2 |
| 6 | 5 | 6 | 2 | 0.420028 | 0.4286 | -2 |
| 6 | 5 | 6 | 2 | 0.4286 | 0.4286 | 1 |
| 6 | 5 | 6 | 2 | 0.437172 | 0.4286 | -2 |
| 6 | 5 | 6 | 2 | 0.445744 | 0.4286 | -2 |
| 6 | 5 | 6 | 2 | 0.454316 | 0.4286 | -2 |
| 6 | 5 | 6 | 2 | 0.462888 | 0.4286 | -2 |
| 6 | 5 | 6 | 2 | 0.47146 | 0.4286 | -2 |
| 6 | 5 | 6 | 2 | 0.480032 | 0.4286 | -2 |
| 6 | 5 | 6 | 2 | 0.488604 | 0.4286 | -2 |
| 6 | 5 | 6 | 2 | 0.497176 | 0.4286 | -2 |
| 6 | 5 | 6 | 2 | 0.505748 | 0.4286 | -2 |
| 6 | 5 | 6 | 2 | 0.51432 | 0.4286 | -2 |

| Table 6.2: Line limit estimation results |  |  |  |  |
| --- | --- | --- | --- | --- |
| Line From Number | Line To Number | Estimated value (MW) | True value (MW) | Feasibility flag (feasible=1) |
| 1 | 4 | 80 | 100 | 1 |
| 1 | 4 | 82 | 100 | 1 |
| 1 | 4 | 84 | 100 | 1 |
| 1 | 4 | 86 | 100 | 1 |
| 1 | 4 | 88 | 100 | 1 |
| 1 | 4 | 90 | 100 | 1 |
| 1 | 4 | 92 | 100 | 1 |
| 1 | 4 | 94 | 100 | 1 |
| 1 | 4 | 96 | 100 | 1 |
| 1 | 4 | 98 | 100 | 1 |
| 1 | 4 | 100 | 100 | 1 |
| 1 | 4 | 102 | 100 | -2 |
| 1 | 4 | 104 | 100 | -2 |
| 1 | 4 | 106 | 100 | -2 |
| 1 | 4 | 108 | 100 | -2 |
| 1 | 4 | 110 | 100 | -2 |
| 1 | 4 | 112 | 100 | -2 |
| 1 | 4 | 114 | 100 | -2 |
| 1 | 4 | 116 | 100 | -2 |
| 1 | 4 | 118 | 100 | -2 |
| 1 | 4 | 120 | 100 | -2 |
| 2 | 4 | 160 | 200 | 1 |
| 2 | 4 | 164 | 200 | 1 |
| 2 | 4 | 168 | 200 | 1 |
| 2 | 4 | 172 | 200 | 1 |
| 2 | 4 | 176 | 200 | 1 |
| 2 | 4 | 180 | 200 | 1 |
| 2 | 4 | 184 | 200 | 1 |
| 2 | 4 | 188 | 200 | 1 |
| 2 | 4 | 192 | 200 | 1 |
| 2 | 4 | 196 | 200 | 1 |
| 2 | 4 | 200 | 200 | 1 |
| 2 | 4 | 204 | 200 | -2 |
| 2 | 4 | 208 | 200 | -2 |
| 2 | 4 | 212 | 200 | -2 |
| 2 | 4 | 216 | 200 | -2 |
| 2 | 4 | 220 | 200 | -2 |
| 2 | 4 | 224 | 200 | -2 |
| 2 | 4 | 228 | 200 | -2 |
| 2 | 4 | 232 | 200 | -2 |
| 2 | 4 | 236 | 200 | -2 |
| 2 | 4 | 240 | 200 | -2 |
| 6 | 5 | 80 | 100 | 1 |
| 6 | 5 | 82 | 100 | 1 |
| 6 | 5 | 84 | 100 | 1 |
| 6 | 5 | 86 | 100 | 1 |
| 6 | 5 | 88 | 100 | 1 |
| 6 | 5 | 90 | 100 | 1 |
| 6 | 5 | 92 | 100 | 1 |
| 6 | 5 | 94 | 100 | 1 |
| 6 | 5 | 96 | 100 | 1 |
| 6 | 5 | 98 | 100 | 1 |
| 6 | 5 | 100 | 100 | 1 |
| 6 | 5 | 102 | 100 | -2 |
| 6 | 5 | 104 | 100 | -2 |
| 6 | 5 | 106 | 100 | -2 |
| 6 | 5 | 108 | 100 | -2 |
| 6 | 5 | 110 | 100 | -2 |
| 6 | 5 | 112 | 100 | -2 |
| 6 | 5 | 114 | 100 | -2 |
| 6 | 5 | 116 | 100 | -2 |
| 6 | 5 | 118 | 100 | -2 |
| 6 | 5 | 120 | 100 | -2 |

We see from Tables 6.1 and 6.2 that the true values of all parameters are either identified on the border of feasibility-infeasibility region (namely “Border” behavior) or the optimization is feasible only for the true values of the parameters (namely “Exact” behavior).

### 6.2.2 Case 2 (18 buses, 23 transmission lines, 8 FTRs) with a negative bid

The system in Case 2 is a 18 bus system connected with 23 transmission lines. There are 8 FTRs defined for the auction. The case data are as follows:

| Table 6.3: Transmission Line Data |  |  |  |  |
| --- | --- | --- | --- | --- |
| # | From bus Number | To bus Number | X (PU) | Limit(MW) |
| 1 | 1 | 18 | 0.025 | 1000 |
| 2 | 2 | 1 | 0.0411 | 600 |
| 3 | 2 | 3 | 0.0151 | 505 |
| 4 | 3 | 4 | 0.0213 | 500 |
| 5 | 4 | 5 | 0.0128 | 600 |
| 6 | 4 | 10 | 0.0129 | 500 |
| 7 | 5 | 8 | 0.0112 | 303.6 |
| 8 | 5 | 6 | 0.0026 | 1200 |
| 9 | 6 | 9 | 0.025 | 900 |
| 10 | 6 | 7 | 0.0092 | 900 |
| 11 | 7 | 8 | 0.0046 | 900 |
| 12 | 10 | 9 | 0.0101 | 371.2 |
| 13 | 11 | 10 | 0.0217 | 600 |
| 14 | 12 | 14 | 0.0195 | 400 |
| 15 | 12 | 11 | 0.0094 | 600 |
| 16 | 13 | 3 | 0.013 | 500 |
| 17 | 13 | 12 | 0.0089 | 600 |
| 18 | 14 | 9 | 0.025 | 900 |
| 19 | 15 | 12 | 0.0059 | 600 |
| 20 | 16 | 17 | 0.0323 | 600 |
| 21 | 16 | 2 | 0.0086 | 500 |
| 22 | 17 | 13 | 0.0147 | 500 |
| 23 | 18 | 8 | 0.025 | 900 |

| Table 6.4: FTR input data and auction results |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| # | Type | Bid Offer | Inj. bus | With. bus | Max Quantity (MW) | Price ($/MW) | Auction MCP ($/MW) | Auction Quantity cleared (MW) |
| 1 | Obl | bid | 2 | 8 | 1000 | 25 | 25 | 519.0366 |
| 2 | Obl | bid | 3 | 4 | 400 | -2 | -2 | 235.1622 |
| 3 | Obl | offer | 9 | 12 | 50 | 3 | 0.499799 | 0 |
| 4 | Opt | bid | 9 | 5 | 120 | 6 | 0.208813 | 120 |
| 5 | Opt | bid | 2 | 18 | 400 | 30 | 18.1402 | 400 |
| 6 | FGR | bid | 5 | 8 | 310 | 20 | 56.18553 | 0 |
| 7 | FGR | bid | 2 | 3 | 500 | 3 | 3 | 104.9485 |
| 8 | FGR | bid | 14 | 12 | 400 | 5 | 0 | 400 |
| Optimum Objective function value = 27540.43 |  |  |  |  |  |  |  |  |

Out of 184 PTDFs that can be estimated, we only provide the estimation results of PTDFs that their absolute value is larger than 0.1 and they are associated to obligation FTRs and binding transmission lines. The estimation results are provided in Tables 6.5 and 6.6.

| Table 6.5: PTDF estimation results |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Line From Number | Line To Number | From Inj. Bus | To Inj. Bus | Estimated value | True value | Feasibility flag (feasible=1) |
| 2 | 3 | 2 | 8 | 0.424 | 0.53 | -2 |
| 2 | 3 | 2 | 8 | 0.4346 | 0.53 | -2 |
| 2 | 3 | 2 | 8 | 0.4452 | 0.53 | -2 |
| 2 | 3 | 2 | 8 | 0.4558 | 0.53 | -2 |
| 2 | 3 | 2 | 8 | 0.4664 | 0.53 | -2 |
| 2 | 3 | 2 | 8 | 0.477 | 0.53 | -2 |
| 2 | 3 | 2 | 8 | 0.4876 | 0.53 | -2 |
| 2 | 3 | 2 | 8 | 0.4982 | 0.53 | -2 |
| 2 | 3 | 2 | 8 | 0.5088 | 0.53 | -2 |
| 2 | 3 | 2 | 8 | 0.5194 | 0.53 | -2 |
| 2 | 3 | 2 | 8 | 0.53 | 0.53 | 1 |
| 2 | 3 | 2 | 8 | 0.5406 | 0.53 | -2 |
| 2 | 3 | 2 | 8 | 0.5512 | 0.53 | -2 |
| 2 | 3 | 2 | 8 | 0.5618 | 0.53 | -2 |
| 2 | 3 | 2 | 8 | 0.5724 | 0.53 | -2 |
| 2 | 3 | 2 | 8 | 0.583 | 0.53 | -2 |
| 2 | 3 | 2 | 8 | 0.5936 | 0.53 | -2 |
| 2 | 3 | 2 | 8 | 0.6042 | 0.53 | -2 |
| 2 | 3 | 2 | 8 | 0.6148 | 0.53 | -2 |
| 2 | 3 | 2 | 8 | 0.6254 | 0.53 | -2 |
| 2 | 3 | 2 | 8 | 0.636 | 0.53 | -2 |
| 3 | 4 | 2 | 8 | 0.33896 | 0.4237 | -2 |
| 3 | 4 | 2 | 8 | 0.347434 | 0.4237 | -2 |
| 3 | 4 | 2 | 8 | 0.355908 | 0.4237 | -2 |
| 3 | 4 | 2 | 8 | 0.364382 | 0.4237 | -2 |
| 3 | 4 | 2 | 8 | 0.372856 | 0.4237 | -2 |
| 3 | 4 | 2 | 8 | 0.38133 | 0.4237 | -2 |
| 3 | 4 | 2 | 8 | 0.389804 | 0.4237 | -2 |
| 3 | 4 | 2 | 8 | 0.398278 | 0.4237 | -2 |
| 3 | 4 | 2 | 8 | 0.406752 | 0.4237 | -2 |
| 3 | 4 | 2 | 8 | 0.415226 | 0.4237 | -2 |
| 3 | 4 | 2 | 8 | 0.4237 | 0.4237 | 1 |
| 3 | 4 | 2 | 8 | 0.432174 | 0.4237 | -2 |
| 3 | 4 | 2 | 8 | 0.440648 | 0.4237 | -2 |
| 3 | 4 | 2 | 8 | 0.449122 | 0.4237 | -2 |
| 3 | 4 | 2 | 8 | 0.457596 | 0.4237 | -2 |
| 3 | 4 | 2 | 8 | 0.46607 | 0.4237 | -2 |
| 3 | 4 | 2 | 8 | 0.474544 | 0.4237 | -2 |
| 3 | 4 | 2 | 8 | 0.483018 | 0.4237 | -2 |
| 3 | 4 | 2 | 8 | 0.491492 | 0.4237 | -2 |
| 3 | 4 | 2 | 8 | 0.499966 | 0.4237 | -2 |
| 3 | 4 | 2 | 8 | 0.50844 | 0.4237 | -2 |
| 5 | 8 | 2 | 8 | 0.31488 | 0.3936 | -2 |
| 5 | 8 | 2 | 8 | 0.322752 | 0.3936 | -2 |
| 5 | 8 | 2 | 8 | 0.330624 | 0.3936 | -2 |
| 5 | 8 | 2 | 8 | 0.338496 | 0.3936 | -2 |
| 5 | 8 | 2 | 8 | 0.346368 | 0.3936 | -2 |
| 5 | 8 | 2 | 8 | 0.35424 | 0.3936 | -2 |
| 5 | 8 | 2 | 8 | 0.362112 | 0.3936 | -2 |
| 5 | 8 | 2 | 8 | 0.369984 | 0.3936 | -2 |
| 5 | 8 | 2 | 8 | 0.377856 | 0.3936 | -2 |
| 5 | 8 | 2 | 8 | 0.385728 | 0.3936 | -2 |
| 5 | 8 | 2 | 8 | 0.3936 | 0.3936 | 1 |
| 5 | 8 | 2 | 8 | 0.401472 | 0.3936 | -2 |
| 5 | 8 | 2 | 8 | 0.409344 | 0.3936 | -2 |
| 5 | 8 | 2 | 8 | 0.417216 | 0.3936 | -2 |
| 5 | 8 | 2 | 8 | 0.425088 | 0.3936 | -2 |
| 5 | 8 | 2 | 8 | 0.43296 | 0.3936 | -2 |
| 5 | 8 | 2 | 8 | 0.440832 | 0.3936 | -2 |
| 5 | 8 | 2 | 8 | 0.448704 | 0.3936 | -2 |
| 5 | 8 | 2 | 8 | 0.456576 | 0.3936 | -2 |
| 5 | 8 | 2 | 8 | 0.464448 | 0.3936 | -2 |
| 5 | 8 | 2 | 8 | 0.47232 | 0.3936 | -2 |
| 2 | 3 | 3 | 4 | -0.09824 | -0.1228 | -2 |
| 2 | 3 | 3 | 4 | -0.1007 | -0.1228 | -2 |
| 2 | 3 | 3 | 4 | -0.10315 | -0.1228 | -2 |
| 2 | 3 | 3 | 4 | -0.10561 | -0.1228 | -2 |
| 2 | 3 | 3 | 4 | -0.10806 | -0.1228 | -2 |
| 2 | 3 | 3 | 4 | -0.11052 | -0.1228 | -2 |
| 2 | 3 | 3 | 4 | -0.11298 | -0.1228 | -2 |
| 2 | 3 | 3 | 4 | -0.11543 | -0.1228 | -2 |
| 2 | 3 | 3 | 4 | -0.11789 | -0.1228 | -2 |
| 2 | 3 | 3 | 4 | -0.12034 | -0.1228 | -2 |
| 2 | 3 | 3 | 4 | -0.1228 | -0.1228 | 1 |
| 2 | 3 | 3 | 4 | -0.12526 | -0.1228 | -2 |
| 2 | 3 | 3 | 4 | -0.12771 | -0.1228 | -2 |
| 2 | 3 | 3 | 4 | -0.13017 | -0.1228 | -2 |
| 2 | 3 | 3 | 4 | -0.13262 | -0.1228 | -2 |
| 2 | 3 | 3 | 4 | -0.13508 | -0.1228 | -2 |
| 2 | 3 | 3 | 4 | -0.13754 | -0.1228 | -2 |
| 2 | 3 | 3 | 4 | -0.13999 | -0.1228 | -2 |
| 2 | 3 | 3 | 4 | -0.14245 | -0.1228 | -2 |
| 2 | 3 | 3 | 4 | -0.1449 | -0.1228 | -2 |
| 2 | 3 | 3 | 4 | -0.14736 | -0.1228 | -2 |
| 3 | 4 | 3 | 4 | 0.50664 | 0.6333 | -2 |
| 3 | 4 | 3 | 4 | 0.519306 | 0.6333 | -2 |
| 3 | 4 | 3 | 4 | 0.531972 | 0.6333 | -2 |
| 3 | 4 | 3 | 4 | 0.544638 | 0.6333 | -2 |
| 3 | 4 | 3 | 4 | 0.557304 | 0.6333 | -2 |
| 3 | 4 | 3 | 4 | 0.56997 | 0.6333 | -2 |
| 3 | 4 | 3 | 4 | 0.582636 | 0.6333 | -2 |
| 3 | 4 | 3 | 4 | 0.595302 | 0.6333 | -2 |
| 3 | 4 | 3 | 4 | 0.607968 | 0.6333 | -2 |
| 3 | 4 | 3 | 4 | 0.620634 | 0.6333 | -2 |
| 3 | 4 | 3 | 4 | 0.6333 | 0.6333 | 1 |
| 3 | 4 | 3 | 4 | 0.645966 | 0.6333 | -2 |
| 3 | 4 | 3 | 4 | 0.658632 | 0.6333 | -2 |
| 3 | 4 | 3 | 4 | 0.671298 | 0.6333 | -2 |
| 3 | 4 | 3 | 4 | 0.683964 | 0.6333 | -2 |
| 3 | 4 | 3 | 4 | 0.69663 | 0.6333 | -2 |
| 3 | 4 | 3 | 4 | 0.709296 | 0.6333 | -2 |
| 3 | 4 | 3 | 4 | 0.721962 | 0.6333 | -2 |
| 3 | 4 | 3 | 4 | 0.734628 | 0.6333 | -2 |
| 3 | 4 | 3 | 4 | 0.747294 | 0.6333 | -2 |
| 3 | 4 | 3 | 4 | 0.75996 | 0.6333 | -2 |
| 3 | 4 | 9 | 12 | -0.17208 | -0.2151 | -2 |
| 3 | 4 | 9 | 12 | -0.17638 | -0.2151 | -2 |
| 3 | 4 | 9 | 12 | -0.18068 | -0.2151 | -2 |
| 3 | 4 | 9 | 12 | -0.18499 | -0.2151 | -2 |
| 3 | 4 | 9 | 12 | -0.18929 | -0.2151 | -2 |
| 3 | 4 | 9 | 12 | -0.19359 | -0.2151 | -2 |
| 3 | 4 | 9 | 12 | -0.19789 | -0.2151 | -2 |
| 3 | 4 | 9 | 12 | -0.20219 | -0.2151 | -2 |
| 3 | 4 | 9 | 12 | -0.2065 | -0.2151 | -2 |
| 3 | 4 | 9 | 12 | -0.2108 | -0.2151 | -2 |
| 3 | 4 | 9 | 12 | -0.2151 | -0.2151 | 1 |
| 3 | 4 | 9 | 12 | -0.2194 | -0.2151 | -2 |
| 3 | 4 | 9 | 12 | -0.2237 | -0.2151 | -2 |
| 3 | 4 | 9 | 12 | -0.22801 | -0.2151 | -2 |
| 3 | 4 | 9 | 12 | -0.23231 | -0.2151 | -2 |
| 3 | 4 | 9 | 12 | -0.23661 | -0.2151 | -2 |
| 3 | 4 | 9 | 12 | -0.24091 | -0.2151 | -2 |
| 3 | 4 | 9 | 12 | -0.24521 | -0.2151 | -2 |
| 3 | 4 | 9 | 12 | -0.24952 | -0.2151 | -2 |
| 3 | 4 | 9 | 12 | -0.25382 | -0.2151 | -2 |
| 3 | 4 | 9 | 12 | -0.25812 | -0.2151 | -2 |

| Table 6.6: Line limit estimation results |  |  |  |  |
| --- | --- | --- | --- | --- |
| Line From Number | Line To Number | Estimated value (MW) | True value (MW) | Feasibility flag (feasible=1) |
| 2 | 3 | 404 | 505 | 1 |
| 2 | 3 | 414.1 | 505 | 1 |
| 2 | 3 | 424.2 | 505 | 1 |
| 2 | 3 | 434.3 | 505 | 1 |
| 2 | 3 | 444.4 | 505 | 1 |
| 2 | 3 | 454.5 | 505 | 1 |
| 2 | 3 | 464.6 | 505 | 1 |
| 2 | 3 | 474.7 | 505 | 1 |
| 2 | 3 | 484.8 | 505 | 1 |
| 2 | 3 | 494.9 | 505 | 1 |
| 2 | 3 | 505 | 505 | 1 |
| 2 | 3 | 515.1 | 505 | -2 |
| 2 | 3 | 525.2 | 505 | -2 |
| 2 | 3 | 535.3 | 505 | -2 |
| 2 | 3 | 545.4 | 505 | -2 |
| 2 | 3 | 555.5 | 505 | -2 |
| 2 | 3 | 565.6 | 505 | -2 |
| 2 | 3 | 575.7 | 505 | -2 |
| 2 | 3 | 585.8 | 505 | -2 |
| 2 | 3 | 595.9 | 505 | -2 |
| 2 | 3 | 606 | 505 | -2 |
| 3 | 4 | 400 | 500 | 1 |
| 3 | 4 | 410 | 500 | 1 |
| 3 | 4 | 420 | 500 | 1 |
| 3 | 4 | 430 | 500 | 1 |
| 3 | 4 | 440 | 500 | 1 |
| 3 | 4 | 450 | 500 | 1 |
| 3 | 4 | 460 | 500 | 1 |
| 3 | 4 | 470 | 500 | 1 |
| 3 | 4 | 480 | 500 | 1 |
| 3 | 4 | 490 | 500 | 1 |
| 3 | 4 | 500 | 500 | 1 |
| 3 | 4 | 510 | 500 | -2 |
| 3 | 4 | 520 | 500 | -2 |
| 3 | 4 | 530 | 500 | -2 |
| 3 | 4 | 540 | 500 | -2 |
| 3 | 4 | 550 | 500 | -2 |
| 3 | 4 | 560 | 500 | -2 |
| 3 | 4 | 570 | 500 | -2 |
| 3 | 4 | 580 | 500 | -2 |
| 3 | 4 | 590 | 500 | -2 |
| 3 | 4 | 600 | 500 | -2 |
| 5 | 8 | 242.88 | 303.6 | 1 |
| 5 | 8 | 248.952 | 303.6 | 1 |
| 5 | 8 | 255.024 | 303.6 | 1 |
| 5 | 8 | 261.096 | 303.6 | 1 |
| 5 | 8 | 267.168 | 303.6 | 1 |
| 5 | 8 | 273.24 | 303.6 | 1 |
| 5 | 8 | 279.312 | 303.6 | 1 |
| 5 | 8 | 285.384 | 303.6 | 1 |
| 5 | 8 | 291.456 | 303.6 | 1 |
| 5 | 8 | 297.528 | 303.6 | 1 |
| 5 | 8 | 303.6 | 303.6 | 1 |
| 5 | 8 | 309.672 | 303.6 | -2 |
| 5 | 8 | 315.744 | 303.6 | -2 |
| 5 | 8 | 321.816 | 303.6 | -2 |
| 5 | 8 | 327.888 | 303.6 | -2 |
| 5 | 8 | 333.96 | 303.6 | -2 |
| 5 | 8 | 340.032 | 303.6 | -2 |
| 5 | 8 | 346.104 | 303.6 | -2 |
| 5 | 8 | 352.176 | 303.6 | -2 |
| 5 | 8 | 358.248 | 303.6 | -2 |
| 5 | 8 | 364.32 | 303.6 | -2 |

A similar estimation behavior is seen as that of Case 1 in which all the true values are successfully estimated and parameters show either a Border or an Exact estimation behavior.

### 6.2.3 Case 3 (618 buses, 500 transmission lines, 100 FTRs)

Finally we test the proposed estimation method in a large actual system extracted from US Eastern Interconnection Grid. The Case input data and estimation results are provided in appendix A-D. As discussed earlier, we only provide the estimation results of PTDFs that their absolute value is larger than 0.1 and they are associated to obligation FTRs and binding transmission lines. The results show the successful estimation of all the true values for PTDF and line limits. We also see either the Border or Exact estimation behaviors.

# Chapter 7: Discussions

In this chapter first we will discuss the introduction of Pseudo obligations to address the special cases in estimation of PTDFs for Opt and FGR type FTRs. Then a Brute-Force method for simultaneous estimation of multiple PTDFs will be introduced.

## 7.1 Pseudo obligations

### 7.1.1 Addressing the special cases of some Options and FGRs

As discussed in Chapter 6, there are some special cases in estimating the PTDFs associated to some FTRs of type Opt and FGR. However, the method can successfully estimate the PTDFs associated with obligation FTRs. This encourages us to introduce additional obligation FTRs in the auction optimization problem for every FTR of type Opt and FGR that is a special case. Therefore, for every special Opt or FGR type FTR, a pseudo obligation FTR is designed for the same injection and withdrawal locations with maximum bid quantity of 0.05 MW and bid price of 0.05 $/MW. Then the PTDF that could not be estimated using Opt or FGR type FTRs would be estimated using the Pseudo obligation FTR. We would name these FTRs as pseudo obligations since they are not actual FTRs offered/bid by market participants and their impact on the solution is small. Note that we would need to provide a MCP for Pseudo obligations in the proposed estimation method. One way to obtain these MCPs, is replicating the auction optimization using the published auction MCPs and quantities. To do so, for each actual FTR we would use the cleared quantity as the max quantity and would change MCP by a small number and use it as the offer/bid prices for replicating the auction. Then we would use the new auction solution in estimating PTDFs. These additional FTRs should be designed such that the auction optimization solution after introduction of these FTRs remains close to the original auction solution.

### 7.1.2 Revisiting Case 2

In Chapter 6, we used the proposed estimation method for estimating PTDFs of Case 2 and provided the estimation results for Obl type FTRs. In this section, we introduce pseudo obligations for PTDFs associated with Opt and FGR type FTRs. We chose Case 2 rather than 1 and 3 for better illustration. Table 7.1 shows the original FTRs, the pseudo FTRs denoted by # b, and the auction optimization solution considering pseudo FTRs. Note that the offer/bids quantities are the cleared quantities from Table 6.4 with zeros replaced by ones and the prices are MCPs of Table 6.4 disturbed by about 0.05.

| Table 7.1: FTR input data and auction results |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| # | Type | Bid Offer | Inj. bus | With. bus | Max Quantity (MW) | Price ($/MW) | Auction MCP ($/MW) | Auction Quantity cleared (MW) |
| 1 | Obl | bid | 2 | 8 | 519.0366 | 25.05 | 24.9079 | 519.0366 |
| 2 | Obl | bid | 3 | 4 | 235.1622 | -1.95 | -2.1509 | 235.1622 |
| 3 | Obl | offer | 9 | 12 | 1 | 0.549 | 0.549 | 0.02 |
| 4 | Opt | bid | 9 | 5 | 120 | 0.259 | 0.1929 | 120 |
| 4-b | Obl | bid | 9 | 5 | 0.05 | 0.05 | -4.6303 | 0.05 |
| 5 | Opt | bid | 2 | 18 | 400 | 18.19 | 18.0734 | 400 |
| 5-b | Obl | bid | 2 | 18 | 0.05 | 0.05 | 18.0734 | 0 |
| 6 | FGR | bid | 5 | 8 | 1 | 56.136 | 56.1356 | 0 |
| 6-b | Obl | bid | 5 | 8 | 0.05 | 0.05 | 31.5198 | 0 |
| 7 | FGR | bid | 2 | 3 | 104.9485 | 3.05 | 3.05 | 104.9126 |
| 7-b | Obl | bid | 2 | 3 | 0.05 | 0.05 | -0.7888 | 0.05 |
| 8 | FGR | bid | 14 | 12 | 400 | 0.05 | 0 | 400 |
| 8-b | Obl | bid | 14 | 12 | 0.05 | 0.05 | -0.266 | 0.05 |

Finally, in Appendix E, we provide the estimation results of PTDFs that their absolute value is larger than 0.05 and they are associated to obligation FTRs and binding transmission lines.

## 7.2 Simultaneous estimation of multiple PTDFs

### 7.2.1 Brute-Force Method

So far we have used the proposed estimation method for estimation of one PTDF at a time. This implies that the value of all other PTDFs are known but the value of the single estimated PTDF. However, there might be cases that values of several PTDFs are unknown or are disturbed from the original value. We can use the proposed estimation method for simultaneous estimation of multiple uncertain PTDFs if all of them have Exact estimation behavior (Refer to Section 6.2.1 for definition of Exact behavior). To do so, we use a brute-force estimation approach. This method is the same as the estimation method introduced in Section 5.3 for estimation of a single PTDF with the difference that we would consider all possible combinations of values for multiple PTDFs by sweeping through appropriate ranges for each PTDF and solve the core optimization. The true value of parameters would be the set for which the optimization is feasible. Finally, note that if the PTDF group that we desire to estimate includes both Exact and Border PTDF types, then

- If the PTDF is of type Exact, the optimization will be feasible only at the true value of PTDF.

- If the PTDF is of type Border, the optimization will be feasible for more than one value for the PTDF including its true value.

### 7.2.2 Revisiting Case 1

We provide the simultaneous estimation of a few sets of PTDFs estimated in Case 1 and reported in Table 6.1. Note that we only provide simultaneous estimation results of sets of two and three PTDFs as it is adequate to draw our conclusion. Table 7.2 summarizes the PTDFs estimated in Table 6.1 and their estimation behavior.

| Table 7.2: Estimated PTDFs and their behavior |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| # | Line From Number | Line To Number | From Inj. Bus | To Inj. Bus | True value | Estimation Behavior |
| 1 | 1 | 4 | 1 | 5 | 0.5714 | Border |
| 2 | 2 | 4 | 1 | 5 | 0.1429 | Border |
| 3 | 6 | 5 | 1 | 5 | 0.2857 | Border |
| 4 | 1 | 4 | 6 | 2 | -0.1429 | Exact |
| 5 | 2 | 4 | 6 | 2 | -0.2857 | Exact |
| 6 | 6 | 5 | 6 | 2 | 0.4286 | Exact |

The brute-force method is used for simultaneous estimation of PTDF sets introduced in Table 7.3. The PTDF numbers in Table 7.3 are the numbers assigned in Table 7.2.

| Table 7.3: PTDF sets |  |  |
| --- | --- | --- |
| Set # | PTDF numbers included | Estimation Behaviors (B = Border, E = Exact) |
| 1 | (1,2) | (B,B) |
| 2 | (2,4) | (B,E) |
| 3 | (2,6) | (B,E) |
| 4 | (1,2,3) | (B,B,B) |
| 5 | (1,2,4) | (B,B,E) |
| 6 | (1,5,6) | (B,E,E) |
| 7 | (4,5,6) | (E,E,E) |

The simulation results of simultaneous estimation of above PTDF sets are provided in Appendix F.

The results show the following patterns:

  - In simultaneous estimation of PTDFs, all PTDFs in a set can be estimated exactly if all have Exact estimation behaviors.

  - If there is at least one PTDF in the set with Border estimation behavior, then estimation would results in some feasibility ranges which include the true PTDF values. However still the true value of Exact PTDF types can be uniquely determined. Identifying the true values of Border PTDFs in a unique manner is not possible at this stage.

We revisit the Case 2 in the following to further examine the above patterns.

### 7.2.3 Revisiting Case 2

The PTDFs estimated in Case 2 and reported in Table 6.5 are summarized in Table 7.4.

| Table 7.4: Estimated PTDFs and their behavior |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| # | Line From Number | Line To Number | From Inj. Bus | To Inj. Bus | True value | Estimation Behavior |
| 1 | 2 | 3 | 2 | 8 | 0.53 | Exact |
| 2 | 3 | 4 | 2 | 8 | 0.4237 | Exact |
| 3 | 5 | 8 | 2 | 8 | 0.3936 | Exact |
| 4 | 2 | 3 | 3 | 4 | -0.1228 | Exact |
| 5 | 3 | 4 | 3 | 4 | 0.6333 | Exact |
| 6 | 3 | 4 | 9 | 12 | -0.2151 | Exact |

The brute-force method is used for simultaneous estimation of PTDF sets introduced in Table 7.5.

| Table 7.5: PTDF sets |  |  |
| --- | --- | --- |
| Set # | PTDF numbers included | Estimation Behaviors (B = Border, E = Exact) |
| 1 | (1,2) | (E,E) |
| 2 | (1,4) | (E,E) |
| 3 | (4,5) | (E,E) |
| 4 | (1,2,3) | (E,E,E) |
| 5 | (1,4,6) | (E,E,E) |
| 6 | (4,5,6) | (E,E,E) |

The simulation results of simultaneous estimation of above PTDF sets are provided in Appendix G. Since all the PTDFs have Exact estimation behaviors, their true values can be uniquely estimated simultaneously.

# Chapter 8: Concluding Remarks

In this dissertation, a mathematical framework is provided for estimation of unknown system parameters in an optimization problem without the need to know the uncertain system inputs that are modeled as part of the optimization parameters. This is accomplished by using the duality theory and by introducing additional optimization constraints from system output data which altogether help shrink the optimization feasible region and thus reveal the true value of the unknown parameters. Specifically for the field of electricity markets and power systems, the application of this framework would be extensive for gaining additional knowledge and conducting further research on FTR auction and electricity market optimization problems. From the industrial perspective, the contribution of our research work is to help regulators and auditors, market participants, investors, and retail customers obtain more insights about the market which would lead to a more transparent and efficient market. As elaborated in Chapter 4, the framework is beneficial to regulators and auditors as it can be used by them to identify market abuse due to generations withholding capacity. It is beneficial to market participants and retail consumers as it can improve market transparency due to making underlying system parameters known to all participants and thus lead to more efficient pricing with the hope of reducing the rates for retail consumers. It is also beneficial since it can be used by participants to construct FGR/FTR portfolios for hedging congestion risk and update the portfolio weights more frequently. Moreover, it can be used for post analysis of settlement charges to assure correct settlement calculations. It is beneficial to investors as it can help recognize the competitive injection locations in power grid for transmission congestion opportunities as well as for reducing the risk of congestion due to transactions involving a new unit by choosing an appropriate unit location. Finally, the proposed method can be modified to be suitable for any optimization problem with similar characteristics to FTR auction and DA market.

There are still some questions that need to be answered in our future research. It would be valuable to understand the impact of n-1 contingency constraints on the estimation framework. These constraints are used to model the impact of transmission line outages on the flow of other transmission lines. According to (3.8) and (3.9), when a contingency constraint is binding in auction solution, the estimated PTDF would include the LODF and PTDF factors associated to the contingent transmission line. Further analysis and modification to the framework is required to eliminate the impact of contingent line LODF and PTDF factors from the target PTDF of non-contingent transmission line.

More research steps are needed to fully tailor the framework for identifying Day-ahead market power system parameters using market published results. This is because, unlike FTR auction, the day-ahead market is an optimization problem that co-optimizes energy and ancillary services simultaneously and the market outcomes are cleared quantities and prices for the two interrelated commodities. Moreover, the transmission system losses have to be considered in the day-ahead market estimation problem which adds to the complexity of the problem due to dependency of loss allocation factors and PTDFs on the choice of slack bus or distributed slack bus weights.

Although the general concepts of FTR auction and electricity markets are the same for all US ISOs, the implementation and design details are rather different. This requires us to modify the proposed framework for each US ISO implementation. For example, CAISO uses multi-point CRRs which are transmission rights defined between multiple injection and withdrawal points. The injection points are prioritized by the participant based on their estimated cost benefits to serve the withdrawal MW. The allocation processes starts from the first injection point unless there is a constraint violation. In this case, the injection point with the next priority will be used for allocation. Further investigation is needed to quantify the impact of this process on our framework. Another example is the differences in published auction results for various ISOs. For example ERCOT publishes the binding flowgate limits whereas PJM only publishes the shadow prices. Thus, for PJM implementation, we would need to consider the transmission line limits as part of the unknown variables in the core optimization problem introduced in Section 5.3.

Further research is needed to understand the impact of special estimation cases on system congestion and auction results. In our initial investigation, we found out that in none of the special cases observed in option contract PTDF estimation did the FTR contract have any business value or importance as it was used for an opposite direction in regard to the congestion direction. However, we still need to carefully investigate this on several test cases for various ISO implementations. To address these special cases, we suggested the use of pseudo obligations which are additional obligation contracts introduced to replace the special option contracts in PTDF estimation. One drawback of this idea is the need to calculate the MCPs for pseudo obligations which requires replication of FTR auction from published outputs. Thus, further research is needed to measure the reliability of replicating the auction for pseudo obligation MCPs and to quantify the sensitivity of auction solution to these obligations. Finally, it is important to characterize the impact of Exact and Border type PTDFs on congestion patterns and their sensitivity to injection/withdrawal locations.

# References

[1]	ERCOT market information, retrieved from http://ercot.com/mktinfo

[2]	North America ISO/RTO map, retrieved from http://www.isorto.org/about/Role

[3]	Locational Marginal Pricing: basics of nodal price calculation, retrieved from http://www.caiso.com/docs/2004/02/13/200402131607358643.pdf

[4]	CRR Educational Classes Dec. 2005, retrieved from http://www.caiso.com/participate/Pages/Training/default.aspx

[5]	Application of FTRs to hedging strategy Part 1, prepared by Energy Link, retrieved from https://www.ea.govt.nz/dmsdocument/8738

[6]  	N. P. Ziogos, A. G. Bakirtzis, “Analysis of yearly multi-round, multi-period, multi-product transmission rights auction,” Electric Power Systems Research, vol. 78, pp. 464-474, 2008.

[7] 	V. Mankar, S. A. Khaparde, “A comprehensive assestment of evolution of Financial transmission rights,” IEEE Trans. On Power Systems, vol. 23, no.4, pp. 1783-1795, 2008.

[8] 	T. Li, M. Shahidehpour, “Risk-Constrained FTR bidding strategy in transmission markets,” IEEE Trans. On Power Systems, vol. 20, no.2, pp. 1014-1021, 2005.

[9] 	M. I. Alomoush, M. Shahidehpour, “Generalized model for fixed transmission rights auction,” Electric Power Systems Research, vol. 54, pp. 207-220, 2000.

[10] 	P. N. Biskas, N. P. Ziogos, A. G. Bakirtzis, “Analysis of monthly auction for financial transmission rights and flow-gate rights,” Electric Power Systems Research, vol. 77, pp. 594-603, 2007.

[11] 	G. Bautista, V. H. Quintana, “Complementarity-based models for financial transmission rights,” IEEE Power Engineering Society General Meeting, pp. 440-446, 2005.

[12]	T. Li, M. Shahidehpour, “Bidding strategy for FTR obligations in transmission markets,” IEE Proceedings Generation, Transmission and Distribution, vol.152, no.3, pp.422-428, 2005.

[13]	G. Bautista, V. H. Quintana, J. A. Aguado, “Linear complementarity models for transmission markets,” IEEE Power Tech, Russia, June 2005.

[14] 	X. Ma, D. I. Sun, G. W. Rosenwald, A. L. Ott, “Advanced financial transmission rights in the PJM market,” IEEE Power Engineering Society General Meeting, vol.2, 2003.

[15] 	D. Yang, A. Hallam, Y. Chen, X. Wang, F. Yang, “Optimal Bidding Strategy for Financial Transmission Right,” Int. Conf. on Power System Technology, vol. 1, no. 6, pp. 22-26, Oct. 2006.

[16] 	L. Minghai, G. Cross, “Framework for the design and analysis of congestion revenue rights,” IEEE Trans. On Power Systems, vol.19, no.1, pp.243-251, 2004.

[17] 	K. Hua, K. Xie, Z. Guo, “Point-to-Point FTR Obligations Auction Based on AC-OPF by Interior Point Methods,” Transmission & Distribution Conference and Exposition: Latin America, 2006.

[18]	PJM historical FTR monthly auction results, retrieved from http://www.pjm.com/markets-and-operations/ftr/auction-user-info/historical-ftr-auction.aspx

[19] 	ERCOT Nodal Protocols, Section 7: Congestion Revenue Rights, retrieved from http://www.ercot.com/mktrules/nprotocols/current

[20]	PJM manual for Financial Transmission Rights, retrieved from http://www.pjm.com/documents/manuals.aspx

[21]	MISO BPM for FTR and ARR, retrieved from https://www.misoenergy.org/MarketsOperations/MarketInformation/Pages/FTRMarket.aspx

[22]	CAISO BPM for CRRs, retrieved from http://www.caiso.com/market/Pages/ProductsServices/CongestionRevenueRights/Default.aspx

[23]	M. Liu, G. Gross, “Role of distribution factors in congestion revenue rights applications,” IEEE Trans. On Power Systems, vol. 19, no.2, pp. 802-810, 2004.

[24]	R. Baldick, “Variation of distribution factors with loading,” IEEE Trans. On Power Systems, vol. 18, no.4, pp. 1316-1323, 2003.

[25]	L. E. Ruff, “flowgates, contingency-constrained dispatch and FTRs,” retrieved from http://www.hks.harvard.edu/hepg/flowgate/lercont1018.pdf

[26]	S. S. Oren “The FTR vs. FGR Debate: Facts and Misconceptions,” Comments to FERC in Docket RM01-12-000 (Standard Market Design), 2002, retrieved from http://www.pserc.wisc.edu/documents/publications/papers/2001_general_publications/10-oren-ferccomments.pdf

[27] 	P. A. Jensen, J. F. Bard, Operations Research: Models and Methods. Hoboken: Wiley, 2003.

[28] 	S. Boyd, L. Vandenberghe, Convex Optimization. Cambridge: Cambridge university press, 2004.

# Appendix A: Case 3-Transmission line input

| Table A.1: Transmission Line Data |  |  |  |  |
| --- | --- | --- | --- | --- |
| # | From bus Number | To bus Number | X (PU) | Limit (MW) |
| 1 | 335348 | 503304 | 0 | 20 |
| 2 | 336154 | 336153 | 0.01 | 600 |
| 3 | 336037 | 336080 | 0.08 | 115 |
| 4 | 337138 | 337139 | 0.02 | 136 |
| 5 | 337909 | 337910 | 0.02 | 945 |
| 6 | 337125 | 338400 | 0.07 | 195 |
| 7 | 338514 | 338502 | 0.36 | 36 |
| 8 | 338514 | 338501 | 0.36 | 36 |
| 9 | 338514 | 338503 | 0.36 | 36 |
| 10 | 335830 | 335831 | 0.01 | 1151 |
| 11 | 336820 | 336821 | 0.01 | 1650 |
| 12 | 336154 | 336153 | 0.01 | 600 |
| 13 | 337651 | 337653 | 0.01 | 910 |
| 14 | 336220 | 336221 | 0.03 | 270 |
| 15 | 338145 | 338146 | 0.01 | 910 |
| 16 | 337665 | 337666 | 0.1 | 50 |
| 17 | 337414 | 337419 | 0.14 | 110 |
| 18 | 337693 | 337694 | 0.65 | 12 |
| 19 | 337005 | 337007 | 0.09 | 193 |
| 20 | 337005 | 337006 | 0.09 | 193 |
| 21 | 337686 | 337690 | 0 | 598 |
| 22 | 337909 | 337911 | 0.01 | 1130 |
| 23 | 337692 | 337690 | 0.01 | 600 |
| 24 | 335825 | 335830 | 0 | 1194 |
| 25 | 337651 | 337652 | 0.01 | 910 |
| 26 | 337602 | 338514 | 0.07 | 114 |
| 27 | 336220 | 336222 | 0.02 | 465 |
| 28 | 337005 | 337008 | 0.07 | 223 |
| 29 | 337415 | 337449 | 0.13 | 84 |
| 30 | 337718 | 337720 | 0.23 | 34 |
| 31 | 335569 | 335571 | 0.08 | 215 |
| 32 | 335569 | 335570 | 0.08 | 215 |
| 33 | 337124 | 338400 | 0.12 | 115 |
| 34 | 335094 | 335102 | 0.11 | 38 |
| 35 | 337430 | 337427 | 0.08 | 215 |
| 36 | 337429 | 337427 | 0.08 | 215 |
| 37 | 337428 | 337427 | 0.08 | 215 |
| 38 | 337710 | 337712 | 0.1 | 50 |
| 39 | 337710 | 337711 | 0.1 | 50 |
| 40 | 335610 | 335612 | 0.04 | 256 |
| 41 | 334458 | 334455 | 0.06 | 217 |
| 42 | 337718 | 337719 | 0.25 | 34 |
| 43 | 337414 | 337418 | 0.24 | 60 |
| 44 | 337414 | 337417 | 0.24 | 60 |
| 45 | 334433 | 334430 | 0.01 | 495 |
| 46 | 336462 | 336464 | 0.01 | 640 |
| 47 | 335569 | 335572 | 0.08 | 215 |
| 48 | 335576 | 335577 | 0.33 | 53.5 |
| 49 | 335576 | 335578 | 0.33 | 53.5 |
| 50 | 337765 | 337763 | 0.06 | 312 |
| 51 | 337764 | 337763 | 0.06 | 312 |
| 52 | 336175 | 336177 | 0.11 | 150 |
| 53 | 336175 | 336176 | 0.11 | 150 |
| 54 | 336190 | 336191 | 0.02 | 650 |
| 55 | 338515 | 338506 | 0.96 | 12 |
| 56 | 338515 | 338504 | 0.96 | 12 |
| 57 | 338515 | 338505 | 0.96 | 12 |
| 58 | 334070 | 334072 | 0.03 | 312 |
| 59 | 335781 | 335782 | 0.09 | 93 |
| 60 | 337646 | 337648 | 0.02 | 253 |
| 61 | 334431 | 334430 | 0.05 | 256 |
| 62 | 334432 | 334430 | 0.05 | 256 |
| 63 | 337581 | 337582 | 0.01 | 112 |
| 64 | 334029 | 334030 | 0.04 | 200 |
| 65 | 334029 | 334031 | 0.04 | 200 |
| 66 | 337921 | 337927 | 0.04 | 223 |
| 67 | 338170 | 505420 | 0.04 | 148 |
| 68 | 334441 | 334434 | 0.02 | 583 |
| 69 | 337647 | 337648 | 0.04 | 255 |
| 70 | 337935 | 338482 | 0.43 | 50 |
| 71 | 336880 | 336882 | 0.04 | 143 |
| 72 | 336444 | 336446 | 0.03 | 300 |
| 73 | 335610 | 335611 | 0.05 | 200 |
| 74 | 338152 | 338143 | 0.01 | 530 |
| 75 | 338151 | 338734 | 0.04 | 148 |
| 76 | 335200 | 335203 | 0.06 | 192 |
| 77 | 335787 | 335788 | 0.09 | 20 |
| 78 | 337619 | 337647 | 0.05 | 239 |
| 79 | 334071 | 334072 | 0.03 | 330 |
| 80 | 334391 | 334392 | 0.08 | 210 |
| 81 | 334440 | 334434 | 0.02 | 680 |
| 82 | 335190 | 335206 | 0.01 | 706 |
| 83 | 338142 | 338143 | 0.01 | 530 |
| 84 | 335030 | 335031 | 0.01 | 39 |
| 85 | 335074 | 335075 | 0.07 | 225 |
| 86 | 335074 | 335076 | 0.07 | 225 |
| 87 | 337927 | 338424 | 0 | 223 |
| 88 | 337016 | 337019 | 0.06 | 120 |
| 89 | 337322 | 337326 | 0.24 | 52 |
| 90 | 337322 | 337323 | 0.24 | 52 |
| 91 | 337322 | 337325 | 0.24 | 52 |
| 92 | 337322 | 337324 | 0.24 | 52 |
| 93 | 337930 | 337931 | 0.03 | 283 |
| 94 | 338734 | 338879 | 0.06 | 148 |
| 95 | 334298 | 334326 | 0.15 | 112.5 |
| 96 | 334299 | 334326 | 0.15 | 112.5 |
| 97 | 337645 | 337646 | 0.04 | 266 |
| 98 | 337718 | 337746 | 0.08 | 111 |
| 99 | 336918 | 336919 | 0.02 | 161 |
| 100 | 336080 | 336081 | 0.04 | 115 |
| 101 | 336945 | 336919 | 0.03 | 600 |
| 102 | 335135 | 335190 | 0 | 532 |
| 103 | 338201 | 345534 | 0.74 | 22 |
| 104 | 337425 | 337420 | 0.09 | 220 |
| 105 | 337423 | 337420 | 0.09 | 220 |
| 106 | 337421 | 337420 | 0.09 | 220 |
| 107 | 336220 | 336230 | 0.02 | 320 |
| 108 | 337426 | 337420 | 0.14 | 140 |
| 109 | 337424 | 337420 | 0.14 | 140 |
| 110 | 337422 | 337420 | 0.14 | 140 |
| 111 | 335190 | 335204 | 0.02 | 680 |
| 112 | 335644 | 335643 | 0.08 | 205 |
| 113 | 337320 | 337322 | 0.22 | 219 |
| 114 | 336871 | 336880 | 0.03 | 231 |
| 115 | 337432 | 337427 | 0.07 | 250 |
| 116 | 335136 | 335137 | 0.1 | 200 |
| 117 | 335136 | 335137 | 0.1 | 200 |
| 118 | 337950 | 338016 | 0.03 | 239 |
| 119 | 334231 | 334233 | 0.1 | 120 |
| 120 | 334231 | 334232 | 0.1 | 120 |
| 121 | 337766 | 337763 | 0.06 | 390 |
| 122 | 334463 | 334467 | 0.1 | 107 |
| 123 | 337644 | 337645 | 0.02 | 266 |
| 124 | 336035 | 503305 | 0 | 120 |
| 125 | 335815 | 335782 | 0.06 | 200 |
| 126 | 334001 | 334002 | 0.09 | 33 |
| 127 | 334737 | 334741 | 0.01 | 72 |
| 128 | 335640 | 335639 | 0.13 | 112 |
| 129 | 335837 | 335771 | 0.01 | 1200 |
| 130 | 337005 | 337009 | 0 | 806 |
| 131 | 338200 | 344722 | 0.43 | 35 |
| 132 | 338813 | 505460 | 0.03 | 162 |
| 133 | 334412 | 334413 | 0.01 | 282 |
| 134 | 335569 | 335573 | 0 | 685 |
| 135 | 336220 | 336223 | 0.04 | 290 |
| 136 | 337740 | 337742 | 0.04 | 201 |
| 137 | 337949 | 338755 | 0.07 | 106 |
| 138 | 334000 | 334001 | 0.1 | 33 |
| 139 | 335573 | 335574 | 0 | 685 |
| 140 | 337331 | 337390 | 0.1 | 115 |
| 141 | 337137 | 337138 | 0.05 | 108 |
| 142 | 335135 | 335136 | 0 | 470 |
| 143 | 337162 | 360594 | 0 | 1172 |
| 144 | 336170 | 336166 | 0.04 | 490 |
| 145 | 336839 | 336880 | 0.03 | 560 |
| 146 | 337620 | 337644 | 0.01 | 239 |
| 147 | 303131 | 335336 | 0.03 | 19 |
| 148 | 338188 | 338388 | 0.02 | 1025 |
| 149 | 338229 | 338230 | 0.06 | 70 |
| 150 | 336280 | 336283 | 0.06 | 175 |
| 151 | 335574 | 335575 | 0 | 685 |
| 152 | 337815 | 337816 | 0.01 | 298 |
| 153 | 337449 | 337450 | 0.1 | 84 |
| 154 | 334413 | 334430 | 0.03 | 287 |
| 155 | 336938 | 336939 | 0 | 239 |
| 156 | 337420 | 337415 | 0.02 | 598 |
| 157 | 337665 | 337667 | 0.08 | 50 |
| 158 | 337686 | 337740 | 0 | 266 |
| 159 | 336555 | 336559 | 0.07 | 231 |
| 160 | 337561 | 337539 | 0.04 | 448 |
| 161 | 337620 | 337626 | 0.01 | 194 |
| 162 | 337625 | 337626 | 0.01 | 194 |
| 163 | 335576 | 335579 | 0 | 685 |
| 164 | 337600 | 337602 | 0.1 | 106 |
| 165 | 336553 | 336554 | 0.04 | 199 |
| 166 | 336554 | 336555 | 0.02 | 199 |
| 167 | 335521 | 335522 | 0.06 | 50 |
| 168 | 336167 | 336166 | 0.07 | 272 |
| 169 | 336168 | 336166 | 0.07 | 272 |
| 170 | 336169 | 336166 | 0.07 | 272 |
| 171 | 336069 | 336154 | 0.02 | 641 |
| 172 | 337931 | 337932 | 0 | 283 |
| 173 | 303000 | 335827 | 0 | 478 |
| 174 | 335022 | 335023 | 0 | 42 |
| 175 | 337804 | 337815 | 0.01 | 319 |
| 176 | 335217 | 335250 | 0.1 | 39 |
| 177 | 338151 | 338173 | 0.01 | 335 |
| 178 | 337180 | 337150 | 0.02 | 392 |
| 179 | 335642 | 335643 | 0 | 243 |
| 180 | 336839 | 336840 | 0.03 | 560 |
| 181 | 336839 | 336840 | 0.03 | 560 |
| 182 | 335647 | 335646 | 0.12 | 143 |
| 183 | 337826 | 337840 | 0.03 | 159 |
| 184 | 337808 | 337799 | 0.04 | 448 |
| 185 | 336778 | 336870 | 0.02 | 159 |
| 186 | 337808 | 337804 | 0.04 | 448 |
| 187 | 337827 | 337930 | 0.05 | 239 |
| 188 | 337382 | 337414 | 0.09 | 228 |
| 189 | 337023 | 337054 | 0.07 | 70 |
| 190 | 336870 | 336871 | 0.02 | 231 |
| 191 | 337583 | 338642 | 0.01 | 176 |
| 192 | 303000 | 335536 | 0.03 | 524 |
| 193 | 334414 | 334430 | 0.02 | 287 |
| 194 | 335513 | 335514 | 0 | 72 |
| 195 | 335513 | 335508 | 0.1 | 72 |
| 196 | 336907 | 336938 | 0.01 | 320 |
| 197 | 337620 | 337962 | 0.08 | 106 |
| 198 | 335336 | 335337 | 0.13 | 56 |
| 199 | 338006 | 338016 | 0.01 | 266 |
| 200 | 338151 | 338154 | 0.06 | 223 |
| 201 | 334026 | 334039 | 0.11 | 206 |
| 202 | 334026 | 334060 | 0.08 | 206 |
| 203 | 337392 | 337415 | 0 | 262 |
| 204 | 336882 | 336890 | 0.04 | 143 |
| 205 | 337162 | 337163 | 0.01 | 462 |
| 206 | 336917 | 336918 | 0.02 | 161 |
| 207 | 334084 | 334208 | 0.01 | 243 |
| 208 | 338044 | 338879 | 0.03 | 148 |
| 209 | 336033 | 336034 | 0.03 | 159 |
| 210 | 335610 | 335628 | 0.03 | 216 |
| 211 | 338172 | 338173 | 0 | 335 |
| 212 | 335713 | 335771 | 0.05 | 200 |
| 213 | 338004 | 338755 | 0.06 | 106 |
| 214 | 337818 | 337821 | 0.01 | 298 |
| 215 | 337929 | 337930 | 0.02 | 239 |
| 216 | 337009 | 337000 | 0.02 | 560 |
| 217 | 337650 | 337648 | 0.04 | 420 |
| 218 | 337650 | 337648 | 0.04 | 420 |
| 219 | 337650 | 337651 | 0 | 840 |
| 220 | 337020 | 337021 | 0.07 | 53 |
| 221 | 335642 | 335664 | 0 | 339 |
| 222 | 337414 | 337443 | 0.08 | 239 |
| 223 | 303325 | 337331 | 0.06 | 115 |
| 224 | 337150 | 337151 | 0.02 | 120 |
| 225 | 337962 | 338738 | 0.01 | 106 |
| 226 | 336230 | 336231 | 0.01 | 360 |
| 227 | 337420 | 337415 | 0.02 | 598 |
| 228 | 336800 | 336960 | 0.04 | 161 |
| 229 | 337742 | 337744 | 0.02 | 201 |
| 230 | 337162 | 337180 | 0 | 797 |
| 231 | 300115 | 338202 | 0.03 | 240 |
| 232 | 334228 | 334412 | 0.01 | 151 |
| 233 | 337922 | 337923 | 0.02 | 600 |
| 234 | 336558 | 336559 | 0.04 | 239 |
| 235 | 337918 | 337932 | 0.01 | 239 |
| 236 | 335713 | 335771 | 0.05 | 200 |
| 237 | 334396 | 334398 | 0.02 | 270 |
| 238 | 336906 | 336907 | 0.01 | 320 |
| 239 | 336939 | 336941 | 0.47 | 20 |
| 240 | 335750 | 335782 | 0.07 | 93 |
| 241 | 334397 | 334430 | 0.01 | 282 |
| 242 | 334560 | 334561 | 0.04 | 22.7 |
| 243 | 334500 | 334501 | 0.01 | 121 |
| 244 | 336925 | 336926 | 0.01 | 231 |
| 245 | 336925 | 336940 | 0.01 | 231 |
| 246 | 336919 | 336939 | 0.01 | 260 |
| 247 | 337826 | 337827 | 0.02 | 255 |
| 248 | 336043 | 336037 | 0.03 | 336 |
| 249 | 336280 | 336284 | 0.03 | 229 |
| 250 | 336919 | 336940 | 0.01 | 260 |
| 251 | 338022 | 338044 | 0.09 | 148 |
| 252 | 335785 | 335786 | 0.06 | 37.6 |
| 253 | 338140 | 338016 | 0.03 | 600 |
| 254 | 338228 | 338229 | 0.14 | 70 |
| 255 | 337028 | 337032 | 0.05 | 108 |
| 256 | 335575 | 335576 | 0 | 685 |
| 257 | 335346 | 335347 | 0.12 | 51 |
| 258 | 303021 | 334325 | 0 | 1215 |
| 259 | 335825 | 335827 | 0.01 | 673 |
| 260 | 336939 | 336941 | 0.48 | 20 |
| 261 | 335258 | 335259 | 0.14 | 33 |
| 262 | 335259 | 335266 | 0.1 | 33 |
| 263 | 335217 | 335253 | 0.2 | 33 |
| 264 | 336842 | 336890 | 0.02 | 392 |
| 265 | 336223 | 336224 | 0.03 | 174 |
| 266 | 336961 | 336976 | 0.02 | 111 |
| 267 | 334396 | 334397 | 0.04 | 282 |
| 268 | 336777 | 336778 | 0.02 | 161 |
| 269 | 336212 | 336213 | 0 | 572 |
| 270 | 334398 | 334430 | 0.03 | 287 |
| 271 | 336830 | 336800 | 0.03 | 560 |
| 272 | 336130 | 336131 | 0.01 | 1200 |
| 273 | 338154 | 338155 | 0.04 | 223 |
| 274 | 335699 | 335724 | 0.05 | 72 |
| 275 | 337800 | 337801 | 0.02 | 159 |
| 276 | 337340 | 337343 | 0.15 | 111 |
| 277 | 335815 | 335825 | 0.01 | 593 |
| 278 | 337304 | 500170 | 0.02 | 382 |
| 279 | 336552 | 336553 | 0.04 | 199 |
| 280 | 337816 | 337817 | 0 | 298 |
| 281 | 335786 | 335787 | 0.04 | 37.6 |
| 282 | 337909 | 337922 | 0.01 | 1732 |
| 283 | 335525 | 335527 | 0.06 | 72 |
| 284 | 335527 | 335508 | 0.1 | 72 |
| 285 | 337918 | 338484 | 0.04 | 255 |
| 286 | 335455 | 500720 | 0.04 | 287 |
| 287 | 336804 | 336962 | 0.01 | 231 |
| 288 | 337747 | 338659 | 0.14 | 106 |
| 289 | 335599 | 335600 | 0 | 287 |
| 290 | 337937 | 337930 | 0.03 | 420 |
| 291 | 337964 | 338738 | 0.01 | 106 |
| 292 | 336967 | 336968 | 0.08 | 87 |
| 293 | 337923 | 337925 | 0.05 | 303 |
| 294 | 338033 | 338883 | 0.03 | 148 |
| 295 | 336557 | 336558 | 0.03 | 239 |
| 296 | 335211 | 335217 | 0.05 | 72 |
| 297 | 336526 | 336559 | 0.04 | 161 |
| 298 | 337343 | 337341 | 0.03 | 300 |
| 299 | 337161 | 337163 | 0.01 | 462 |
| 300 | 335815 | 335825 | 0.01 | 593 |
| 301 | 335713 | 335771 | 0.06 | 200 |
| 302 | 335677 | 335678 | 0.03 | 121 |
| 303 | 336840 | 336841 | 0.01 | 433 |
| 304 | 337665 | 338852 | 0.06 | 159 |
| 305 | 335663 | 335664 | 0 | 361 |
| 306 | 335720 | 335721 | 0.05 | 93 |
| 307 | 336154 | 336250 | 0.03 | 1038 |
| 308 | 335366 | 335375 | 0.03 | 225 |
| 309 | 334058 | 334060 | 0.02 | 206 |
| 310 | 334226 | 334228 | 0.03 | 151 |
| 311 | 335749 | 335750 | 0.03 | 93 |
| 312 | 336084 | 336280 | 0.08 | 174 |
| 313 | 336042 | 336154 | 0.03 | 535 |
| 314 | 337382 | 337383 | 0.02 | 228 |
| 315 | 334193 | 334319 | 0.04 | 239 |
| 316 | 335411 | 335412 | 0.08 | 39 |
| 317 | 337857 | 337858 | 0.04 | 266 |
| 318 | 334641 | 334642 | 0.01 | 69 |
| 319 | 336840 | 336856 | 0.01 | 519 |
| 320 | 338188 | 360021 | 0 | 2546 |
| 321 | 334334 | 334335 | 0.01 | 145 |
| 322 | 335771 | 336140 | 0.04 | 703 |
| 323 | 336130 | 336562 | 0.02 | 1270 |
| 324 | 337685 | 337734 | 0.02 | 176 |
| 325 | 337928 | 338422 | 0.02 | 224 |
| 326 | 334333 | 334334 | 0.1 | 141 |
| 327 | 337674 | 337675 | 0.03 | 68 |
| 328 | 337804 | 337820 | 0 | 319 |
| 329 | 338200 | 344720 | 0.44 | 36 |
| 330 | 337733 | 337734 | 0.01 | 176 |
| 331 | 337858 | 337859 | 0.02 | 283 |
| 332 | 337516 | 337519 | 0.02 | 177 |
| 333 | 334204 | 334434 | 0.04 | 685 |
| 334 | 335829 | 503303 | 0 | 20 |
| 335 | 334588 | 334600 | 0.13 | 72 |
| 336 | 337581 | 337583 | 0.02 | 176 |
| 337 | 336800 | 336804 | 0.03 | 239 |
| 338 | 335836 | 388700 | 0.03 | 1800 |
| 339 | 335347 | 335348 | 0.06 | 51 |
| 340 | 334008 | 334020 | 0.2 | 50 |
| 341 | 338033 | 338155 | 0.04 | 223 |
| 342 | 338682 | 506932 | 0.02 | 210 |
| 343 | 334413 | 334414 | 0.01 | 287 |
| 344 | 337746 | 337747 | 0.01 | 118 |
| 345 | 335805 | 335815 | 0.02 | 300 |
| 346 | 337304 | 337341 | 0.03 | 319 |
| 347 | 338147 | 338148 | 0.01 | 246 |
| 348 | 334226 | 334227 | 0.06 | 151 |
| 349 | 335524 | 335525 | 0.02 | 72 |
| 350 | 335805 | 335815 | 0.02 | 300 |
| 351 | 334411 | 334412 | 0 | 241 |
| 352 | 337040 | 337042 | 0.03 | 392 |
| 353 | 338515 | 338744 | 0.01 | 223 |
| 354 | 338171 | 338172 | 0.06 | 363 |
| 355 | 336190 | 336210 | 0.01 | 1038 |
| 356 | 334039 | 334040 | 0.01 | 206 |
| 357 | 337304 | 500200 | 0.02 | 764 |
| 358 | 337116 | 337126 | 0.13 | 108 |
| 359 | 335742 | 335743 | 0.01 | 93 |
| 360 | 337032 | 337033 | 0.06 | 231 |
| 361 | 336556 | 336557 | 0.01 | 239 |
| 362 | 336007 | 336154 | 0.02 | 459 |
| 363 | 337064 | 337065 | 0.08 | 159 |
| 364 | 336442 | 336444 | 0.02 | 320 |
| 365 | 338215 | 338216 | 0.25 | 50 |
| 366 | 336525 | 336526 | 0.03 | 161 |
| 367 | 335627 | 335628 | 0.01 | 265 |
| 368 | 335796 | 335805 | 0.1 | 100 |
| 369 | 335782 | 335805 | 0.1 | 100 |
| 370 | 336019 | 336042 | 0.03 | 300 |
| 371 | 338142 | 338151 | 0.03 | 416 |
| 372 | 336213 | 336214 | 0.01 | 572 |
| 373 | 334628 | 334640 | 0.01 | 121 |
| 374 | 337009 | 337000 | 0.02 | 615 |
| 375 | 335375 | 335376 | 0.03 | 225 |
| 376 | 337136 | 337137 | 0.03 | 108 |
| 377 | 338170 | 338171 | 0.03 | 335 |
| 378 | 336154 | 336155 | 0 | 797 |
| 379 | 337144 | 337150 | 0.02 | 217 |
| 380 | 336418 | 336420 | 0.01 | 217 |
| 381 | 337744 | 337745 | 0.04 | 201 |
| 382 | 337967 | 337972 | 0.06 | 106 |
| 383 | 335618 | 335568 | 0.02 | 672 |
| 384 | 338162 | 338161 | 0.03 | 450 |
| 385 | 337928 | 337929 | 0.04 | 239 |
| 386 | 338138 | 338142 | 0.04 | 310 |
| 387 | 337624 | 337625 | 0.01 | 194 |
| 388 | 338006 | 338756 | 0.02 | 266 |
| 389 | 337860 | 337859 | 0.04 | 447 |
| 390 | 338123 | 505460 | 0 | 223 |
| 391 | 335428 | 500490 | 0.02 | 39 |
| 392 | 335409 | 335428 | 0.1 | 39 |
| 393 | 337937 | 337930 | 0.03 | 420 |
| 394 | 337937 | 337930 | 0.03 | 420 |
| 395 | 337740 | 337741 | 0.02 | 239 |
| 396 | 337950 | 337951 | 0.02 | 194 |
| 397 | 337799 | 337825 | 0.05 | 266 |
| 398 | 337686 | 337718 | 0.05 | 239 |
| 399 | 338148 | 338149 | 0.03 | 223 |
| 400 | 335023 | 335024 | 0.01 | 42 |
| 401 | 337391 | 337415 | 0 | 320 |
| 402 | 334680 | 334396 | 0.12 | 75 |
| 403 | 336960 | 336961 | 0.04 | 176 |
| 404 | 337390 | 337391 | 0.06 | 298 |
| 405 | 337050 | 337051 | 0.02 | 392 |
| 406 | 335125 | 335200 | 0.01 | 260 |
| 407 | 334316 | 334317 | 0.08 | 134 |
| 408 | 334072 | 334090 | 0.05 | 411 |
| 409 | 337821 | 337822 | 0.01 | 298 |
| 410 | 338202 | 338230 | 0.05 | 112 |
| 411 | 337662 | 338852 | 0.01 | 159 |
| 412 | 337964 | 338741 | 0.04 | 106 |
| 413 | 337664 | 337685 | 0.08 | 159 |
| 414 | 303321 | 337442 | 0 | 198 |
| 415 | 334152 | 334193 | 0.03 | 233 |
| 416 | 334501 | 334502 | 0.01 | 121 |
| 417 | 336081 | 336082 | 0.09 | 115 |
| 418 | 337051 | 337052 | 0.05 | 161 |
| 419 | 337817 | 337818 | 0.01 | 255 |
| 420 | 303321 | 337444 | 0.03 | 176 |
| 421 | 336554 | 336770 | 0.05 | 161 |
| 422 | 334093 | 334100 | 0.03 | 384 |
| 423 | 335600 | 335601 | 0.01 | 339 |
| 424 | 335376 | 335377 | 0 | 225 |
| 425 | 337824 | 337825 | 0.02 | 255 |
| 426 | 336015 | 336016 | 0.09 | 115 |
| 427 | 337415 | 338642 | 0.14 | 239 |
| 428 | 337685 | 337686 | 0.01 | 239 |
| 429 | 303005 | 335835 | 0 | 2048 |
| 430 | 335775 | 335776 | 0.03 | 203 |
| 431 | 335035 | 335045 | 0.01 | 121 |
| 432 | 337717 | 337718 | 0.02 | 159 |
| 433 | 336158 | 336166 | 0 | 917 |
| 434 | 336157 | 336166 | 0 | 917 |
| 435 | 334025 | 334026 | 0.06 | 206 |
| 436 | 334024 | 334025 | 0.03 | 206 |
| 437 | 337686 | 337695 | 0.01 | 201 |
| 438 | 336233 | 336234 | 0.03 | 239 |
| 439 | 334151 | 334152 | 0.04 | 233 |
| 440 | 336194 | 336196 | 0.01 | 524 |
| 441 | 335535 | 336015 | 0.05 | 121 |
| 442 | 334225 | 334227 | 0.06 | 151 |
| 443 | 334413 | 334628 | 0.1 | 100 |
| 444 | 334413 | 334627 | 0.1 | 100 |
| 445 | 337516 | 337518 | 0.06 | 159 |
| 446 | 334413 | 334626 | 0.1 | 100 |
| 447 | 338104 | 338121 | 0.07 | 156 |
| 448 | 334072 | 334086 | 0.01 | 382 |
| 449 | 337697 | 337705 | 0.03 | 201 |
| 450 | 337695 | 337697 | 0.04 | 201 |
| 451 | 336855 | 336856 | 0 | 519 |
| 452 | 336084 | 336085 | 0.08 | 176 |
| 453 | 334639 | 334640 | 0.01 | 121 |
| 454 | 334330 | 334331 | 0.01 | 72 |
| 455 | 335776 | 335805 | 0.03 | 241 |
| 456 | 335699 | 335710 | 0.04 | 121 |
| 457 | 337705 | 338739 | 0.02 | 159 |
| 458 | 336010 | 336011 | 0.02 | 800 |
| 459 | 337361 | 507788 | 0.01 | 80 |
| 460 | 303325 | 337330 | 0.04 | 113 |
| 461 | 338151 | 338152 | 0.03 | 416 |
| 462 | 338151 | 338152 | 0.03 | 416 |
| 463 | 334752 | 334753 | 0.02 | 121 |
| 464 | 336269 | 336462 | 0.01 | 640 |
| 465 | 337731 | 337733 | 0.01 | 176 |
| 466 | 335094 | 335095 | 0.03 | 65 |
| 467 | 337909 | 337914 | 0.02 | 672 |
| 468 | 337912 | 337914 | 0 | 672 |
| 469 | 337741 | 337800 | 0.06 | 239 |
| 470 | 337930 | 338760 | 0.07 | 255 |
| 471 | 337011 | 337032 | 0.02 | 392 |
| 472 | 335030 | 335035 | 0.01 | 121 |
| 473 | 336034 | 336035 | 0.02 | 286 |
| 474 | 337000 | 337011 | 0 | 393 |
| 475 | 335836 | 335837 | 0 | 2598 |
| 476 | 336236 | 336406 | 0 | 221 |
| 477 | 334250 | 334251 | 0.05 | 29.3 |
| 478 | 337371 | 337372 | 0 | 120 |
| 479 | 337663 | 337664 | 0.06 | 159 |
| 480 | 335752 | 335796 | 0.09 | 93 |
| 481 | 337310 | 500070 | 0.05 | 93 |
| 482 | 337392 | 337393 | 0.05 | 320 |
| 483 | 337530 | 338823 | 0.02 | 146 |
| 484 | 336236 | 336237 | 0.01 | 286 |
| 485 | 338875 | 503912 | 0.08 | 157 |
| 486 | 337957 | 338162 | 0.02 | 1732 |
| 487 | 336154 | 336190 | 0.03 | 580 |
| 488 | 338204 | 338706 | 0.02 | 247 |
| 489 | 337921 | 337923 | 0.01 | 558 |
| 490 | 337140 | 337139 | 0.02 | 392 |
| 491 | 334202 | 334203 | 0 | 749 |
| 492 | 337642 | 337745 | 0.08 | 201 |
| 493 | 334100 | 334234 | 0 | 750 |
| 494 | 334200 | 334234 | 0.02 | 750 |
| 495 | 336154 | 336190 | 0.03 | 580 |
| 496 | 336963 | 336965 | 0.02 | 151 |
| 497 | 337028 | 337031 | 0.12 | 108 |
| 498 | 337619 | 337621 | 0.01 | 219 |
| 499 | 338216 | 338217 | 0.02 | 42 |
| 500 | 335598 | 335599 | 0 | 287 |

# Appendix B: Case 3 – FTR input data and auction optimization results

| Table B.1: FTR input data and auction results |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| # | Type | Bid/Offer | Injection bus | Withdrawal bus | Max Quantity (MW) | Price ($/MW) | Auction MCP ($/MW) | Auction Quantity cleared (MW) |
| 1 | obl | bid | 337692 | 336154 | 600 | 39.8098 | 39.8098 | 598.0 |
| 2 | obl | bid | 334433 | 336154 | 600 | 44.8186 | 44.8186 | 495.0 |
| 3 | obl | bid | 337765 | 336220 | 270 | 1.9843 | 33.4428 | 0.0 |
| 4 | obl | bid | 337764 | 337686 | 598 | 45.2357 | 45.2357 | 312.0 |
| 5 | obl | offer | 334070 | 336220 | 465 | 29.7798 | 29.7798 | 312.0 |
| 6 | obl | bid | 334431 | 335610 | 256 | 0.3647 | 30.7148 | 0.0 |
| 7 | obl | bid | 334432 | 336462 | 640 | 10.3174 | 29.1727 | 0.0 |
| 8 | obl | bid | 334441 | 336190 | 650 | 25.0785 | 29.3367 | 0.0 |
| 9 | obl | offer | 334071 | 337646 | 253 | 47.6629 | 25.9525 | 0.0 |
| 10 | obl | bid | 334440 | 337647 | 255 | 48.0689 | 25.9315 | 255.0 |
| 11 | obl | bid | 337930 | 336444 | 300 | 3.6687 | 33.6030 | 0.0 |
| 12 | obl | bid | 336945 | 338152 | 530 | 48.3826 | 27.5739 | 530.0 |
| 13 | obl | bid | 336220 | 335190 | 706 | 47.6442 | 28.7405 | 706.0 |
| 14 | obl | bid | 337766 | 338142 | 530 | 21.6957 | 30.2145 | 0.0 |
| 15 | obl | offer | 335569 | 337645 | 266 | 39.0154 | 24.8351 | 0.0 |
| 16 | obl | bid | 336220 | 335135 | 532 | 2.8037 | 28.7354 | 0.0 |
| 17 | obl | bid | 335573 | 335190 | 680 | 18.1969 | 27.5705 | 0.0 |
| 18 | obl | bid | 335135 | 337644 | 266 | 45.3655 | 26.7281 | 266.0 |
| 19 | obl | bid | 336170 | 334412 | 282 | 38.5714 | 38.3822 | 282.0 |
| 20 | obl | offer | 336839 | 334413 | 287 | 47.7721 | 29.5164 | 0.0 |
| 21 | obl | bid | 335574 | 336069 | 641 | 31.0657 | 28.3613 | 641.0 |
| 22 | obl | bid | 337815 | 303000 | 478 | -3.0359 | 35.2912 | 0.0 |
| 23 | opt | bid | 337420 | 334414 | 287 | 41.7021 | 31.0578 | 287.0 |
| 24 | opt | bid | 337686 | 336907 | 320 | 46.3696 | 41.5657 | 320.0 |
| 25 | opt | offer | 337561 | 338006 | 266 | 32.3304 | 29.0782 | 0.0 |
| 26 | opt | bid | 335576 | 337392 | 262 | 36.6757 | 29.0964 | 262.0 |
| 27 | opt | bid | 336167 | 338172 | 335 | 35.8723 | 40.2490 | 0.0 |
| 28 | opt | bid | 336168 | 334396 | 270 | 16.5725 | 39.4594 | 0.0 |
| 29 | opt | bid | 336169 | 336906 | 320 | 31.0513 | 45.6228 | 0.0 |
| 30 | obl | bid | 337931 | 334397 | 282 | 4.4153 | 33.2231 | 0.0 |
| 31 | obl | bid | 337804 | 337826 | 255 | 33.8325 | 29.0959 | 255.0 |
| 32 | obl | offer | 338151 | 334396 | 282 | -3.2492 | 31.4734 | 282.0 |
| 33 | obl | bid | 337180 | 334398 | 287 | 10.2308 | 11.4196 | 0.0 |
| 34 | obl | bid | 336839 | 335815 | 593 | -2.4606 | 31.5680 | 0.0 |
| 35 | obl | bid | 336839 | 335455 | 287 | 0.3422 | 30.5362 | 0.0 |
| 36 | obl | bid | 337808 | 335599 | 287 | 40.2902 | 36.3462 | 287.0 |
| 37 | obl | bid | 337808 | 337343 | 300 | 33.2156 | 33.2390 | 0.0 |
| 38 | obl | bid | 303000 | 337161 | 462 | 12.4405 | 41.1815 | 0.0 |
| 39 | opt | bid | 337162 | 335815 | 593 | 47.2622 | 33.8218 | 593.0 |
| 40 | opt | bid | 337818 | 335663 | 361 | -3.1055 | 35.1110 | 0.0 |
| 41 | opt | bid | 337009 | 336042 | 535 | 19.1309 | 32.5449 | 0.0 |
| 42 | opt | offer | 337650 | 337857 | 266 | 15.9857 | 29.6694 | 266.0 |
| 43 | obl | bid | 337650 | 337858 | 283 | 37.1034 | 29.3628 | 283.0 |
| 44 | obl | bid | 335642 | 334204 | 685 | 38.736 | 27.0203 | 685.0 |
| 45 | obl | bid | 336230 | 334413 | 287 | 5.278 | 28.4867 | 0.0 |
| 46 | obl | bid | 337420 | 335805 | 300 | 21.937 | 32.9747 | 0.0 |
| 47 | obl | offer | 337162 | 335805 | 300 | 19.5072 | 12.7209 | 0.0 |
| 48 | obl | bid | 337922 | 338171 | 363 | 30.5472 | 31.0458 | 0.0 |
| 49 | obl | bid | 336919 | 337304 | 764 | 34.0151 | 34.0151 | 35.3 |
| 50 | obl | bid | 336043 | 336007 | 459 | 36.5078 | 29.1737 | 459.0 |
| 51 | obl | bid | 336919 | 336442 | 320 | 10.1814 | 34.6190 | 0.0 |
| 52 | obl | bid | 338140 | 335627 | 265 | 32.3836 | 35.1515 | 0.0 |
| 53 | obl | bid | 335575 | 336019 | 300 | 31.0304 | 28.4847 | 300.0 |
| 54 | obl | offer | 335825 | 338170 | 335 | 3.9436 | 24.7715 | 335.0 |
| 55 | obl | bid | 336842 | 336154 | 797 | 1.5449 | 29.6560 | 0.0 |
| 56 | obl | bid | 336212 | 338138 | 310 | 22.41 | 22.4100 | 99.7 |
| 57 | obl | bid | 336830 | 337391 | 320 | 47.7859 | 47.7859 | 314.9 |
| 58 | obl | bid | 337304 | 337390 | 298 | 13.7212 | 40.9664 | 0.0 |
| 59 | obl | bid | 337816 | 335125 | 260 | 27.1897 | 33.4593 | 0.0 |
| 60 | obl | bid | 337918 | 334093 | 384 | 7.3097 | 32.9118 | 0.0 |
| 61 | obl | bid | 337937 | 335600 | 339 | 36.3197 | 36.3197 | 188.3 |
| 62 | opt | bid | 337923 | 337824 | 255 | 9.0302 | 29.1834 | 0.0 |
| 63 | opt | bid | 336840 | 336855 | 519 | 22.8276 | 29.0729 | 0.0 |
| 64 | opt | bid | 336840 | 338151 | 416 | 33.4492 | 29.4269 | 416.0 |
| 65 | opt | bid | 335771 | 338151 | 416 | 43.9997 | 29.7415 | 416.0 |
| 66 | obl | bid | 337804 | 336269 | 640 | 47.761 | 33.5767 | 640.0 |
| 67 | obl | bid | 337304 | 337912 | 672 | 25.0969 | 25.0969 | 164.7 |
| 68 | obl | offer | 337040 | 336236 | 286 | 2.6243 | 29.4295 | 286.0 |
| 69 | obl | bid | 338142 | 337921 | 558 | 3.2112 | 27.6509 | 0.0 |
| 70 | obl | bid | 336213 | 334202 | 749 | 9.163 | 25.1024 | 0.0 |
| 71 | obl | bid | 337009 | 334100 | 750 | 41.2394 | 30.2814 | 750.0 |
| 72 | obl | bid | 335618 | 335598 | 287 | 8.9855 | 29.8754 | 0.0 |
| 73 | obl | bid | 336462 | 336464 | 640 | 39.7857 | 34.3583 | 640.0 |
| 74 | obl | bid | 335825 | 335830 | 1194 | 8.3939 | 24.1947 | 0.0 |
| 75 | FGR | offer | 337910 | 337909 | 945 | 46.1095 | 0.0000 | 0.0 |
| 76 | FGR | bid | 335831 | 335830 | 1151 | 14.2491 | 7.1683 | 1151.0 |
| 77 | FGR | bid | 336821 | 336820 | 1650 | 5.8127 | 2.8882 | 1650.0 |
| 78 | FGR | bid | 337653 | 337651 | 910 | 8.8096 | 4.4139 | 910.0 |
| 79 | FGR | bid | 338146 | 338145 | 910 | 28.8825 | 14.4572 | 910.0 |
| 80 | FGR | bid | 337911 | 337909 | 1130 | 21.0309 | 10.5967 | 1130.0 |
| 81 | FGR | bid | 335830 | 335825 | 1194 | 14.3413 | 4.8317 | 1194.0 |
| 82 | FGR | bid | 337652 | 337651 | 910 | 40.6956 | 20.2751 | 910.0 |
| 83 | FGR | bid | 335837 | 335771 | 1200 | 27.1895 | 0.0000 | 1200.0 |
| 84 | FGR | bid | 337005 | 337009 | 806 | 25.2348 | 25.2348 | 706.0 |
| 85 | FGR | bid | 360594 | 337162 | 1172 | 45.4457 | 45.4457 | 1155.6 |
| 86 | FGR | bid | 338388 | 338188 | 1025 | 10.7211 | 5.3833 | 1025.0 |
| 87 | FGR | offer | 337651 | 337650 | 840 | 36.646 | 0.0000 | 0.0 |
| 88 | FGR | offer | 303021 | 334325 | 1215 | 36.4551 | 0.0000 | 0.0 |
| 89 | FGR | offer | 336130 | 336131 | 1200 | 15.9245 | 0.0000 | 0.0 |
| 90 | FGR | bid | 337909 | 337922 | 1732 | 26.2302 | 0.0000 | 1732.0 |
| 91 | FGR | bid | 336154 | 336250 | 1038 | -0.828 | 0.0000 | 0.0 |
| 92 | FGR | bid | 338188 | 360021 | 2546 | -2.0327 | 0.0000 | 0.0 |
| 93 | FGR | bid | 336562 | 336130 | 1270 | 24.1939 | 0.0000 | 1270.0 |
| 94 | FGR | bid | 388700 | 335836 | 1800 | 37.8542 | 37.8542 | 1663.7 |
| 95 | FGR | bid | 336190 | 336210 | 1038 | 46.3706 | 4.1415 | 1038.0 |
| 96 | FGR | bid | 303005 | 335835 | 2048 | 2.1448 | 0.0000 | 2048.0 |
| 97 | FGR | offer | 336166 | 336158 | 917 | 26.2853 | 0.0000 | 0.0 |
| 98 | FGR | bid | 336166 | 336157 | 917 | 20.8165 | 20.8165 | 776.0 |
| 99 | FGR | bid | 335836 | 335837 | 2598 | -4.3454 | 0.0000 | 0.0 |
| 100 | FGR | bid | 337957 | 338162 | 1732 | 13.5417 | 13.5417 | 1585.8 |

# Appendix C: Case 3 – PTDF estimation results

| Table C.1: PTDF estimation results |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Line From Number | Line To Number | From Inj. Bus | To Inj. Bus | Estimated value | True value | Feasibility flag (feasible=1) |
| 337686 | 337690 | 337692 | 336154 | -0.8 | -1 | -2 |
| 337686 | 337690 | 337692 | 336154 | -0.82 | -1 | -2 |
| 337686 | 337690 | 337692 | 336154 | -0.84 | -1 | -2 |
| 337686 | 337690 | 337692 | 336154 | -0.86 | -1 | -2 |
| 337686 | 337690 | 337692 | 336154 | -0.88 | -1 | -2 |
| 337686 | 337690 | 337692 | 336154 | -0.9 | -1 | -2 |
| 337686 | 337690 | 337692 | 336154 | -0.92 | -1 | -2 |
| 337686 | 337690 | 337692 | 336154 | -0.94 | -1 | -2 |
| 337686 | 337690 | 337692 | 336154 | -0.96 | -1 | -2 |
| 337686 | 337690 | 337692 | 336154 | -0.98 | -1 | -2 |
| 337686 | 337690 | 337692 | 336154 | -1 | -1 | 1 |
| 337686 | 337690 | 337692 | 336154 | -1 | -1 | 1 |
| 337686 | 337690 | 337692 | 336154 | -1 | -1 | 1 |
| 337686 | 337690 | 337692 | 336154 | -1 | -1 | 1 |
| 337686 | 337690 | 337692 | 336154 | -1 | -1 | 1 |
| 337686 | 337690 | 337692 | 336154 | -1 | -1 | 1 |
| 337686 | 337690 | 337692 | 336154 | -1 | -1 | 1 |
| 337686 | 337690 | 337692 | 336154 | -1 | -1 | 1 |
| 337686 | 337690 | 337692 | 336154 | -1 | -1 | 1 |
| 337686 | 337690 | 337692 | 336154 | -1 | -1 | 1 |
| 337686 | 337690 | 337692 | 336154 | -1 | -1 | 1 |
| 337957 | 338162 | 337692 | 336154 | 0.098416 | 0.12302 | -2 |
| 337957 | 338162 | 337692 | 336154 | 0.100876 | 0.12302 | -2 |
| 337957 | 338162 | 337692 | 336154 | 0.103337 | 0.12302 | -2 |
| 337957 | 338162 | 337692 | 336154 | 0.105797 | 0.12302 | -2 |
| 337957 | 338162 | 337692 | 336154 | 0.108257 | 0.12302 | -2 |
| 337957 | 338162 | 337692 | 336154 | 0.110718 | 0.12302 | -2 |
| 337957 | 338162 | 337692 | 336154 | 0.113178 | 0.12302 | -2 |
| 337957 | 338162 | 337692 | 336154 | 0.115639 | 0.12302 | -2 |
| 337957 | 338162 | 337692 | 336154 | 0.118099 | 0.12302 | -2 |
| 337957 | 338162 | 337692 | 336154 | 0.120559 | 0.12302 | -2 |
| 337957 | 338162 | 337692 | 336154 | 0.12302 | 0.12302 | 1 |
| 337957 | 338162 | 337692 | 336154 | 0.12548 | 0.12302 | 1 |
| 337957 | 338162 | 337692 | 336154 | 0.127941 | 0.12302 | 1 |
| 337957 | 338162 | 337692 | 336154 | 0.130401 | 0.12302 | 1 |
| 337957 | 338162 | 337692 | 336154 | 0.132861 | 0.12302 | 1 |
| 337957 | 338162 | 337692 | 336154 | 0.135322 | 0.12302 | 1 |
| 337957 | 338162 | 337692 | 336154 | 0.137782 | 0.12302 | 1 |
| 337957 | 338162 | 337692 | 336154 | 0.140243 | 0.12302 | 1 |
| 337957 | 338162 | 337692 | 336154 | 0.142703 | 0.12302 | 1 |
| 337957 | 338162 | 337692 | 336154 | 0.145163 | 0.12302 | 1 |
| 337957 | 338162 | 337692 | 336154 | 0.147624 | 0.12302 | 1 |
| 334433 | 334430 | 334433 | 336154 | 0.8 | 1 | -2 |
| 334433 | 334430 | 334433 | 336154 | 0.82 | 1 | -2 |
| 334433 | 334430 | 334433 | 336154 | 0.84 | 1 | -2 |
| 334433 | 334430 | 334433 | 336154 | 0.86 | 1 | -2 |
| 334433 | 334430 | 334433 | 336154 | 0.88 | 1 | -2 |
| 334433 | 334430 | 334433 | 336154 | 0.9 | 1 | -2 |
| 334433 | 334430 | 334433 | 336154 | 0.92 | 1 | -2 |
| 334433 | 334430 | 334433 | 336154 | 0.94 | 1 | -2 |
| 334433 | 334430 | 334433 | 336154 | 0.96 | 1 | -2 |
| 334433 | 334430 | 334433 | 336154 | 0.98 | 1 | -2 |
| 334433 | 334430 | 334433 | 336154 | 1 | 1 | 1 |
| 334433 | 334430 | 334433 | 336154 | 1 | 1 | 1 |
| 334433 | 334430 | 334433 | 336154 | 1 | 1 | 1 |
| 334433 | 334430 | 334433 | 336154 | 1 | 1 | 1 |
| 334433 | 334430 | 334433 | 336154 | 1 | 1 | 1 |
| 334433 | 334430 | 334433 | 336154 | 1 | 1 | 1 |
| 334433 | 334430 | 334433 | 336154 | 1 | 1 | 1 |
| 334433 | 334430 | 334433 | 336154 | 1 | 1 | 1 |
| 334433 | 334430 | 334433 | 336154 | 1 | 1 | 1 |
| 334433 | 334430 | 334433 | 336154 | 1 | 1 | 1 |
| 334433 | 334430 | 334433 | 336154 | 1 | 1 | 1 |
| 337957 | 338162 | 337765 | 336220 | 0.105076 | 0.131345 | -2 |
| 337957 | 338162 | 337765 | 336220 | 0.107703 | 0.131345 | -2 |
| 337957 | 338162 | 337765 | 336220 | 0.11033 | 0.131345 | -2 |
| 337957 | 338162 | 337765 | 336220 | 0.112957 | 0.131345 | -2 |
| 337957 | 338162 | 337765 | 336220 | 0.115584 | 0.131345 | -2 |
| 337957 | 338162 | 337765 | 336220 | 0.118211 | 0.131345 | -2 |
| 337957 | 338162 | 337765 | 336220 | 0.120838 | 0.131345 | -2 |
| 337957 | 338162 | 337765 | 336220 | 0.123465 | 0.131345 | -2 |
| 337957 | 338162 | 337765 | 336220 | 0.126092 | 0.131345 | -2 |
| 337957 | 338162 | 337765 | 336220 | 0.128718 | 0.131345 | -2 |
| 337957 | 338162 | 337765 | 336220 | 0.131345 | 0.131345 | 1 |
| 337957 | 338162 | 337765 | 336220 | 0.133972 | 0.131345 | -2 |
| 337957 | 338162 | 337765 | 336220 | 0.136599 | 0.131345 | -2 |
| 337957 | 338162 | 337765 | 336220 | 0.139226 | 0.131345 | -2 |
| 337957 | 338162 | 337765 | 336220 | 0.141853 | 0.131345 | -2 |
| 337957 | 338162 | 337765 | 336220 | 0.14448 | 0.131345 | -2 |
| 337957 | 338162 | 337765 | 336220 | 0.147107 | 0.131345 | -2 |
| 337957 | 338162 | 337765 | 336220 | 0.149734 | 0.131345 | -2 |
| 337957 | 338162 | 337765 | 336220 | 0.152361 | 0.131345 | -2 |
| 337957 | 338162 | 337765 | 336220 | 0.154987 | 0.131345 | -2 |
| 337957 | 338162 | 337765 | 336220 | 0.157614 | 0.131345 | -2 |
| 337764 | 337763 | 337764 | 337686 | 0.8 | 1 | -2 |
| 337764 | 337763 | 337764 | 337686 | 0.82 | 1 | -2 |
| 337764 | 337763 | 337764 | 337686 | 0.84 | 1 | -2 |
| 337764 | 337763 | 337764 | 337686 | 0.86 | 1 | -2 |
| 337764 | 337763 | 337764 | 337686 | 0.88 | 1 | -2 |
| 337764 | 337763 | 337764 | 337686 | 0.9 | 1 | -2 |
| 337764 | 337763 | 337764 | 337686 | 0.92 | 1 | -2 |
| 337764 | 337763 | 337764 | 337686 | 0.94 | 1 | -2 |
| 337764 | 337763 | 337764 | 337686 | 0.96 | 1 | -2 |
| 337764 | 337763 | 337764 | 337686 | 0.98 | 1 | -2 |
| 337764 | 337763 | 337764 | 337686 | 1 | 1 | 1 |
| 337764 | 337763 | 337764 | 337686 | 1 | 1 | 1 |
| 337764 | 337763 | 337764 | 337686 | 1 | 1 | 1 |
| 337764 | 337763 | 337764 | 337686 | 1 | 1 | 1 |
| 337764 | 337763 | 337764 | 337686 | 1 | 1 | 1 |
| 337764 | 337763 | 337764 | 337686 | 1 | 1 | 1 |
| 337764 | 337763 | 337764 | 337686 | 1 | 1 | 1 |
| 337764 | 337763 | 337764 | 337686 | 1 | 1 | 1 |
| 337764 | 337763 | 337764 | 337686 | 1 | 1 | 1 |
| 337764 | 337763 | 337764 | 337686 | 1 | 1 | 1 |
| 337764 | 337763 | 337764 | 337686 | 1 | 1 | 1 |
| 336190 | 336210 | 334432 | 336462 | 0.114817 | 0.143521 | -2 |
| 336190 | 336210 | 334432 | 336462 | 0.117687 | 0.143521 | -2 |
| 336190 | 336210 | 334432 | 336462 | 0.120558 | 0.143521 | -2 |
| 336190 | 336210 | 334432 | 336462 | 0.123428 | 0.143521 | -2 |
| 336190 | 336210 | 334432 | 336462 | 0.126299 | 0.143521 | -2 |
| 336190 | 336210 | 334432 | 336462 | 0.129169 | 0.143521 | -2 |
| 336190 | 336210 | 334432 | 336462 | 0.132039 | 0.143521 | -2 |
| 336190 | 336210 | 334432 | 336462 | 0.13491 | 0.143521 | -2 |
| 336190 | 336210 | 334432 | 336462 | 0.13778 | 0.143521 | -2 |
| 336190 | 336210 | 334432 | 336462 | 0.140651 | 0.143521 | -2 |
| 336190 | 336210 | 334432 | 336462 | 0.143521 | 0.143521 | 1 |
| 336190 | 336210 | 334432 | 336462 | 0.146391 | 0.143521 | -2 |
| 336190 | 336210 | 334432 | 336462 | 0.149262 | 0.143521 | -2 |
| 336190 | 336210 | 334432 | 336462 | 0.152132 | 0.143521 | -2 |
| 336190 | 336210 | 334432 | 336462 | 0.155003 | 0.143521 | -2 |
| 336190 | 336210 | 334432 | 336462 | 0.157873 | 0.143521 | -2 |
| 336190 | 336210 | 334432 | 336462 | 0.160744 | 0.143521 | -2 |
| 336190 | 336210 | 334432 | 336462 | 0.163614 | 0.143521 | -2 |
| 336190 | 336210 | 334432 | 336462 | 0.166484 | 0.143521 | -2 |
| 336190 | 336210 | 334432 | 336462 | 0.169355 | 0.143521 | -2 |
| 336190 | 336210 | 334432 | 336462 | 0.172225 | 0.143521 | -2 |
| 336190 | 336210 | 337930 | 336444 | 0.112491 | 0.140614 | -2 |
| 336190 | 336210 | 337930 | 336444 | 0.115304 | 0.140614 | -2 |
| 336190 | 336210 | 337930 | 336444 | 0.118116 | 0.140614 | -2 |
| 336190 | 336210 | 337930 | 336444 | 0.120928 | 0.140614 | -2 |
| 336190 | 336210 | 337930 | 336444 | 0.12374 | 0.140614 | -2 |
| 336190 | 336210 | 337930 | 336444 | 0.126553 | 0.140614 | -2 |
| 336190 | 336210 | 337930 | 336444 | 0.129365 | 0.140614 | -2 |
| 336190 | 336210 | 337930 | 336444 | 0.132177 | 0.140614 | -2 |
| 336190 | 336210 | 337930 | 336444 | 0.13499 | 0.140614 | -2 |
| 336190 | 336210 | 337930 | 336444 | 0.137802 | 0.140614 | -2 |
| 336190 | 336210 | 337930 | 336444 | 0.140614 | 0.140614 | 1 |
| 336190 | 336210 | 337930 | 336444 | 0.143426 | 0.140614 | -2 |
| 336190 | 336210 | 337930 | 336444 | 0.146239 | 0.140614 | -2 |
| 336190 | 336210 | 337930 | 336444 | 0.149051 | 0.140614 | -2 |
| 336190 | 336210 | 337930 | 336444 | 0.151863 | 0.140614 | -2 |
| 336190 | 336210 | 337930 | 336444 | 0.154676 | 0.140614 | -2 |
| 336190 | 336210 | 337930 | 336444 | 0.157488 | 0.140614 | -2 |
| 336190 | 336210 | 337930 | 336444 | 0.1603 | 0.140614 | -2 |
| 336190 | 336210 | 337930 | 336444 | 0.163112 | 0.140614 | -2 |
| 336190 | 336210 | 337930 | 336444 | 0.165925 | 0.140614 | -2 |
| 336190 | 336210 | 337930 | 336444 | 0.168737 | 0.140614 | -2 |
| 337957 | 338162 | 337930 | 336444 | 0.108578 | 0.135723 | -2 |
| 337957 | 338162 | 337930 | 336444 | 0.111293 | 0.135723 | -2 |
| 337957 | 338162 | 337930 | 336444 | 0.114007 | 0.135723 | -2 |
| 337957 | 338162 | 337930 | 336444 | 0.116722 | 0.135723 | -2 |
| 337957 | 338162 | 337930 | 336444 | 0.119436 | 0.135723 | -2 |
| 337957 | 338162 | 337930 | 336444 | 0.122151 | 0.135723 | -2 |
| 337957 | 338162 | 337930 | 336444 | 0.124865 | 0.135723 | -2 |
| 337957 | 338162 | 337930 | 336444 | 0.12758 | 0.135723 | -2 |
| 337957 | 338162 | 337930 | 336444 | 0.130294 | 0.135723 | -2 |
| 337957 | 338162 | 337930 | 336444 | 0.133008 | 0.135723 | -2 |
| 337957 | 338162 | 337930 | 336444 | 0.135723 | 0.135723 | 1 |
| 337957 | 338162 | 337930 | 336444 | 0.138437 | 0.135723 | -2 |
| 337957 | 338162 | 337930 | 336444 | 0.141152 | 0.135723 | -2 |
| 337957 | 338162 | 337930 | 336444 | 0.143866 | 0.135723 | -2 |
| 337957 | 338162 | 337930 | 336444 | 0.146581 | 0.135723 | -2 |
| 337957 | 338162 | 337930 | 336444 | 0.149295 | 0.135723 | -2 |
| 337957 | 338162 | 337930 | 336444 | 0.15201 | 0.135723 | -2 |
| 337957 | 338162 | 337930 | 336444 | 0.154724 | 0.135723 | -2 |
| 337957 | 338162 | 337930 | 336444 | 0.157439 | 0.135723 | -2 |
| 337957 | 338162 | 337930 | 336444 | 0.160153 | 0.135723 | -2 |
| 337957 | 338162 | 337930 | 336444 | 0.162867 | 0.135723 | -2 |
| 337957 | 338162 | 337766 | 338142 | 0.127558 | 0.159447 | -2 |
| 337957 | 338162 | 337766 | 338142 | 0.130747 | 0.159447 | -2 |
| 337957 | 338162 | 337766 | 338142 | 0.133936 | 0.159447 | -2 |
| 337957 | 338162 | 337766 | 338142 | 0.137125 | 0.159447 | -2 |
| 337957 | 338162 | 337766 | 338142 | 0.140314 | 0.159447 | -2 |
| 337957 | 338162 | 337766 | 338142 | 0.143503 | 0.159447 | -2 |
| 337957 | 338162 | 337766 | 338142 | 0.146692 | 0.159447 | -2 |
| 337957 | 338162 | 337766 | 338142 | 0.149881 | 0.159447 | -2 |
| 337957 | 338162 | 337766 | 338142 | 0.15307 | 0.159447 | -2 |
| 337957 | 338162 | 337766 | 338142 | 0.156258 | 0.159447 | -2 |
| 337957 | 338162 | 337766 | 338142 | 0.159447 | 0.159447 | 1 |
| 337957 | 338162 | 337766 | 338142 | 0.162636 | 0.159447 | -2 |
| 337957 | 338162 | 337766 | 338142 | 0.165825 | 0.159447 | -2 |
| 337957 | 338162 | 337766 | 338142 | 0.169014 | 0.159447 | -2 |
| 337957 | 338162 | 337766 | 338142 | 0.172203 | 0.159447 | -2 |
| 337957 | 338162 | 337766 | 338142 | 0.175392 | 0.159447 | -2 |
| 337957 | 338162 | 337766 | 338142 | 0.178581 | 0.159447 | -2 |
| 337957 | 338162 | 337766 | 338142 | 0.18177 | 0.159447 | -2 |
| 337957 | 338162 | 337766 | 338142 | 0.184959 | 0.159447 | -2 |
| 337957 | 338162 | 337766 | 338142 | 0.188148 | 0.159447 | -2 |
| 337957 | 338162 | 337766 | 338142 | 0.191337 | 0.159447 | -2 |
| 336157 | 336166 | 336170 | 334412 | -0.4 | -0.5 | -2 |
| 336157 | 336166 | 336170 | 334412 | -0.41 | -0.5 | -2 |
| 336157 | 336166 | 336170 | 334412 | -0.42 | -0.5 | -2 |
| 336157 | 336166 | 336170 | 334412 | -0.43 | -0.5 | -2 |
| 336157 | 336166 | 336170 | 334412 | -0.44 | -0.5 | -2 |
| 336157 | 336166 | 336170 | 334412 | -0.45 | -0.5 | -2 |
| 336157 | 336166 | 336170 | 334412 | -0.46 | -0.5 | -2 |
| 336157 | 336166 | 336170 | 334412 | -0.47 | -0.5 | -2 |
| 336157 | 336166 | 336170 | 334412 | -0.48 | -0.5 | -2 |
| 336157 | 336166 | 336170 | 334412 | -0.49 | -0.5 | -2 |
| 336157 | 336166 | 336170 | 334412 | -0.5 | -0.5 | 1 |
| 336157 | 336166 | 336170 | 334412 | -0.51 | -0.5 | -2 |
| 336157 | 336166 | 336170 | 334412 | -0.52 | -0.5 | -2 |
| 336157 | 336166 | 336170 | 334412 | -0.53 | -0.5 | -2 |
| 336157 | 336166 | 336170 | 334412 | -0.54 | -0.5 | -2 |
| 336157 | 336166 | 336170 | 334412 | -0.55 | -0.5 | -2 |
| 336157 | 336166 | 336170 | 334412 | -0.56 | -0.5 | -2 |
| 336157 | 336166 | 336170 | 334412 | -0.57 | -0.5 | -2 |
| 336157 | 336166 | 336170 | 334412 | -0.58 | -0.5 | -2 |
| 336157 | 336166 | 336170 | 334412 | -0.59 | -0.5 | -2 |
| 336157 | 336166 | 336170 | 334412 | -0.6 | -0.5 | -2 |
| 337957 | 338162 | 337815 | 303000 | 0.107359 | 0.134199 | -2 |
| 337957 | 338162 | 337815 | 303000 | 0.110043 | 0.134199 | -2 |
| 337957 | 338162 | 337815 | 303000 | 0.112727 | 0.134199 | -2 |
| 337957 | 338162 | 337815 | 303000 | 0.115411 | 0.134199 | -2 |
| 337957 | 338162 | 337815 | 303000 | 0.118095 | 0.134199 | -2 |
| 337957 | 338162 | 337815 | 303000 | 0.120779 | 0.134199 | -2 |
| 337957 | 338162 | 337815 | 303000 | 0.123463 | 0.134199 | -2 |
| 337957 | 338162 | 337815 | 303000 | 0.126147 | 0.134199 | -2 |
| 337957 | 338162 | 337815 | 303000 | 0.128831 | 0.134199 | -2 |
| 337957 | 338162 | 337815 | 303000 | 0.131515 | 0.134199 | -2 |
| 337957 | 338162 | 337815 | 303000 | 0.134199 | 0.134199 | 1 |
| 337957 | 338162 | 337815 | 303000 | 0.136883 | 0.134199 | -2 |
| 337957 | 338162 | 337815 | 303000 | 0.139567 | 0.134199 | -2 |
| 337957 | 338162 | 337815 | 303000 | 0.142251 | 0.134199 | -2 |
| 337957 | 338162 | 337815 | 303000 | 0.144935 | 0.134199 | -2 |
| 337957 | 338162 | 337815 | 303000 | 0.147619 | 0.134199 | -2 |
| 337957 | 338162 | 337815 | 303000 | 0.150303 | 0.134199 | -2 |
| 337957 | 338162 | 337815 | 303000 | 0.152987 | 0.134199 | -2 |
| 337957 | 338162 | 337815 | 303000 | 0.155671 | 0.134199 | -2 |
| 337957 | 338162 | 337815 | 303000 | 0.158355 | 0.134199 | -2 |
| 337957 | 338162 | 337815 | 303000 | 0.161039 | 0.134199 | -2 |
| 337162 | 360594 | 337180 | 334398 | 0.296977 | 0.371221 | -2 |
| 337162 | 360594 | 337180 | 334398 | 0.304401 | 0.371221 | -2 |
| 337162 | 360594 | 337180 | 334398 | 0.311826 | 0.371221 | -2 |
| 337162 | 360594 | 337180 | 334398 | 0.31925 | 0.371221 | -2 |
| 337162 | 360594 | 337180 | 334398 | 0.326675 | 0.371221 | -2 |
| 337162 | 360594 | 337180 | 334398 | 0.334099 | 0.371221 | -2 |
| 337162 | 360594 | 337180 | 334398 | 0.341523 | 0.371221 | -2 |
| 337162 | 360594 | 337180 | 334398 | 0.348948 | 0.371221 | -2 |
| 337162 | 360594 | 337180 | 334398 | 0.356372 | 0.371221 | -2 |
| 337162 | 360594 | 337180 | 334398 | 0.363797 | 0.371221 | -2 |
| 337162 | 360594 | 337180 | 334398 | 0.371221 | 0.371221 | 1 |
| 337162 | 360594 | 337180 | 334398 | 0.378645 | 0.371221 | -2 |
| 337162 | 360594 | 337180 | 334398 | 0.38607 | 0.371221 | -2 |
| 337162 | 360594 | 337180 | 334398 | 0.393494 | 0.371221 | -2 |
| 337162 | 360594 | 337180 | 334398 | 0.400919 | 0.371221 | -2 |
| 337162 | 360594 | 337180 | 334398 | 0.408343 | 0.371221 | -2 |
| 337162 | 360594 | 337180 | 334398 | 0.415768 | 0.371221 | -2 |
| 337162 | 360594 | 337180 | 334398 | 0.423192 | 0.371221 | -2 |
| 337162 | 360594 | 337180 | 334398 | 0.430616 | 0.371221 | -2 |
| 337162 | 360594 | 337180 | 334398 | 0.438041 | 0.371221 | -2 |
| 337162 | 360594 | 337180 | 334398 | 0.445465 | 0.371221 | -2 |
| 337957 | 338162 | 337180 | 334398 | -0.23605 | -0.29506 | -2 |
| 337957 | 338162 | 337180 | 334398 | -0.24195 | -0.29506 | -2 |
| 337957 | 338162 | 337180 | 334398 | -0.24785 | -0.29506 | -2 |
| 337957 | 338162 | 337180 | 334398 | -0.25375 | -0.29506 | -2 |
| 337957 | 338162 | 337180 | 334398 | -0.25966 | -0.29506 | -2 |
| 337957 | 338162 | 337180 | 334398 | -0.26556 | -0.29506 | -2 |
| 337957 | 338162 | 337180 | 334398 | -0.27146 | -0.29506 | -2 |
| 337957 | 338162 | 337180 | 334398 | -0.27736 | -0.29506 | -2 |
| 337957 | 338162 | 337180 | 334398 | -0.28326 | -0.29506 | -2 |
| 337957 | 338162 | 337180 | 334398 | -0.28916 | -0.29506 | -2 |
| 337957 | 338162 | 337180 | 334398 | -0.29506 | -0.29506 | 1 |
| 337957 | 338162 | 337180 | 334398 | -0.30096 | -0.29506 | -2 |
| 337957 | 338162 | 337180 | 334398 | -0.30687 | -0.29506 | -2 |
| 337957 | 338162 | 337180 | 334398 | -0.31277 | -0.29506 | -2 |
| 337957 | 338162 | 337180 | 334398 | -0.31867 | -0.29506 | -2 |
| 337957 | 338162 | 337180 | 334398 | -0.32457 | -0.29506 | -2 |
| 337957 | 338162 | 337180 | 334398 | -0.33047 | -0.29506 | -2 |
| 337957 | 338162 | 337180 | 334398 | -0.33637 | -0.29506 | -2 |
| 337957 | 338162 | 337180 | 334398 | -0.34227 | -0.29506 | -2 |
| 337957 | 338162 | 337180 | 334398 | -0.34817 | -0.29506 | -2 |
| 337957 | 338162 | 337180 | 334398 | -0.35408 | -0.29506 | -2 |
| 335600 | 335601 | 337808 | 335599 | -0.57004 | -0.71255 | -2 |
| 335600 | 335601 | 337808 | 335599 | -0.58429 | -0.71255 | -2 |
| 335600 | 335601 | 337808 | 335599 | -0.59854 | -0.71255 | -2 |
| 335600 | 335601 | 337808 | 335599 | -0.6128 | -0.71255 | -2 |
| 335600 | 335601 | 337808 | 335599 | -0.62705 | -0.71255 | -2 |
| 335600 | 335601 | 337808 | 335599 | -0.6413 | -0.71255 | -2 |
| 335600 | 335601 | 337808 | 335599 | -0.65555 | -0.71255 | -2 |
| 335600 | 335601 | 337808 | 335599 | -0.6698 | -0.71255 | -2 |
| 335600 | 335601 | 337808 | 335599 | -0.68405 | -0.71255 | -2 |
| 335600 | 335601 | 337808 | 335599 | -0.6983 | -0.71255 | -2 |
| 335600 | 335601 | 337808 | 335599 | -0.71255 | -0.71255 | 1 |
| 335600 | 335601 | 337808 | 335599 | -0.7268 | -0.71255 | -2 |
| 335600 | 335601 | 337808 | 335599 | -0.74105 | -0.71255 | -2 |
| 335600 | 335601 | 337808 | 335599 | -0.75531 | -0.71255 | -2 |
| 335600 | 335601 | 337808 | 335599 | -0.76956 | -0.71255 | -2 |
| 335600 | 335601 | 337808 | 335599 | -0.78381 | -0.71255 | -2 |
| 335600 | 335601 | 337808 | 335599 | -0.79806 | -0.71255 | -2 |
| 335600 | 335601 | 337808 | 335599 | -0.81231 | -0.71255 | -2 |
| 335600 | 335601 | 337808 | 335599 | -0.82656 | -0.71255 | -2 |
| 335600 | 335601 | 337808 | 335599 | -0.84081 | -0.71255 | -2 |
| 335600 | 335601 | 337808 | 335599 | -0.85506 | -0.71255 | -2 |
| 337957 | 338162 | 337808 | 335599 | 0.11667 | 0.145837 | -2 |
| 337957 | 338162 | 337808 | 335599 | 0.119587 | 0.145837 | -2 |
| 337957 | 338162 | 337808 | 335599 | 0.122503 | 0.145837 | -2 |
| 337957 | 338162 | 337808 | 335599 | 0.12542 | 0.145837 | -2 |
| 337957 | 338162 | 337808 | 335599 | 0.128337 | 0.145837 | -2 |
| 337957 | 338162 | 337808 | 335599 | 0.131253 | 0.145837 | -2 |
| 337957 | 338162 | 337808 | 335599 | 0.13417 | 0.145837 | -2 |
| 337957 | 338162 | 337808 | 335599 | 0.137087 | 0.145837 | -2 |
| 337957 | 338162 | 337808 | 335599 | 0.140004 | 0.145837 | -2 |
| 337957 | 338162 | 337808 | 335599 | 0.14292 | 0.145837 | -2 |
| 337957 | 338162 | 337808 | 335599 | 0.145837 | 0.145837 | 1 |
| 337957 | 338162 | 337808 | 335599 | 0.148754 | 0.145837 | -2 |
| 337957 | 338162 | 337808 | 335599 | 0.151671 | 0.145837 | -2 |
| 337957 | 338162 | 337808 | 335599 | 0.154587 | 0.145837 | -2 |
| 337957 | 338162 | 337808 | 335599 | 0.157504 | 0.145837 | -2 |
| 337957 | 338162 | 337808 | 335599 | 0.160421 | 0.145837 | -2 |
| 337957 | 338162 | 337808 | 335599 | 0.163338 | 0.145837 | -2 |
| 337957 | 338162 | 337808 | 335599 | 0.166254 | 0.145837 | -2 |
| 337957 | 338162 | 337808 | 335599 | 0.169171 | 0.145837 | -2 |
| 337957 | 338162 | 337808 | 335599 | 0.172088 | 0.145837 | -2 |
| 337957 | 338162 | 337808 | 335599 | 0.175005 | 0.145837 | -2 |
| 337957 | 338162 | 337808 | 337343 | 0.081812 | 0.102265 | -2 |
| 337957 | 338162 | 337808 | 337343 | 0.083857 | 0.102265 | -2 |
| 337957 | 338162 | 337808 | 337343 | 0.085903 | 0.102265 | -2 |
| 337957 | 338162 | 337808 | 337343 | 0.087948 | 0.102265 | -2 |
| 337957 | 338162 | 337808 | 337343 | 0.089993 | 0.102265 | -2 |
| 337957 | 338162 | 337808 | 337343 | 0.092039 | 0.102265 | -2 |
| 337957 | 338162 | 337808 | 337343 | 0.094084 | 0.102265 | -2 |
| 337957 | 338162 | 337808 | 337343 | 0.096129 | 0.102265 | -2 |
| 337957 | 338162 | 337808 | 337343 | 0.098175 | 0.102265 | -2 |
| 337957 | 338162 | 337808 | 337343 | 0.10022 | 0.102265 | -2 |
| 337957 | 338162 | 337808 | 337343 | 0.102265 | 0.102265 | 1 |
| 337957 | 338162 | 337808 | 337343 | 0.10431 | 0.102265 | -2 |
| 337957 | 338162 | 337808 | 337343 | 0.106356 | 0.102265 | -2 |
| 337957 | 338162 | 337808 | 337343 | 0.108401 | 0.102265 | -2 |
| 337957 | 338162 | 337808 | 337343 | 0.110446 | 0.102265 | -2 |
| 337957 | 338162 | 337808 | 337343 | 0.112492 | 0.102265 | -2 |
| 337957 | 338162 | 337808 | 337343 | 0.114537 | 0.102265 | -2 |
| 337957 | 338162 | 337808 | 337343 | 0.116582 | 0.102265 | -2 |
| 337957 | 338162 | 337808 | 337343 | 0.118628 | 0.102265 | -2 |
| 337957 | 338162 | 337808 | 337343 | 0.120673 | 0.102265 | -2 |
| 337957 | 338162 | 337808 | 337343 | 0.122718 | 0.102265 | -2 |
| 337162 | 360594 | 303000 | 337161 | -0.24349 | -0.30436 | -2 |
| 337162 | 360594 | 303000 | 337161 | -0.24958 | -0.30436 | -2 |
| 337162 | 360594 | 303000 | 337161 | -0.25567 | -0.30436 | -2 |
| 337162 | 360594 | 303000 | 337161 | -0.26175 | -0.30436 | -2 |
| 337162 | 360594 | 303000 | 337161 | -0.26784 | -0.30436 | -2 |
| 337162 | 360594 | 303000 | 337161 | -0.27393 | -0.30436 | -2 |
| 337162 | 360594 | 303000 | 337161 | -0.28002 | -0.30436 | -2 |
| 337162 | 360594 | 303000 | 337161 | -0.2861 | -0.30436 | -2 |
| 337162 | 360594 | 303000 | 337161 | -0.29219 | -0.30436 | -2 |
| 337162 | 360594 | 303000 | 337161 | -0.29828 | -0.30436 | -2 |
| 337162 | 360594 | 303000 | 337161 | -0.30436 | -0.30436 | 1 |
| 337162 | 360594 | 303000 | 337161 | -0.31045 | -0.30436 | -2 |
| 337162 | 360594 | 303000 | 337161 | -0.31654 | -0.30436 | -2 |
| 337162 | 360594 | 303000 | 337161 | -0.32263 | -0.30436 | -2 |
| 337162 | 360594 | 303000 | 337161 | -0.32871 | -0.30436 | -2 |
| 337162 | 360594 | 303000 | 337161 | -0.3348 | -0.30436 | -2 |
| 337162 | 360594 | 303000 | 337161 | -0.34089 | -0.30436 | -2 |
| 337162 | 360594 | 303000 | 337161 | -0.34698 | -0.30436 | -2 |
| 337162 | 360594 | 303000 | 337161 | -0.35306 | -0.30436 | -2 |
| 337162 | 360594 | 303000 | 337161 | -0.35915 | -0.30436 | -2 |
| 337162 | 360594 | 303000 | 337161 | -0.36524 | -0.30436 | -2 |
| 335836 | 388700 | 303000 | 337161 | 0.090462 | 0.113077 | -2 |
| 335836 | 388700 | 303000 | 337161 | 0.092723 | 0.113077 | -2 |
| 335836 | 388700 | 303000 | 337161 | 0.094985 | 0.113077 | -2 |
| 335836 | 388700 | 303000 | 337161 | 0.097246 | 0.113077 | -2 |
| 335836 | 388700 | 303000 | 337161 | 0.099508 | 0.113077 | -2 |
| 335836 | 388700 | 303000 | 337161 | 0.101769 | 0.113077 | -2 |
| 335836 | 388700 | 303000 | 337161 | 0.104031 | 0.113077 | -2 |
| 335836 | 388700 | 303000 | 337161 | 0.106292 | 0.113077 | -2 |
| 335836 | 388700 | 303000 | 337161 | 0.108554 | 0.113077 | -2 |
| 335836 | 388700 | 303000 | 337161 | 0.110815 | 0.113077 | -2 |
| 335836 | 388700 | 303000 | 337161 | 0.113077 | 0.113077 | 1 |
| 335836 | 388700 | 303000 | 337161 | 0.115339 | 0.113077 | -2 |
| 335836 | 388700 | 303000 | 337161 | 0.1176 | 0.113077 | -2 |
| 335836 | 388700 | 303000 | 337161 | 0.119862 | 0.113077 | -2 |
| 335836 | 388700 | 303000 | 337161 | 0.122123 | 0.113077 | -2 |
| 335836 | 388700 | 303000 | 337161 | 0.124385 | 0.113077 | -2 |
| 335836 | 388700 | 303000 | 337161 | 0.126646 | 0.113077 | -2 |
| 335836 | 388700 | 303000 | 337161 | 0.128908 | 0.113077 | -2 |
| 335836 | 388700 | 303000 | 337161 | 0.131169 | 0.113077 | -2 |
| 335836 | 388700 | 303000 | 337161 | 0.133431 | 0.113077 | -2 |
| 335836 | 388700 | 303000 | 337161 | 0.135692 | 0.113077 | -2 |
| 337957 | 338162 | 303000 | 337161 | 0.176006 | 0.220007 | -2 |
| 337957 | 338162 | 303000 | 337161 | 0.180406 | 0.220007 | -2 |
| 337957 | 338162 | 303000 | 337161 | 0.184806 | 0.220007 | -2 |
| 337957 | 338162 | 303000 | 337161 | 0.189206 | 0.220007 | -2 |
| 337957 | 338162 | 303000 | 337161 | 0.193606 | 0.220007 | -2 |
| 337957 | 338162 | 303000 | 337161 | 0.198007 | 0.220007 | -2 |
| 337957 | 338162 | 303000 | 337161 | 0.202407 | 0.220007 | -2 |
| 337957 | 338162 | 303000 | 337161 | 0.206807 | 0.220007 | -2 |
| 337957 | 338162 | 303000 | 337161 | 0.211207 | 0.220007 | -2 |
| 337957 | 338162 | 303000 | 337161 | 0.215607 | 0.220007 | -2 |
| 337957 | 338162 | 303000 | 337161 | 0.220007 | 0.220007 | 1 |
| 337957 | 338162 | 303000 | 337161 | 0.224407 | 0.220007 | -2 |
| 337957 | 338162 | 303000 | 337161 | 0.228808 | 0.220007 | -2 |
| 337957 | 338162 | 303000 | 337161 | 0.233208 | 0.220007 | -2 |
| 337957 | 338162 | 303000 | 337161 | 0.237608 | 0.220007 | -2 |
| 337957 | 338162 | 303000 | 337161 | 0.242008 | 0.220007 | -2 |
| 337957 | 338162 | 303000 | 337161 | 0.246408 | 0.220007 | -2 |
| 337957 | 338162 | 303000 | 337161 | 0.250808 | 0.220007 | -2 |
| 337957 | 338162 | 303000 | 337161 | 0.255208 | 0.220007 | -2 |
| 337957 | 338162 | 303000 | 337161 | 0.259609 | 0.220007 | -2 |
| 337957 | 338162 | 303000 | 337161 | 0.264009 | 0.220007 | -2 |
| 337162 | 360594 | 337162 | 335805 | 0.306853 | 0.383566 | -2 |
| 337162 | 360594 | 337162 | 335805 | 0.314525 | 0.383566 | -2 |
| 337162 | 360594 | 337162 | 335805 | 0.322196 | 0.383566 | -2 |
| 337162 | 360594 | 337162 | 335805 | 0.329867 | 0.383566 | -2 |
| 337162 | 360594 | 337162 | 335805 | 0.337538 | 0.383566 | -2 |
| 337162 | 360594 | 337162 | 335805 | 0.34521 | 0.383566 | -2 |
| 337162 | 360594 | 337162 | 335805 | 0.352881 | 0.383566 | -2 |
| 337162 | 360594 | 337162 | 335805 | 0.360552 | 0.383566 | -2 |
| 337162 | 360594 | 337162 | 335805 | 0.368224 | 0.383566 | -2 |
| 337162 | 360594 | 337162 | 335805 | 0.375895 | 0.383566 | -2 |
| 337162 | 360594 | 337162 | 335805 | 0.383566 | 0.383566 | 1 |
| 337162 | 360594 | 337162 | 335805 | 0.391238 | 0.383566 | -2 |
| 337162 | 360594 | 337162 | 335805 | 0.398909 | 0.383566 | -2 |
| 337162 | 360594 | 337162 | 335805 | 0.40658 | 0.383566 | -2 |
| 337162 | 360594 | 337162 | 335805 | 0.414252 | 0.383566 | -2 |
| 337162 | 360594 | 337162 | 335805 | 0.421923 | 0.383566 | -2 |
| 337162 | 360594 | 337162 | 335805 | 0.429594 | 0.383566 | -2 |
| 337162 | 360594 | 337162 | 335805 | 0.437266 | 0.383566 | -2 |
| 337162 | 360594 | 337162 | 335805 | 0.444937 | 0.383566 | -2 |
| 337162 | 360594 | 337162 | 335805 | 0.452608 | 0.383566 | -2 |
| 337162 | 360594 | 337162 | 335805 | 0.46028 | 0.383566 | -2 |
| 335836 | 388700 | 337162 | 335805 | -0.09195 | -0.11494 | -2 |
| 335836 | 388700 | 337162 | 335805 | -0.09425 | -0.11494 | -2 |
| 335836 | 388700 | 337162 | 335805 | -0.09655 | -0.11494 | -2 |
| 335836 | 388700 | 337162 | 335805 | -0.09885 | -0.11494 | -2 |
| 335836 | 388700 | 337162 | 335805 | -0.10115 | -0.11494 | -2 |
| 335836 | 388700 | 337162 | 335805 | -0.10345 | -0.11494 | -2 |
| 335836 | 388700 | 337162 | 335805 | -0.10575 | -0.11494 | -2 |
| 335836 | 388700 | 337162 | 335805 | -0.10805 | -0.11494 | -2 |
| 335836 | 388700 | 337162 | 335805 | -0.11034 | -0.11494 | -2 |
| 335836 | 388700 | 337162 | 335805 | -0.11264 | -0.11494 | -2 |
| 335836 | 388700 | 337162 | 335805 | -0.11494 | -0.11494 | 1 |
| 335836 | 388700 | 337162 | 335805 | -0.11724 | -0.11494 | -2 |
| 335836 | 388700 | 337162 | 335805 | -0.11954 | -0.11494 | -2 |
| 335836 | 388700 | 337162 | 335805 | -0.12184 | -0.11494 | -2 |
| 335836 | 388700 | 337162 | 335805 | -0.12414 | -0.11494 | -2 |
| 335836 | 388700 | 337162 | 335805 | -0.12644 | -0.11494 | -2 |
| 335836 | 388700 | 337162 | 335805 | -0.12874 | -0.11494 | -2 |
| 335836 | 388700 | 337162 | 335805 | -0.13103 | -0.11494 | -2 |
| 335836 | 388700 | 337162 | 335805 | -0.13333 | -0.11494 | -2 |
| 335836 | 388700 | 337162 | 335805 | -0.13563 | -0.11494 | -2 |
| 335836 | 388700 | 337162 | 335805 | -0.13793 | -0.11494 | -2 |
| 337957 | 338162 | 337162 | 335805 | -0.2122 | -0.26525 | -2 |
| 337957 | 338162 | 337162 | 335805 | -0.21751 | -0.26525 | -2 |
| 337957 | 338162 | 337162 | 335805 | -0.22281 | -0.26525 | -2 |
| 337957 | 338162 | 337162 | 335805 | -0.22812 | -0.26525 | -2 |
| 337957 | 338162 | 337162 | 335805 | -0.23342 | -0.26525 | -2 |
| 337957 | 338162 | 337162 | 335805 | -0.23873 | -0.26525 | -2 |
| 337957 | 338162 | 337162 | 335805 | -0.24403 | -0.26525 | -2 |
| 337957 | 338162 | 337162 | 335805 | -0.24934 | -0.26525 | -2 |
| 337957 | 338162 | 337162 | 335805 | -0.25464 | -0.26525 | -2 |
| 337957 | 338162 | 337162 | 335805 | -0.25995 | -0.26525 | -2 |
| 337957 | 338162 | 337162 | 335805 | -0.26525 | -0.26525 | 1 |
| 337957 | 338162 | 337162 | 335805 | -0.27056 | -0.26525 | -2 |
| 337957 | 338162 | 337162 | 335805 | -0.27586 | -0.26525 | -2 |
| 337957 | 338162 | 337162 | 335805 | -0.28117 | -0.26525 | -2 |
| 337957 | 338162 | 337162 | 335805 | -0.28647 | -0.26525 | -2 |
| 337957 | 338162 | 337162 | 335805 | -0.29178 | -0.26525 | -2 |
| 337957 | 338162 | 337162 | 335805 | -0.29708 | -0.26525 | -2 |
| 337957 | 338162 | 337162 | 335805 | -0.30239 | -0.26525 | -2 |
| 337957 | 338162 | 337162 | 335805 | -0.30769 | -0.26525 | -2 |
| 337957 | 338162 | 337162 | 335805 | -0.313 | -0.26525 | -2 |
| 337957 | 338162 | 337162 | 335805 | -0.3183 | -0.26525 | -2 |
| 337957 | 338162 | 337922 | 338171 | 0.168326 | 0.210407 | -2 |
| 337957 | 338162 | 337922 | 338171 | 0.172534 | 0.210407 | -2 |
| 337957 | 338162 | 337922 | 338171 | 0.176742 | 0.210407 | -2 |
| 337957 | 338162 | 337922 | 338171 | 0.18095 | 0.210407 | -2 |
| 337957 | 338162 | 337922 | 338171 | 0.185158 | 0.210407 | -2 |
| 337957 | 338162 | 337922 | 338171 | 0.189366 | 0.210407 | -2 |
| 337957 | 338162 | 337922 | 338171 | 0.193574 | 0.210407 | -2 |
| 337957 | 338162 | 337922 | 338171 | 0.197783 | 0.210407 | -2 |
| 337957 | 338162 | 337922 | 338171 | 0.201991 | 0.210407 | -2 |
| 337957 | 338162 | 337922 | 338171 | 0.206199 | 0.210407 | -2 |
| 337957 | 338162 | 337922 | 338171 | 0.210407 | 0.210407 | 1 |
| 337957 | 338162 | 337922 | 338171 | 0.214615 | 0.210407 | -2 |
| 337957 | 338162 | 337922 | 338171 | 0.218823 | 0.210407 | -2 |
| 337957 | 338162 | 337922 | 338171 | 0.223031 | 0.210407 | -2 |
| 337957 | 338162 | 337922 | 338171 | 0.22724 | 0.210407 | -2 |
| 337957 | 338162 | 337922 | 338171 | 0.231448 | 0.210407 | -2 |
| 337957 | 338162 | 337922 | 338171 | 0.235656 | 0.210407 | -2 |
| 337957 | 338162 | 337922 | 338171 | 0.239864 | 0.210407 | -2 |
| 337957 | 338162 | 337922 | 338171 | 0.244072 | 0.210407 | -2 |
| 337957 | 338162 | 337922 | 338171 | 0.24828 | 0.210407 | -2 |
| 337957 | 338162 | 337922 | 338171 | 0.252488 | 0.210407 | -2 |
| 336938 | 336939 | 336919 | 337304 | -0.21043 | -0.26304 | -2 |
| 336938 | 336939 | 336919 | 337304 | -0.21569 | -0.26304 | -2 |
| 336938 | 336939 | 336919 | 337304 | -0.22095 | -0.26304 | -2 |
| 336938 | 336939 | 336919 | 337304 | -0.22621 | -0.26304 | -2 |
| 336938 | 336939 | 336919 | 337304 | -0.23147 | -0.26304 | -2 |
| 336938 | 336939 | 336919 | 337304 | -0.23673 | -0.26304 | -2 |
| 336938 | 336939 | 336919 | 337304 | -0.24199 | -0.26304 | -2 |
| 336938 | 336939 | 336919 | 337304 | -0.24726 | -0.26304 | -2 |
| 336938 | 336939 | 336919 | 337304 | -0.25252 | -0.26304 | -2 |
| 336938 | 336939 | 336919 | 337304 | -0.25778 | -0.26304 | -2 |
| 336938 | 336939 | 336919 | 337304 | -0.26304 | -0.26304 | 1 |
| 336938 | 336939 | 336919 | 337304 | -0.2683 | -0.26304 | -2 |
| 336938 | 336939 | 336919 | 337304 | -0.27356 | -0.26304 | -2 |
| 336938 | 336939 | 336919 | 337304 | -0.27882 | -0.26304 | -2 |
| 336938 | 336939 | 336919 | 337304 | -0.28408 | -0.26304 | -2 |
| 336938 | 336939 | 336919 | 337304 | -0.28934 | -0.26304 | -2 |
| 336938 | 336939 | 336919 | 337304 | -0.2946 | -0.26304 | -2 |
| 336938 | 336939 | 336919 | 337304 | -0.29986 | -0.26304 | -2 |
| 336938 | 336939 | 336919 | 337304 | -0.30512 | -0.26304 | -2 |
| 336938 | 336939 | 336919 | 337304 | -0.31038 | -0.26304 | -2 |
| 336938 | 336939 | 336919 | 337304 | -0.31564 | -0.26304 | -2 |
| 336938 | 336939 | 336919 | 336442 | -0.21513 | -0.26891 | -2 |
| 336938 | 336939 | 336919 | 336442 | -0.2205 | -0.26891 | -2 |
| 336938 | 336939 | 336919 | 336442 | -0.22588 | -0.26891 | -2 |
| 336938 | 336939 | 336919 | 336442 | -0.23126 | -0.26891 | -2 |
| 336938 | 336939 | 336919 | 336442 | -0.23664 | -0.26891 | -2 |
| 336938 | 336939 | 336919 | 336442 | -0.24202 | -0.26891 | -2 |
| 336938 | 336939 | 336919 | 336442 | -0.24739 | -0.26891 | -2 |
| 336938 | 336939 | 336919 | 336442 | -0.25277 | -0.26891 | -2 |
| 336938 | 336939 | 336919 | 336442 | -0.25815 | -0.26891 | -2 |
| 336938 | 336939 | 336919 | 336442 | -0.26353 | -0.26891 | -2 |
| 336938 | 336939 | 336919 | 336442 | -0.26891 | -0.26891 | 1 |
| 336938 | 336939 | 336919 | 336442 | -0.27429 | -0.26891 | -2 |
| 336938 | 336939 | 336919 | 336442 | -0.27966 | -0.26891 | -2 |
| 336938 | 336939 | 336919 | 336442 | -0.28504 | -0.26891 | -2 |
| 336938 | 336939 | 336919 | 336442 | -0.29042 | -0.26891 | -2 |
| 336938 | 336939 | 336919 | 336442 | -0.2958 | -0.26891 | -2 |
| 336938 | 336939 | 336919 | 336442 | -0.30118 | -0.26891 | -2 |
| 336938 | 336939 | 336919 | 336442 | -0.30655 | -0.26891 | -2 |
| 336938 | 336939 | 336919 | 336442 | -0.31193 | -0.26891 | -2 |
| 336938 | 336939 | 336919 | 336442 | -0.31731 | -0.26891 | -2 |
| 336938 | 336939 | 336919 | 336442 | -0.32269 | -0.26891 | -2 |
| 336190 | 336210 | 336919 | 336442 | 0.111629 | 0.139536 | -2 |
| 336190 | 336210 | 336919 | 336442 | 0.114419 | 0.139536 | -2 |
| 336190 | 336210 | 336919 | 336442 | 0.11721 | 0.139536 | -2 |
| 336190 | 336210 | 336919 | 336442 | 0.120001 | 0.139536 | -2 |
| 336190 | 336210 | 336919 | 336442 | 0.122792 | 0.139536 | -2 |
| 336190 | 336210 | 336919 | 336442 | 0.125582 | 0.139536 | -2 |
| 336190 | 336210 | 336919 | 336442 | 0.128373 | 0.139536 | -2 |
| 336190 | 336210 | 336919 | 336442 | 0.131164 | 0.139536 | -2 |
| 336190 | 336210 | 336919 | 336442 | 0.133954 | 0.139536 | -2 |
| 336190 | 336210 | 336919 | 336442 | 0.136745 | 0.139536 | -2 |
| 336190 | 336210 | 336919 | 336442 | 0.139536 | 0.139536 | 1 |
| 336190 | 336210 | 336919 | 336442 | 0.142327 | 0.139536 | -2 |
| 336190 | 336210 | 336919 | 336442 | 0.145117 | 0.139536 | -2 |
| 336190 | 336210 | 336919 | 336442 | 0.147908 | 0.139536 | -2 |
| 336190 | 336210 | 336919 | 336442 | 0.150699 | 0.139536 | -2 |
| 336190 | 336210 | 336919 | 336442 | 0.153489 | 0.139536 | -2 |
| 336190 | 336210 | 336919 | 336442 | 0.15628 | 0.139536 | -2 |
| 336190 | 336210 | 336919 | 336442 | 0.159071 | 0.139536 | -2 |
| 336190 | 336210 | 336919 | 336442 | 0.161862 | 0.139536 | -2 |
| 336190 | 336210 | 336919 | 336442 | 0.164652 | 0.139536 | -2 |
| 336190 | 336210 | 336919 | 336442 | 0.167443 | 0.139536 | -2 |
| 337957 | 338162 | 338140 | 335627 | 0.101336 | 0.12667 | -2 |
| 337957 | 338162 | 338140 | 335627 | 0.103869 | 0.12667 | -2 |
| 337957 | 338162 | 338140 | 335627 | 0.106402 | 0.12667 | -2 |
| 337957 | 338162 | 338140 | 335627 | 0.108936 | 0.12667 | -2 |
| 337957 | 338162 | 338140 | 335627 | 0.111469 | 0.12667 | -2 |
| 337957 | 338162 | 338140 | 335627 | 0.114003 | 0.12667 | -2 |
| 337957 | 338162 | 338140 | 335627 | 0.116536 | 0.12667 | -2 |
| 337957 | 338162 | 338140 | 335627 | 0.119069 | 0.12667 | -2 |
| 337957 | 338162 | 338140 | 335627 | 0.121603 | 0.12667 | -2 |
| 337957 | 338162 | 338140 | 335627 | 0.124136 | 0.12667 | -2 |
| 337957 | 338162 | 338140 | 335627 | 0.12667 | 0.12667 | 1 |
| 337957 | 338162 | 338140 | 335627 | 0.129203 | 0.12667 | -2 |
| 337957 | 338162 | 338140 | 335627 | 0.131736 | 0.12667 | -2 |
| 337957 | 338162 | 338140 | 335627 | 0.13427 | 0.12667 | -2 |
| 337957 | 338162 | 338140 | 335627 | 0.136803 | 0.12667 | -2 |
| 337957 | 338162 | 338140 | 335627 | 0.139336 | 0.12667 | -2 |
| 337957 | 338162 | 338140 | 335627 | 0.14187 | 0.12667 | -2 |
| 337957 | 338162 | 338140 | 335627 | 0.144403 | 0.12667 | -2 |
| 337957 | 338162 | 338140 | 335627 | 0.146937 | 0.12667 | -2 |
| 337957 | 338162 | 338140 | 335627 | 0.14947 | 0.12667 | -2 |
| 337957 | 338162 | 338140 | 335627 | 0.152003 | 0.12667 | -2 |
| 335836 | 388700 | 335825 | 338170 | 0.092414 | 0.115518 | -2 |
| 335836 | 388700 | 335825 | 338170 | 0.094725 | 0.115518 | -2 |
| 335836 | 388700 | 335825 | 338170 | 0.097035 | 0.115518 | -2 |
| 335836 | 388700 | 335825 | 338170 | 0.099346 | 0.115518 | -2 |
| 335836 | 388700 | 335825 | 338170 | 0.101656 | 0.115518 | -2 |
| 335836 | 388700 | 335825 | 338170 | 0.103966 | 0.115518 | -2 |
| 335836 | 388700 | 335825 | 338170 | 0.106277 | 0.115518 | -2 |
| 335836 | 388700 | 335825 | 338170 | 0.108587 | 0.115518 | -2 |
| 335836 | 388700 | 335825 | 338170 | 0.110897 | 0.115518 | -2 |
| 335836 | 388700 | 335825 | 338170 | 0.113208 | 0.115518 | -2 |
| 335836 | 388700 | 335825 | 338170 | 0.115518 | 0.115518 | 1 |
| 335836 | 388700 | 335825 | 338170 | 0.117828 | 0.115518 | -2 |
| 335836 | 388700 | 335825 | 338170 | 0.120139 | 0.115518 | -2 |
| 335836 | 388700 | 335825 | 338170 | 0.122449 | 0.115518 | -2 |
| 335836 | 388700 | 335825 | 338170 | 0.12476 | 0.115518 | -2 |
| 335836 | 388700 | 335825 | 338170 | 0.12707 | 0.115518 | -2 |
| 335836 | 388700 | 335825 | 338170 | 0.12938 | 0.115518 | -2 |
| 335836 | 388700 | 335825 | 338170 | 0.131691 | 0.115518 | -2 |
| 335836 | 388700 | 335825 | 338170 | 0.134001 | 0.115518 | -2 |
| 335836 | 388700 | 335825 | 338170 | 0.136311 | 0.115518 | -2 |
| 335836 | 388700 | 335825 | 338170 | 0.138622 | 0.115518 | -2 |
| 336190 | 336210 | 336212 | 338138 | -0.63307 | -0.79133 | -2 |
| 336190 | 336210 | 336212 | 338138 | -0.64889 | -0.79133 | -2 |
| 336190 | 336210 | 336212 | 338138 | -0.66472 | -0.79133 | -2 |
| 336190 | 336210 | 336212 | 338138 | -0.68055 | -0.79133 | -2 |
| 336190 | 336210 | 336212 | 338138 | -0.69637 | -0.79133 | -2 |
| 336190 | 336210 | 336212 | 338138 | -0.7122 | -0.79133 | -2 |
| 336190 | 336210 | 336212 | 338138 | -0.72803 | -0.79133 | -2 |
| 336190 | 336210 | 336212 | 338138 | -0.74385 | -0.79133 | -2 |
| 336190 | 336210 | 336212 | 338138 | -0.75968 | -0.79133 | -2 |
| 336190 | 336210 | 336212 | 338138 | -0.77551 | -0.79133 | -2 |
| 336190 | 336210 | 336212 | 338138 | -0.79133 | -0.79133 | 1 |
| 336190 | 336210 | 336212 | 338138 | -0.80716 | -0.79133 | -2 |
| 336190 | 336210 | 336212 | 338138 | -0.82299 | -0.79133 | -2 |
| 336190 | 336210 | 336212 | 338138 | -0.83881 | -0.79133 | -2 |
| 336190 | 336210 | 336212 | 338138 | -0.85464 | -0.79133 | -2 |
| 336190 | 336210 | 336212 | 338138 | -0.87047 | -0.79133 | -2 |
| 336190 | 336210 | 336212 | 338138 | -0.88629 | -0.79133 | -2 |
| 336190 | 336210 | 336212 | 338138 | -0.90212 | -0.79133 | -2 |
| 336190 | 336210 | 336212 | 338138 | -0.91795 | -0.79133 | -2 |
| 336190 | 336210 | 336212 | 338138 | -0.93377 | -0.79133 | -2 |
| 336190 | 336210 | 336212 | 338138 | -0.9496 | -0.79133 | -2 |
| 337391 | 337415 | 336830 | 337391 | -0.76549 | -0.95687 | -2 |
| 337391 | 337415 | 336830 | 337391 | -0.78463 | -0.95687 | -2 |
| 337391 | 337415 | 336830 | 337391 | -0.80377 | -0.95687 | -2 |
| 337391 | 337415 | 336830 | 337391 | -0.82291 | -0.95687 | -2 |
| 337391 | 337415 | 336830 | 337391 | -0.84204 | -0.95687 | -2 |
| 337391 | 337415 | 336830 | 337391 | -0.86118 | -0.95687 | -2 |
| 337391 | 337415 | 336830 | 337391 | -0.88032 | -0.95687 | -2 |
| 337391 | 337415 | 336830 | 337391 | -0.89946 | -0.95687 | -2 |
| 337391 | 337415 | 336830 | 337391 | -0.91859 | -0.95687 | -2 |
| 337391 | 337415 | 336830 | 337391 | -0.93773 | -0.95687 | -2 |
| 337391 | 337415 | 336830 | 337391 | -0.95687 | -0.95687 | 1 |
| 337391 | 337415 | 336830 | 337391 | -0.976 | -0.95687 | 1 |
| 337391 | 337415 | 336830 | 337391 | -0.99514 | -0.95687 | 1 |
| 337391 | 337415 | 336830 | 337391 | -1 | -0.95687 | 1 |
| 337391 | 337415 | 336830 | 337391 | -1 | -0.95687 | 1 |
| 337391 | 337415 | 336830 | 337391 | -1 | -0.95687 | 1 |
| 337391 | 337415 | 336830 | 337391 | -1 | -0.95687 | 1 |
| 337391 | 337415 | 336830 | 337391 | -1 | -0.95687 | 1 |
| 337391 | 337415 | 336830 | 337391 | -1 | -0.95687 | 1 |
| 337391 | 337415 | 336830 | 337391 | -1 | -0.95687 | 1 |
| 337391 | 337415 | 336830 | 337391 | -1 | -0.95687 | 1 |
| 337391 | 337415 | 337304 | 337390 | -0.49581 | -0.61976 | -2 |
| 337391 | 337415 | 337304 | 337390 | -0.50821 | -0.61976 | -2 |
| 337391 | 337415 | 337304 | 337390 | -0.5206 | -0.61976 | -2 |
| 337391 | 337415 | 337304 | 337390 | -0.533 | -0.61976 | -2 |
| 337391 | 337415 | 337304 | 337390 | -0.54539 | -0.61976 | -2 |
| 337391 | 337415 | 337304 | 337390 | -0.55779 | -0.61976 | -2 |
| 337391 | 337415 | 337304 | 337390 | -0.57018 | -0.61976 | -2 |
| 337391 | 337415 | 337304 | 337390 | -0.58258 | -0.61976 | -2 |
| 337391 | 337415 | 337304 | 337390 | -0.59497 | -0.61976 | -2 |
| 337391 | 337415 | 337304 | 337390 | -0.60737 | -0.61976 | -2 |
| 337391 | 337415 | 337304 | 337390 | -0.61976 | -0.61976 | 1 |
| 337391 | 337415 | 337304 | 337390 | -0.63216 | -0.61976 | -2 |
| 337391 | 337415 | 337304 | 337390 | -0.64456 | -0.61976 | -2 |
| 337391 | 337415 | 337304 | 337390 | -0.65695 | -0.61976 | -2 |
| 337391 | 337415 | 337304 | 337390 | -0.66935 | -0.61976 | -2 |
| 337391 | 337415 | 337304 | 337390 | -0.68174 | -0.61976 | -2 |
| 337391 | 337415 | 337304 | 337390 | -0.69414 | -0.61976 | -2 |
| 337391 | 337415 | 337304 | 337390 | -0.70653 | -0.61976 | -2 |
| 337391 | 337415 | 337304 | 337390 | -0.71893 | -0.61976 | -2 |
| 337391 | 337415 | 337304 | 337390 | -0.73132 | -0.61976 | -2 |
| 337391 | 337415 | 337304 | 337390 | -0.74372 | -0.61976 | -2 |
| 337957 | 338162 | 337816 | 335125 | 0.082843 | 0.103554 | -2 |
| 337957 | 338162 | 337816 | 335125 | 0.084914 | 0.103554 | -2 |
| 337957 | 338162 | 337816 | 335125 | 0.086985 | 0.103554 | -2 |
| 337957 | 338162 | 337816 | 335125 | 0.089056 | 0.103554 | -2 |
| 337957 | 338162 | 337816 | 335125 | 0.091127 | 0.103554 | -2 |
| 337957 | 338162 | 337816 | 335125 | 0.093198 | 0.103554 | -2 |
| 337957 | 338162 | 337816 | 335125 | 0.09527 | 0.103554 | -2 |
| 337957 | 338162 | 337816 | 335125 | 0.097341 | 0.103554 | -2 |
| 337957 | 338162 | 337816 | 335125 | 0.099412 | 0.103554 | -2 |
| 337957 | 338162 | 337816 | 335125 | 0.101483 | 0.103554 | -2 |
| 337957 | 338162 | 337816 | 335125 | 0.103554 | 0.103554 | 1 |
| 337957 | 338162 | 337816 | 335125 | 0.105625 | 0.103554 | -2 |
| 337957 | 338162 | 337816 | 335125 | 0.107696 | 0.103554 | -2 |
| 337957 | 338162 | 337816 | 335125 | 0.109767 | 0.103554 | -2 |
| 337957 | 338162 | 337816 | 335125 | 0.111838 | 0.103554 | -2 |
| 337957 | 338162 | 337816 | 335125 | 0.113909 | 0.103554 | -2 |
| 337957 | 338162 | 337816 | 335125 | 0.11598 | 0.103554 | -2 |
| 337957 | 338162 | 337816 | 335125 | 0.118051 | 0.103554 | -2 |
| 337957 | 338162 | 337816 | 335125 | 0.120122 | 0.103554 | -2 |
| 337957 | 338162 | 337816 | 335125 | 0.122193 | 0.103554 | -2 |
| 337957 | 338162 | 337816 | 335125 | 0.124265 | 0.103554 | -2 |
| 335600 | 335601 | 337937 | 335600 | -0.62736 | -0.7842 | -2 |
| 335600 | 335601 | 337937 | 335600 | -0.64304 | -0.7842 | -2 |
| 335600 | 335601 | 337937 | 335600 | -0.65873 | -0.7842 | -2 |
| 335600 | 335601 | 337937 | 335600 | -0.67441 | -0.7842 | -2 |
| 335600 | 335601 | 337937 | 335600 | -0.6901 | -0.7842 | -2 |
| 335600 | 335601 | 337937 | 335600 | -0.70578 | -0.7842 | -2 |
| 335600 | 335601 | 337937 | 335600 | -0.72146 | -0.7842 | -2 |
| 335600 | 335601 | 337937 | 335600 | -0.73715 | -0.7842 | -2 |
| 335600 | 335601 | 337937 | 335600 | -0.75283 | -0.7842 | -2 |
| 335600 | 335601 | 337937 | 335600 | -0.76852 | -0.7842 | -2 |
| 335600 | 335601 | 337937 | 335600 | -0.7842 | -0.7842 | 1 |
| 335600 | 335601 | 337937 | 335600 | -0.79988 | -0.7842 | 1 |
| 335600 | 335601 | 337937 | 335600 | -0.81557 | -0.7842 | 1 |
| 335600 | 335601 | 337937 | 335600 | -0.83125 | -0.7842 | 1 |
| 335600 | 335601 | 337937 | 335600 | -0.84694 | -0.7842 | 1 |
| 335600 | 335601 | 337937 | 335600 | -0.86262 | -0.7842 | 1 |
| 335600 | 335601 | 337937 | 335600 | -0.8783 | -0.7842 | 1 |
| 335600 | 335601 | 337937 | 335600 | -0.89399 | -0.7842 | 1 |
| 335600 | 335601 | 337937 | 335600 | -0.90967 | -0.7842 | 1 |
| 335600 | 335601 | 337937 | 335600 | -0.92536 | -0.7842 | 1 |
| 335600 | 335601 | 337937 | 335600 | -0.94104 | -0.7842 | 1 |
| 337957 | 338162 | 337937 | 335600 | 0.107612 | 0.134515 | -2 |
| 337957 | 338162 | 337937 | 335600 | 0.110303 | 0.134515 | -2 |
| 337957 | 338162 | 337937 | 335600 | 0.112993 | 0.134515 | -2 |
| 337957 | 338162 | 337937 | 335600 | 0.115683 | 0.134515 | -2 |
| 337957 | 338162 | 337937 | 335600 | 0.118373 | 0.134515 | -2 |
| 337957 | 338162 | 337937 | 335600 | 0.121064 | 0.134515 | -2 |
| 337957 | 338162 | 337937 | 335600 | 0.123754 | 0.134515 | -2 |
| 337957 | 338162 | 337937 | 335600 | 0.126444 | 0.134515 | -2 |
| 337957 | 338162 | 337937 | 335600 | 0.129135 | 0.134515 | -2 |
| 337957 | 338162 | 337937 | 335600 | 0.131825 | 0.134515 | -2 |
| 337957 | 338162 | 337937 | 335600 | 0.134515 | 0.134515 | 1 |
| 337957 | 338162 | 337937 | 335600 | 0.137206 | 0.134515 | 1 |
| 337957 | 338162 | 337937 | 335600 | 0.139896 | 0.134515 | 1 |
| 337957 | 338162 | 337937 | 335600 | 0.142586 | 0.134515 | 1 |
| 337957 | 338162 | 337937 | 335600 | 0.145276 | 0.134515 | 1 |
| 337957 | 338162 | 337937 | 335600 | 0.147967 | 0.134515 | 1 |
| 337957 | 338162 | 337937 | 335600 | 0.150657 | 0.134515 | 1 |
| 337957 | 338162 | 337937 | 335600 | 0.153347 | 0.134515 | 1 |
| 337957 | 338162 | 337937 | 335600 | 0.156038 | 0.134515 | 1 |
| 337957 | 338162 | 337937 | 335600 | 0.158728 | 0.134515 | 1 |
| 337957 | 338162 | 337937 | 335600 | 0.161418 | 0.134515 | 1 |
| 336190 | 336210 | 337804 | 336269 | 0.114007 | 0.142508 | -2 |
| 336190 | 336210 | 337804 | 336269 | 0.116857 | 0.142508 | -2 |
| 336190 | 336210 | 337804 | 336269 | 0.119707 | 0.142508 | -2 |
| 336190 | 336210 | 337804 | 336269 | 0.122557 | 0.142508 | -2 |
| 336190 | 336210 | 337804 | 336269 | 0.125407 | 0.142508 | -2 |
| 336190 | 336210 | 337804 | 336269 | 0.128258 | 0.142508 | -2 |
| 336190 | 336210 | 337804 | 336269 | 0.131108 | 0.142508 | -2 |
| 336190 | 336210 | 337804 | 336269 | 0.133958 | 0.142508 | -2 |
| 336190 | 336210 | 337804 | 336269 | 0.136808 | 0.142508 | -2 |
| 336190 | 336210 | 337804 | 336269 | 0.139658 | 0.142508 | -2 |
| 336190 | 336210 | 337804 | 336269 | 0.142508 | 0.142508 | 1 |
| 336190 | 336210 | 337804 | 336269 | 0.145359 | 0.142508 | -2 |
| 336190 | 336210 | 337804 | 336269 | 0.148209 | 0.142508 | -2 |
| 336190 | 336210 | 337804 | 336269 | 0.151059 | 0.142508 | -2 |
| 336190 | 336210 | 337804 | 336269 | 0.153909 | 0.142508 | -2 |
| 336190 | 336210 | 337804 | 336269 | 0.156759 | 0.142508 | -2 |
| 336190 | 336210 | 337804 | 336269 | 0.159609 | 0.142508 | -2 |
| 336190 | 336210 | 337804 | 336269 | 0.16246 | 0.142508 | -2 |
| 336190 | 336210 | 337804 | 336269 | 0.16531 | 0.142508 | -2 |
| 336190 | 336210 | 337804 | 336269 | 0.16816 | 0.142508 | -2 |
| 336190 | 336210 | 337804 | 336269 | 0.17101 | 0.142508 | -2 |
| 337957 | 338162 | 337804 | 336269 | 0.113532 | 0.141915 | -2 |
| 337957 | 338162 | 337804 | 336269 | 0.11637 | 0.141915 | -2 |
| 337957 | 338162 | 337804 | 336269 | 0.119209 | 0.141915 | -2 |
| 337957 | 338162 | 337804 | 336269 | 0.122047 | 0.141915 | -2 |
| 337957 | 338162 | 337804 | 336269 | 0.124885 | 0.141915 | -2 |
| 337957 | 338162 | 337804 | 336269 | 0.127724 | 0.141915 | -2 |
| 337957 | 338162 | 337804 | 336269 | 0.130562 | 0.141915 | -2 |
| 337957 | 338162 | 337804 | 336269 | 0.1334 | 0.141915 | -2 |
| 337957 | 338162 | 337804 | 336269 | 0.136239 | 0.141915 | -2 |
| 337957 | 338162 | 337804 | 336269 | 0.139077 | 0.141915 | -2 |
| 337957 | 338162 | 337804 | 336269 | 0.141915 | 0.141915 | 1 |
| 337957 | 338162 | 337804 | 336269 | 0.144753 | 0.141915 | -2 |
| 337957 | 338162 | 337804 | 336269 | 0.147592 | 0.141915 | -2 |
| 337957 | 338162 | 337804 | 336269 | 0.15043 | 0.141915 | -2 |
| 337957 | 338162 | 337804 | 336269 | 0.153268 | 0.141915 | -2 |
| 337957 | 338162 | 337804 | 336269 | 0.156107 | 0.141915 | -2 |
| 337957 | 338162 | 337804 | 336269 | 0.158945 | 0.141915 | -2 |
| 337957 | 338162 | 337804 | 336269 | 0.161783 | 0.141915 | -2 |
| 337957 | 338162 | 337804 | 336269 | 0.164622 | 0.141915 | -2 |
| 337957 | 338162 | 337804 | 336269 | 0.16746 | 0.141915 | -2 |
| 337957 | 338162 | 337804 | 336269 | 0.170298 | 0.141915 | -2 |
| 336190 | 336210 | 337040 | 336236 | 0.094207 | 0.117759 | -2 |
| 336190 | 336210 | 337040 | 336236 | 0.096562 | 0.117759 | -2 |
| 336190 | 336210 | 337040 | 336236 | 0.098917 | 0.117759 | -2 |
| 336190 | 336210 | 337040 | 336236 | 0.101273 | 0.117759 | -2 |
| 336190 | 336210 | 337040 | 336236 | 0.103628 | 0.117759 | -2 |
| 336190 | 336210 | 337040 | 336236 | 0.105983 | 0.117759 | -2 |
| 336190 | 336210 | 337040 | 336236 | 0.108338 | 0.117759 | -2 |
| 336190 | 336210 | 337040 | 336236 | 0.110693 | 0.117759 | -2 |
| 336190 | 336210 | 337040 | 336236 | 0.113048 | 0.117759 | -2 |
| 336190 | 336210 | 337040 | 336236 | 0.115404 | 0.117759 | -2 |
| 336190 | 336210 | 337040 | 336236 | 0.117759 | 0.117759 | 1 |
| 336190 | 336210 | 337040 | 336236 | 0.120114 | 0.117759 | -2 |
| 336190 | 336210 | 337040 | 336236 | 0.122469 | 0.117759 | -2 |
| 336190 | 336210 | 337040 | 336236 | 0.124824 | 0.117759 | -2 |
| 336190 | 336210 | 337040 | 336236 | 0.12718 | 0.117759 | -2 |
| 336190 | 336210 | 337040 | 336236 | 0.129535 | 0.117759 | -2 |
| 336190 | 336210 | 337040 | 336236 | 0.13189 | 0.117759 | -2 |
| 336190 | 336210 | 337040 | 336236 | 0.134245 | 0.117759 | -2 |
| 336190 | 336210 | 337040 | 336236 | 0.1366 | 0.117759 | -2 |
| 336190 | 336210 | 337040 | 336236 | 0.138955 | 0.117759 | -2 |
| 336190 | 336210 | 337040 | 336236 | 0.141311 | 0.117759 | -2 |
| 337957 | 338162 | 338142 | 337921 | -0.11542 | -0.14428 | -2 |
| 337957 | 338162 | 338142 | 337921 | -0.11831 | -0.14428 | -2 |
| 337957 | 338162 | 338142 | 337921 | -0.12119 | -0.14428 | -2 |
| 337957 | 338162 | 338142 | 337921 | -0.12408 | -0.14428 | -2 |
| 337957 | 338162 | 338142 | 337921 | -0.12696 | -0.14428 | -2 |
| 337957 | 338162 | 338142 | 337921 | -0.12985 | -0.14428 | -2 |
| 337957 | 338162 | 338142 | 337921 | -0.13274 | -0.14428 | -2 |
| 337957 | 338162 | 338142 | 337921 | -0.13562 | -0.14428 | -2 |
| 337957 | 338162 | 338142 | 337921 | -0.13851 | -0.14428 | -2 |
| 337957 | 338162 | 338142 | 337921 | -0.14139 | -0.14428 | -2 |
| 337957 | 338162 | 338142 | 337921 | -0.14428 | -0.14428 | 1 |
| 337957 | 338162 | 338142 | 337921 | -0.14716 | -0.14428 | -2 |
| 337957 | 338162 | 338142 | 337921 | -0.15005 | -0.14428 | -2 |
| 337957 | 338162 | 338142 | 337921 | -0.15293 | -0.14428 | -2 |
| 337957 | 338162 | 338142 | 337921 | -0.15582 | -0.14428 | -2 |
| 337957 | 338162 | 338142 | 337921 | -0.15871 | -0.14428 | -2 |
| 337957 | 338162 | 338142 | 337921 | -0.16159 | -0.14428 | -2 |
| 337957 | 338162 | 338142 | 337921 | -0.16448 | -0.14428 | -2 |
| 337957 | 338162 | 338142 | 337921 | -0.16736 | -0.14428 | -2 |
| 337957 | 338162 | 338142 | 337921 | -0.17025 | -0.14428 | -2 |
| 337957 | 338162 | 338142 | 337921 | -0.17313 | -0.14428 | -2 |
| 336190 | 336210 | 336213 | 334202 | -0.6287 | -0.78588 | -2 |
| 336190 | 336210 | 336213 | 334202 | -0.64442 | -0.78588 | -2 |
| 336190 | 336210 | 336213 | 334202 | -0.66014 | -0.78588 | -2 |
| 336190 | 336210 | 336213 | 334202 | -0.67586 | -0.78588 | -2 |
| 336190 | 336210 | 336213 | 334202 | -0.69157 | -0.78588 | -2 |
| 336190 | 336210 | 336213 | 334202 | -0.70729 | -0.78588 | -2 |
| 336190 | 336210 | 336213 | 334202 | -0.72301 | -0.78588 | -2 |
| 336190 | 336210 | 336213 | 334202 | -0.73873 | -0.78588 | -2 |
| 336190 | 336210 | 336213 | 334202 | -0.75444 | -0.78588 | -2 |
| 336190 | 336210 | 336213 | 334202 | -0.77016 | -0.78588 | -2 |
| 336190 | 336210 | 336213 | 334202 | -0.78588 | -0.78588 | 1 |
| 336190 | 336210 | 336213 | 334202 | -0.8016 | -0.78588 | -2 |
| 336190 | 336210 | 336213 | 334202 | -0.81731 | -0.78588 | -2 |
| 336190 | 336210 | 336213 | 334202 | -0.83303 | -0.78588 | -2 |
| 336190 | 336210 | 336213 | 334202 | -0.84875 | -0.78588 | -2 |
| 336190 | 336210 | 336213 | 334202 | -0.86447 | -0.78588 | -2 |
| 336190 | 336210 | 336213 | 334202 | -0.88018 | -0.78588 | -2 |
| 336190 | 336210 | 336213 | 334202 | -0.8959 | -0.78588 | -2 |
| 336190 | 336210 | 336213 | 334202 | -0.91162 | -0.78588 | -2 |
| 336190 | 336210 | 336213 | 334202 | -0.92734 | -0.78588 | -2 |
| 336190 | 336210 | 336213 | 334202 | -0.94305 | -0.78588 | -2 |
| 335600 | 335601 | 335618 | 335598 | -0.53495 | -0.66868 | -2 |
| 335600 | 335601 | 335618 | 335598 | -0.54832 | -0.66868 | -2 |
| 335600 | 335601 | 335618 | 335598 | -0.56169 | -0.66868 | -2 |
| 335600 | 335601 | 335618 | 335598 | -0.57507 | -0.66868 | -2 |
| 335600 | 335601 | 335618 | 335598 | -0.58844 | -0.66868 | -2 |
| 335600 | 335601 | 335618 | 335598 | -0.60182 | -0.66868 | -2 |
| 335600 | 335601 | 335618 | 335598 | -0.61519 | -0.66868 | -2 |
| 335600 | 335601 | 335618 | 335598 | -0.62856 | -0.66868 | -2 |
| 335600 | 335601 | 335618 | 335598 | -0.64194 | -0.66868 | -2 |
| 335600 | 335601 | 335618 | 335598 | -0.65531 | -0.66868 | -2 |
| 335600 | 335601 | 335618 | 335598 | -0.66868 | -0.66868 | 1 |
| 335600 | 335601 | 335618 | 335598 | -0.68206 | -0.66868 | -2 |
| 335600 | 335601 | 335618 | 335598 | -0.69543 | -0.66868 | -2 |
| 335600 | 335601 | 335618 | 335598 | -0.7088 | -0.66868 | -2 |
| 335600 | 335601 | 335618 | 335598 | -0.72218 | -0.66868 | -2 |
| 335600 | 335601 | 335618 | 335598 | -0.73555 | -0.66868 | -2 |
| 335600 | 335601 | 335618 | 335598 | -0.74893 | -0.66868 | -2 |
| 335600 | 335601 | 335618 | 335598 | -0.7623 | -0.66868 | -2 |
| 335600 | 335601 | 335618 | 335598 | -0.77567 | -0.66868 | -2 |
| 335600 | 335601 | 335618 | 335598 | -0.78905 | -0.66868 | -2 |
| 335600 | 335601 | 335618 | 335598 | -0.80242 | -0.66868 | -2 |
| 336462 | 336464 | 336462 | 336464 | 0.8 | 1 | -2 |
| 336462 | 336464 | 336462 | 336464 | 0.82 | 1 | -2 |
| 336462 | 336464 | 336462 | 336464 | 0.84 | 1 | -2 |
| 336462 | 336464 | 336462 | 336464 | 0.86 | 1 | -2 |
| 336462 | 336464 | 336462 | 336464 | 0.88 | 1 | -2 |
| 336462 | 336464 | 336462 | 336464 | 0.9 | 1 | -2 |
| 336462 | 336464 | 336462 | 336464 | 0.92 | 1 | -2 |
| 336462 | 336464 | 336462 | 336464 | 0.94 | 1 | -2 |
| 336462 | 336464 | 336462 | 336464 | 0.96 | 1 | -2 |
| 336462 | 336464 | 336462 | 336464 | 0.98 | 1 | -2 |
| 336462 | 336464 | 336462 | 336464 | 1 | 1 | 1 |
| 336462 | 336464 | 336462 | 336464 | 1 | 1 | 1 |
| 336462 | 336464 | 336462 | 336464 | 1 | 1 | 1 |
| 336462 | 336464 | 336462 | 336464 | 1 | 1 | 1 |
| 336462 | 336464 | 336462 | 336464 | 1 | 1 | 1 |
| 336462 | 336464 | 336462 | 336464 | 1 | 1 | 1 |
| 336462 | 336464 | 336462 | 336464 | 1 | 1 | 1 |
| 336462 | 336464 | 336462 | 336464 | 1 | 1 | 1 |
| 336462 | 336464 | 336462 | 336464 | 1 | 1 | 1 |
| 336462 | 336464 | 336462 | 336464 | 1 | 1 | 1 |
| 336462 | 336464 | 336462 | 336464 | 1 | 1 | 1 |
| 335825 | 335830 | 335825 | 335830 | 0.8 | 1 | -2 |
| 335825 | 335830 | 335825 | 335830 | 0.82 | 1 | -2 |
| 335825 | 335830 | 335825 | 335830 | 0.84 | 1 | -2 |
| 335825 | 335830 | 335825 | 335830 | 0.86 | 1 | -2 |
| 335825 | 335830 | 335825 | 335830 | 0.88 | 1 | -2 |
| 335825 | 335830 | 335825 | 335830 | 0.9 | 1 | -2 |
| 335825 | 335830 | 335825 | 335830 | 0.92 | 1 | -2 |
| 335825 | 335830 | 335825 | 335830 | 0.94 | 1 | -2 |
| 335825 | 335830 | 335825 | 335830 | 0.96 | 1 | -2 |
| 335825 | 335830 | 335825 | 335830 | 0.98 | 1 | -2 |
| 335825 | 335830 | 335825 | 335830 | 1 | 1 | 1 |
| 335825 | 335830 | 335825 | 335830 | 1 | 1 | 1 |
| 335825 | 335830 | 335825 | 335830 | 1 | 1 | 1 |
| 335825 | 335830 | 335825 | 335830 | 1 | 1 | 1 |
| 335825 | 335830 | 335825 | 335830 | 1 | 1 | 1 |
| 335825 | 335830 | 335825 | 335830 | 1 | 1 | 1 |
| 335825 | 335830 | 335825 | 335830 | 1 | 1 | 1 |
| 335825 | 335830 | 335825 | 335830 | 1 | 1 | 1 |
| 335825 | 335830 | 335825 | 335830 | 1 | 1 | 1 |
| 335825 | 335830 | 335825 | 335830 | 1 | 1 | 1 |
| 335825 | 335830 | 335825 | 335830 | 1 | 1 | 1 |

# Appendix D: Case 3 – Line limit estimation results

| Table D.1: Line limit estimation results |  |  |  |  |
| --- | --- | --- | --- | --- |
| Line From Number | Line To Number | Estimated value (MW) | True value (MW) | Feasibility flag (feasible=1) |
| 335830 | 335831 | 920.8 | 1151 | 1 |
| 335830 | 335831 | 943.82 | 1151 | 1 |
| 335830 | 335831 | 966.84 | 1151 | 1 |
| 335830 | 335831 | 989.86 | 1151 | 1 |
| 335830 | 335831 | 1012.88 | 1151 | 1 |
| 335830 | 335831 | 1035.9 | 1151 | 1 |
| 335830 | 335831 | 1058.92 | 1151 | 1 |
| 335830 | 335831 | 1081.94 | 1151 | 1 |
| 335830 | 335831 | 1104.96 | 1151 | 1 |
| 335830 | 335831 | 1127.98 | 1151 | 1 |
| 335830 | 335831 | 1151 | 1151 | 1 |
| 335830 | 335831 | 1174.02 | 1151 | -2 |
| 335830 | 335831 | 1197.04 | 1151 | -2 |
| 335830 | 335831 | 1220.06 | 1151 | -2 |
| 335830 | 335831 | 1243.08 | 1151 | -2 |
| 335830 | 335831 | 1266.1 | 1151 | -2 |
| 335830 | 335831 | 1289.12 | 1151 | -2 |
| 335830 | 335831 | 1312.14 | 1151 | -2 |
| 335830 | 335831 | 1335.16 | 1151 | -2 |
| 335830 | 335831 | 1358.18 | 1151 | -2 |
| 335830 | 335831 | 1381.2 | 1151 | -2 |
| 336820 | 336821 | 1320 | 1650 | 1 |
| 336820 | 336821 | 1353 | 1650 | 1 |
| 336820 | 336821 | 1386 | 1650 | 1 |
| 336820 | 336821 | 1419 | 1650 | 1 |
| 336820 | 336821 | 1452 | 1650 | 1 |
| 336820 | 336821 | 1485 | 1650 | 1 |
| 336820 | 336821 | 1518 | 1650 | 1 |
| 336820 | 336821 | 1551 | 1650 | 1 |
| 336820 | 336821 | 1584 | 1650 | 1 |
| 336820 | 336821 | 1617 | 1650 | 1 |
| 336820 | 336821 | 1650 | 1650 | 1 |
| 336820 | 336821 | 1683 | 1650 | -2 |
| 336820 | 336821 | 1716 | 1650 | -2 |
| 336820 | 336821 | 1749 | 1650 | -2 |
| 336820 | 336821 | 1782 | 1650 | -2 |
| 336820 | 336821 | 1815 | 1650 | -2 |
| 336820 | 336821 | 1848 | 1650 | -2 |
| 336820 | 336821 | 1881 | 1650 | -2 |
| 336820 | 336821 | 1914 | 1650 | -2 |
| 336820 | 336821 | 1947 | 1650 | -2 |
| 336820 | 336821 | 1980 | 1650 | -2 |
| 337651 | 337653 | 728 | 910 | 1 |
| 337651 | 337653 | 746.2 | 910 | 1 |
| 337651 | 337653 | 764.4 | 910 | 1 |
| 337651 | 337653 | 782.6 | 910 | 1 |
| 337651 | 337653 | 800.8 | 910 | 1 |
| 337651 | 337653 | 819 | 910 | 1 |
| 337651 | 337653 | 837.2 | 910 | 1 |
| 337651 | 337653 | 855.4 | 910 | 1 |
| 337651 | 337653 | 873.6 | 910 | 1 |
| 337651 | 337653 | 891.8 | 910 | 1 |
| 337651 | 337653 | 910 | 910 | 1 |
| 337651 | 337653 | 928.2 | 910 | -2 |
| 337651 | 337653 | 946.4 | 910 | -2 |
| 337651 | 337653 | 964.6 | 910 | -2 |
| 337651 | 337653 | 982.8 | 910 | -2 |
| 337651 | 337653 | 1001 | 910 | -2 |
| 337651 | 337653 | 1019.2 | 910 | -2 |
| 337651 | 337653 | 1037.4 | 910 | -2 |
| 337651 | 337653 | 1055.6 | 910 | -2 |
| 337651 | 337653 | 1073.8 | 910 | -2 |
| 337651 | 337653 | 1092 | 910 | -2 |
| 338145 | 338146 | 728 | 910 | 1 |
| 338145 | 338146 | 746.2 | 910 | 1 |
| 338145 | 338146 | 764.4 | 910 | 1 |
| 338145 | 338146 | 782.6 | 910 | 1 |
| 338145 | 338146 | 800.8 | 910 | 1 |
| 338145 | 338146 | 819 | 910 | 1 |
| 338145 | 338146 | 837.2 | 910 | 1 |
| 338145 | 338146 | 855.4 | 910 | 1 |
| 338145 | 338146 | 873.6 | 910 | 1 |
| 338145 | 338146 | 891.8 | 910 | 1 |
| 338145 | 338146 | 910 | 910 | 1 |
| 338145 | 338146 | 928.2 | 910 | -2 |
| 338145 | 338146 | 946.4 | 910 | -2 |
| 338145 | 338146 | 964.6 | 910 | -2 |
| 338145 | 338146 | 982.8 | 910 | -2 |
| 338145 | 338146 | 1001 | 910 | -2 |
| 338145 | 338146 | 1019.2 | 910 | -2 |
| 338145 | 338146 | 1037.4 | 910 | -2 |
| 338145 | 338146 | 1055.6 | 910 | -2 |
| 338145 | 338146 | 1073.8 | 910 | -2 |
| 338145 | 338146 | 1092 | 910 | -2 |
| 337686 | 337690 | 478.4 | 598 | 1 |
| 337686 | 337690 | 490.36 | 598 | 1 |
| 337686 | 337690 | 502.32 | 598 | 1 |
| 337686 | 337690 | 514.28 | 598 | 1 |
| 337686 | 337690 | 526.24 | 598 | 1 |
| 337686 | 337690 | 538.2 | 598 | 1 |
| 337686 | 337690 | 550.16 | 598 | 1 |
| 337686 | 337690 | 562.12 | 598 | 1 |
| 337686 | 337690 | 574.08 | 598 | 1 |
| 337686 | 337690 | 586.04 | 598 | 1 |
| 337686 | 337690 | 598 | 598 | 1 |
| 337686 | 337690 | 609.96 | 598 | -2 |
| 337686 | 337690 | 621.92 | 598 | -2 |
| 337686 | 337690 | 633.88 | 598 | -2 |
| 337686 | 337690 | 645.84 | 598 | -2 |
| 337686 | 337690 | 657.8 | 598 | -2 |
| 337686 | 337690 | 669.76 | 598 | -2 |
| 337686 | 337690 | 681.72 | 598 | -2 |
| 337686 | 337690 | 693.68 | 598 | -2 |
| 337686 | 337690 | 705.64 | 598 | -2 |
| 337686 | 337690 | 717.6 | 598 | -2 |
| 337909 | 337911 | 904 | 1130 | 1 |
| 337909 | 337911 | 926.6 | 1130 | 1 |
| 337909 | 337911 | 949.2 | 1130 | 1 |
| 337909 | 337911 | 971.8 | 1130 | 1 |
| 337909 | 337911 | 994.4 | 1130 | 1 |
| 337909 | 337911 | 1017 | 1130 | 1 |
| 337909 | 337911 | 1039.6 | 1130 | 1 |
| 337909 | 337911 | 1062.2 | 1130 | 1 |
| 337909 | 337911 | 1084.8 | 1130 | 1 |
| 337909 | 337911 | 1107.4 | 1130 | 1 |
| 337909 | 337911 | 1130 | 1130 | 1 |
| 337909 | 337911 | 1152.6 | 1130 | -2 |
| 337909 | 337911 | 1175.2 | 1130 | -2 |
| 337909 | 337911 | 1197.8 | 1130 | -2 |
| 337909 | 337911 | 1220.4 | 1130 | -2 |
| 337909 | 337911 | 1243 | 1130 | -2 |
| 337909 | 337911 | 1265.6 | 1130 | -2 |
| 337909 | 337911 | 1288.2 | 1130 | -2 |
| 337909 | 337911 | 1310.8 | 1130 | -2 |
| 337909 | 337911 | 1333.4 | 1130 | -2 |
| 337909 | 337911 | 1356 | 1130 | -2 |
| 335825 | 335830 | 955.2 | 1194 | 1 |
| 335825 | 335830 | 979.08 | 1194 | 1 |
| 335825 | 335830 | 1002.96 | 1194 | 1 |
| 335825 | 335830 | 1026.84 | 1194 | 1 |
| 335825 | 335830 | 1050.72 | 1194 | 1 |
| 335825 | 335830 | 1074.6 | 1194 | 1 |
| 335825 | 335830 | 1098.48 | 1194 | 1 |
| 335825 | 335830 | 1122.36 | 1194 | 1 |
| 335825 | 335830 | 1146.24 | 1194 | 1 |
| 335825 | 335830 | 1170.12 | 1194 | 1 |
| 335825 | 335830 | 1194 | 1194 | 1 |
| 335825 | 335830 | 1217.88 | 1194 | -2 |
| 335825 | 335830 | 1241.76 | 1194 | -2 |
| 335825 | 335830 | 1265.64 | 1194 | -2 |
| 335825 | 335830 | 1289.52 | 1194 | -2 |
| 335825 | 335830 | 1313.4 | 1194 | -2 |
| 335825 | 335830 | 1337.28 | 1194 | -2 |
| 335825 | 335830 | 1361.16 | 1194 | -2 |
| 335825 | 335830 | 1385.04 | 1194 | -2 |
| 335825 | 335830 | 1408.92 | 1194 | -2 |
| 335825 | 335830 | 1432.8 | 1194 | -2 |
| 337651 | 337652 | 728 | 910 | 1 |
| 337651 | 337652 | 746.2 | 910 | 1 |
| 337651 | 337652 | 764.4 | 910 | 1 |
| 337651 | 337652 | 782.6 | 910 | 1 |
| 337651 | 337652 | 800.8 | 910 | 1 |
| 337651 | 337652 | 819 | 910 | 1 |
| 337651 | 337652 | 837.2 | 910 | 1 |
| 337651 | 337652 | 855.4 | 910 | 1 |
| 337651 | 337652 | 873.6 | 910 | 1 |
| 337651 | 337652 | 891.8 | 910 | 1 |
| 337651 | 337652 | 910 | 910 | 1 |
| 337651 | 337652 | 928.2 | 910 | -2 |
| 337651 | 337652 | 946.4 | 910 | -2 |
| 337651 | 337652 | 964.6 | 910 | -2 |
| 337651 | 337652 | 982.8 | 910 | -2 |
| 337651 | 337652 | 1001 | 910 | -2 |
| 337651 | 337652 | 1019.2 | 910 | -2 |
| 337651 | 337652 | 1037.4 | 910 | -2 |
| 337651 | 337652 | 1055.6 | 910 | -2 |
| 337651 | 337652 | 1073.8 | 910 | -2 |
| 337651 | 337652 | 1092 | 910 | -2 |
| 334433 | 334430 | 396 | 495 | 1 |
| 334433 | 334430 | 405.9 | 495 | 1 |
| 334433 | 334430 | 415.8 | 495 | 1 |
| 334433 | 334430 | 425.7 | 495 | 1 |
| 334433 | 334430 | 435.6 | 495 | 1 |
| 334433 | 334430 | 445.5 | 495 | 1 |
| 334433 | 334430 | 455.4 | 495 | 1 |
| 334433 | 334430 | 465.3 | 495 | 1 |
| 334433 | 334430 | 475.2 | 495 | 1 |
| 334433 | 334430 | 485.1 | 495 | 1 |
| 334433 | 334430 | 495 | 495 | 1 |
| 334433 | 334430 | 504.9 | 495 | -2 |
| 334433 | 334430 | 514.8 | 495 | -2 |
| 334433 | 334430 | 524.7 | 495 | -2 |
| 334433 | 334430 | 534.6 | 495 | -2 |
| 334433 | 334430 | 544.5 | 495 | -2 |
| 334433 | 334430 | 554.4 | 495 | -2 |
| 334433 | 334430 | 564.3 | 495 | -2 |
| 334433 | 334430 | 574.2 | 495 | -2 |
| 334433 | 334430 | 584.1 | 495 | -2 |
| 334433 | 334430 | 594 | 495 | -2 |
| 336462 | 336464 | 512 | 640 | 1 |
| 336462 | 336464 | 524.8 | 640 | 1 |
| 336462 | 336464 | 537.6 | 640 | 1 |
| 336462 | 336464 | 550.4 | 640 | 1 |
| 336462 | 336464 | 563.2 | 640 | 1 |
| 336462 | 336464 | 576 | 640 | 1 |
| 336462 | 336464 | 588.8 | 640 | 1 |
| 336462 | 336464 | 601.6 | 640 | 1 |
| 336462 | 336464 | 614.4 | 640 | 1 |
| 336462 | 336464 | 627.2 | 640 | 1 |
| 336462 | 336464 | 640 | 640 | 1 |
| 336462 | 336464 | 652.8 | 640 | -2 |
| 336462 | 336464 | 665.6 | 640 | -2 |
| 336462 | 336464 | 678.4 | 640 | -2 |
| 336462 | 336464 | 691.2 | 640 | -2 |
| 336462 | 336464 | 704 | 640 | -2 |
| 336462 | 336464 | 716.8 | 640 | -2 |
| 336462 | 336464 | 729.6 | 640 | -2 |
| 336462 | 336464 | 742.4 | 640 | -2 |
| 336462 | 336464 | 755.2 | 640 | -2 |
| 336462 | 336464 | 768 | 640 | -2 |
| 337764 | 337763 | 249.6 | 312 | 1 |
| 337764 | 337763 | 255.84 | 312 | 1 |
| 337764 | 337763 | 262.08 | 312 | 1 |
| 337764 | 337763 | 268.32 | 312 | 1 |
| 337764 | 337763 | 274.56 | 312 | 1 |
| 337764 | 337763 | 280.8 | 312 | 1 |
| 337764 | 337763 | 287.04 | 312 | 1 |
| 337764 | 337763 | 293.28 | 312 | 1 |
| 337764 | 337763 | 299.52 | 312 | 1 |
| 337764 | 337763 | 305.76 | 312 | 1 |
| 337764 | 337763 | 312 | 312 | 1 |
| 337764 | 337763 | 318.24 | 312 | -2 |
| 337764 | 337763 | 324.48 | 312 | -2 |
| 337764 | 337763 | 330.72 | 312 | -2 |
| 337764 | 337763 | 336.96 | 312 | -2 |
| 337764 | 337763 | 343.2 | 312 | -2 |
| 337764 | 337763 | 349.44 | 312 | -2 |
| 337764 | 337763 | 355.68 | 312 | -2 |
| 337764 | 337763 | 361.92 | 312 | -2 |
| 337764 | 337763 | 368.16 | 312 | -2 |
| 337764 | 337763 | 374.4 | 312 | -2 |
| 337005 | 337009 | 644.8 | 806 | 1 |
| 337005 | 337009 | 660.92 | 806 | 1 |
| 337005 | 337009 | 677.04 | 806 | 1 |
| 337005 | 337009 | 693.16 | 806 | 1 |
| 337005 | 337009 | 709.28 | 806 | 1 |
| 337005 | 337009 | 725.4 | 806 | 1 |
| 337005 | 337009 | 741.52 | 806 | 1 |
| 337005 | 337009 | 757.64 | 806 | 1 |
| 337005 | 337009 | 773.76 | 806 | 1 |
| 337005 | 337009 | 789.88 | 806 | 1 |
| 337005 | 337009 | 806 | 806 | 1 |
| 337005 | 337009 | 822.12 | 806 | -2 |
| 337005 | 337009 | 838.24 | 806 | -2 |
| 337005 | 337009 | 854.36 | 806 | -2 |
| 337005 | 337009 | 870.48 | 806 | -2 |
| 337005 | 337009 | 886.6 | 806 | -2 |
| 337005 | 337009 | 902.72 | 806 | -2 |
| 337005 | 337009 | 918.84 | 806 | -2 |
| 337005 | 337009 | 934.96 | 806 | -2 |
| 337005 | 337009 | 951.08 | 806 | -2 |
| 337005 | 337009 | 967.2 | 806 | -2 |
| 337162 | 360594 | 937.6 | 1172 | 1 |
| 337162 | 360594 | 961.04 | 1172 | 1 |
| 337162 | 360594 | 984.48 | 1172 | 1 |
| 337162 | 360594 | 1007.92 | 1172 | 1 |
| 337162 | 360594 | 1031.36 | 1172 | 1 |
| 337162 | 360594 | 1054.8 | 1172 | 1 |
| 337162 | 360594 | 1078.24 | 1172 | 1 |
| 337162 | 360594 | 1101.68 | 1172 | 1 |
| 337162 | 360594 | 1125.12 | 1172 | 1 |
| 337162 | 360594 | 1148.56 | 1172 | 1 |
| 337162 | 360594 | 1172 | 1172 | 1 |
| 337162 | 360594 | 1195.44 | 1172 | -2 |
| 337162 | 360594 | 1218.88 | 1172 | -2 |
| 337162 | 360594 | 1242.32 | 1172 | -2 |
| 337162 | 360594 | 1265.76 | 1172 | -2 |
| 337162 | 360594 | 1289.2 | 1172 | -2 |
| 337162 | 360594 | 1312.64 | 1172 | -2 |
| 337162 | 360594 | 1336.08 | 1172 | -2 |
| 337162 | 360594 | 1359.52 | 1172 | -2 |
| 337162 | 360594 | 1382.96 | 1172 | -2 |
| 337162 | 360594 | 1406.4 | 1172 | -2 |
| 338188 | 338388 | 820 | 1025 | 1 |
| 338188 | 338388 | 840.5 | 1025 | 1 |
| 338188 | 338388 | 861 | 1025 | 1 |
| 338188 | 338388 | 881.5 | 1025 | 1 |
| 338188 | 338388 | 902 | 1025 | 1 |
| 338188 | 338388 | 922.5 | 1025 | 1 |
| 338188 | 338388 | 943 | 1025 | 1 |
| 338188 | 338388 | 963.5 | 1025 | 1 |
| 338188 | 338388 | 984 | 1025 | 1 |
| 338188 | 338388 | 1004.5 | 1025 | 1 |
| 338188 | 338388 | 1025 | 1025 | 1 |
| 338188 | 338388 | 1045.5 | 1025 | -2 |
| 338188 | 338388 | 1066 | 1025 | -2 |
| 338188 | 338388 | 1086.5 | 1025 | -2 |
| 338188 | 338388 | 1107 | 1025 | -2 |
| 338188 | 338388 | 1127.5 | 1025 | -2 |
| 338188 | 338388 | 1148 | 1025 | -2 |
| 338188 | 338388 | 1168.5 | 1025 | -2 |
| 338188 | 338388 | 1189 | 1025 | -2 |
| 338188 | 338388 | 1209.5 | 1025 | -2 |
| 338188 | 338388 | 1230 | 1025 | -2 |
| 336938 | 336939 | 191.2 | 239 | 1 |
| 336938 | 336939 | 195.98 | 239 | 1 |
| 336938 | 336939 | 200.76 | 239 | 1 |
| 336938 | 336939 | 205.54 | 239 | 1 |
| 336938 | 336939 | 210.32 | 239 | 1 |
| 336938 | 336939 | 215.1 | 239 | 1 |
| 336938 | 336939 | 219.88 | 239 | 1 |
| 336938 | 336939 | 224.66 | 239 | 1 |
| 336938 | 336939 | 229.44 | 239 | 1 |
| 336938 | 336939 | 234.22 | 239 | 1 |
| 336938 | 336939 | 239 | 239 | 1 |
| 336938 | 336939 | 243.78 | 239 | -2 |
| 336938 | 336939 | 248.56 | 239 | -2 |
| 336938 | 336939 | 253.34 | 239 | -2 |
| 336938 | 336939 | 258.12 | 239 | -2 |
| 336938 | 336939 | 262.9 | 239 | -2 |
| 336938 | 336939 | 267.68 | 239 | -2 |
| 336938 | 336939 | 272.46 | 239 | -2 |
| 336938 | 336939 | 277.24 | 239 | -2 |
| 336938 | 336939 | 282.02 | 239 | -2 |
| 336938 | 336939 | 286.8 | 239 | -2 |
| 335836 | 388700 | 1440 | 1800 | 1 |
| 335836 | 388700 | 1476 | 1800 | 1 |
| 335836 | 388700 | 1512 | 1800 | 1 |
| 335836 | 388700 | 1548 | 1800 | 1 |
| 335836 | 388700 | 1584 | 1800 | 1 |
| 335836 | 388700 | 1620 | 1800 | 1 |
| 335836 | 388700 | 1656 | 1800 | 1 |
| 335836 | 388700 | 1692 | 1800 | 1 |
| 335836 | 388700 | 1728 | 1800 | 1 |
| 335836 | 388700 | 1764 | 1800 | 1 |
| 335836 | 388700 | 1800 | 1800 | 1 |
| 335836 | 388700 | 1836 | 1800 | -2 |
| 335836 | 388700 | 1872 | 1800 | -2 |
| 335836 | 388700 | 1908 | 1800 | -2 |
| 335836 | 388700 | 1944 | 1800 | -2 |
| 335836 | 388700 | 1980 | 1800 | -2 |
| 335836 | 388700 | 2016 | 1800 | -2 |
| 335836 | 388700 | 2052 | 1800 | -2 |
| 335836 | 388700 | 2088 | 1800 | -2 |
| 335836 | 388700 | 2124 | 1800 | -2 |
| 335836 | 388700 | 2160 | 1800 | -2 |
| 336190 | 336210 | 830.4 | 1038 | 1 |
| 336190 | 336210 | 851.16 | 1038 | 1 |
| 336190 | 336210 | 871.92 | 1038 | 1 |
| 336190 | 336210 | 892.68 | 1038 | 1 |
| 336190 | 336210 | 913.44 | 1038 | 1 |
| 336190 | 336210 | 934.2 | 1038 | 1 |
| 336190 | 336210 | 954.96 | 1038 | 1 |
| 336190 | 336210 | 975.72 | 1038 | 1 |
| 336190 | 336210 | 996.48 | 1038 | 1 |
| 336190 | 336210 | 1017.24 | 1038 | 1 |
| 336190 | 336210 | 1038 | 1038 | 1 |
| 336190 | 336210 | 1058.76 | 1038 | -2 |
| 336190 | 336210 | 1079.52 | 1038 | -2 |
| 336190 | 336210 | 1100.28 | 1038 | -2 |
| 336190 | 336210 | 1121.04 | 1038 | -2 |
| 336190 | 336210 | 1141.8 | 1038 | -2 |
| 336190 | 336210 | 1162.56 | 1038 | -2 |
| 336190 | 336210 | 1183.32 | 1038 | -2 |
| 336190 | 336210 | 1204.08 | 1038 | -2 |
| 336190 | 336210 | 1224.84 | 1038 | -2 |
| 336190 | 336210 | 1245.6 | 1038 | -2 |
| 335782 | 335805 | 80 | 100 | 1 |
| 335782 | 335805 | 82 | 100 | 1 |
| 335782 | 335805 | 84 | 100 | 1 |
| 335782 | 335805 | 86 | 100 | 1 |
| 335782 | 335805 | 88 | 100 | 1 |
| 335782 | 335805 | 90 | 100 | 1 |
| 335782 | 335805 | 92 | 100 | 1 |
| 335782 | 335805 | 94 | 100 | 1 |
| 335782 | 335805 | 96 | 100 | 1 |
| 335782 | 335805 | 98 | 100 | 1 |
| 335782 | 335805 | 100 | 100 | 1 |
| 335782 | 335805 | 102 | 100 | -2 |
| 335782 | 335805 | 104 | 100 | -2 |
| 335782 | 335805 | 106 | 100 | -2 |
| 335782 | 335805 | 108 | 100 | -2 |
| 335782 | 335805 | 110 | 100 | -2 |
| 335782 | 335805 | 112 | 100 | -2 |
| 335782 | 335805 | 114 | 100 | -2 |
| 335782 | 335805 | 116 | 100 | -2 |
| 335782 | 335805 | 118 | 100 | -2 |
| 335782 | 335805 | 120 | 100 | -2 |
| 337391 | 337415 | 256 | 320 | 1 |
| 337391 | 337415 | 262.4 | 320 | 1 |
| 337391 | 337415 | 268.8 | 320 | 1 |
| 337391 | 337415 | 275.2 | 320 | 1 |
| 337391 | 337415 | 281.6 | 320 | 1 |
| 337391 | 337415 | 288 | 320 | 1 |
| 337391 | 337415 | 294.4 | 320 | 1 |
| 337391 | 337415 | 300.8 | 320 | 1 |
| 337391 | 337415 | 307.2 | 320 | 1 |
| 337391 | 337415 | 313.6 | 320 | 1 |
| 337391 | 337415 | 320 | 320 | 1 |
| 337391 | 337415 | 326.4 | 320 | -2 |
| 337391 | 337415 | 332.8 | 320 | -2 |
| 337391 | 337415 | 339.2 | 320 | -2 |
| 337391 | 337415 | 345.6 | 320 | -2 |
| 337391 | 337415 | 352 | 320 | -2 |
| 337391 | 337415 | 358.4 | 320 | -2 |
| 337391 | 337415 | 364.8 | 320 | -2 |
| 337391 | 337415 | 371.2 | 320 | -2 |
| 337391 | 337415 | 377.6 | 320 | -2 |
| 337391 | 337415 | 384 | 320 | -2 |
| 335600 | 335601 | 271.2 | 339 | 1 |
| 335600 | 335601 | 277.98 | 339 | 1 |
| 335600 | 335601 | 284.76 | 339 | 1 |
| 335600 | 335601 | 291.54 | 339 | 1 |
| 335600 | 335601 | 298.32 | 339 | 1 |
| 335600 | 335601 | 305.1 | 339 | 1 |
| 335600 | 335601 | 311.88 | 339 | 1 |
| 335600 | 335601 | 318.66 | 339 | 1 |
| 335600 | 335601 | 325.44 | 339 | 1 |
| 335600 | 335601 | 332.22 | 339 | 1 |
| 335600 | 335601 | 339 | 339 | 1 |
| 335600 | 335601 | 345.78 | 339 | -2 |
| 335600 | 335601 | 352.56 | 339 | -2 |
| 335600 | 335601 | 359.34 | 339 | -2 |
| 335600 | 335601 | 366.12 | 339 | -2 |
| 335600 | 335601 | 372.9 | 339 | -2 |
| 335600 | 335601 | 379.68 | 339 | -2 |
| 335600 | 335601 | 386.46 | 339 | -2 |
| 335600 | 335601 | 393.24 | 339 | -2 |
| 335600 | 335601 | 400.02 | 339 | -2 |
| 335600 | 335601 | 406.8 | 339 | -2 |
| 336157 | 336166 | 733.6 | 917 | 1 |
| 336157 | 336166 | 751.94 | 917 | 1 |
| 336157 | 336166 | 770.28 | 917 | 1 |
| 336157 | 336166 | 788.62 | 917 | 1 |
| 336157 | 336166 | 806.96 | 917 | 1 |
| 336157 | 336166 | 825.3 | 917 | 1 |
| 336157 | 336166 | 843.64 | 917 | 1 |
| 336157 | 336166 | 861.98 | 917 | 1 |
| 336157 | 336166 | 880.32 | 917 | 1 |
| 336157 | 336166 | 898.66 | 917 | 1 |
| 336157 | 336166 | 917 | 917 | 1 |
| 336157 | 336166 | 935.34 | 917 | -2 |
| 336157 | 336166 | 953.68 | 917 | -2 |
| 336157 | 336166 | 972.02 | 917 | -2 |
| 336157 | 336166 | 990.36 | 917 | -2 |
| 336157 | 336166 | 1008.7 | 917 | -2 |
| 336157 | 336166 | 1027.04 | 917 | -2 |
| 336157 | 336166 | 1045.38 | 917 | -2 |
| 336157 | 336166 | 1063.72 | 917 | -2 |
| 336157 | 336166 | 1082.06 | 917 | -2 |
| 336157 | 336166 | 1100.4 | 917 | -2 |
| 337957 | 338162 | 1385.6 | 1732 | 1 |
| 337957 | 338162 | 1420.24 | 1732 | 1 |
| 337957 | 338162 | 1454.88 | 1732 | 1 |
| 337957 | 338162 | 1489.52 | 1732 | 1 |
| 337957 | 338162 | 1524.16 | 1732 | 1 |
| 337957 | 338162 | 1558.8 | 1732 | 1 |
| 337957 | 338162 | 1593.44 | 1732 | 1 |
| 337957 | 338162 | 1628.08 | 1732 | 1 |
| 337957 | 338162 | 1662.72 | 1732 | 1 |
| 337957 | 338162 | 1697.36 | 1732 | 1 |
| 337957 | 338162 | 1732 | 1732 | 1 |
| 337957 | 338162 | 1766.64 | 1732 | -2 |
| 337957 | 338162 | 1801.28 | 1732 | -2 |
| 337957 | 338162 | 1835.92 | 1732 | -2 |
| 337957 | 338162 | 1870.56 | 1732 | -2 |
| 337957 | 338162 | 1905.2 | 1732 | -2 |
| 337957 | 338162 | 1939.84 | 1732 | -2 |
| 337957 | 338162 | 1974.48 | 1732 | -2 |
| 337957 | 338162 | 2009.12 | 1732 | -2 |
| 337957 | 338162 | 2043.76 | 1732 | -2 |
| 337957 | 338162 | 2078.4 | 1732 | -2 |

# Appendix E: Modified Case 2 with Pseudo obligations

| Table E.1: PTDF estimation results |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Line From Number | Line To Number | From Inj. Bus | To Inj. Bus | Estimated value | True value | Feasibility flag (feasible=1) |
| 2 | 3 | 2 | 8 | 0.424 | 0.53 | -2 |
| 2 | 3 | 2 | 8 | 0.4346 | 0.53 | -2 |
| 2 | 3 | 2 | 8 | 0.4452 | 0.53 | -2 |
| 2 | 3 | 2 | 8 | 0.4558 | 0.53 | -2 |
| 2 | 3 | 2 | 8 | 0.4664 | 0.53 | -2 |
| 2 | 3 | 2 | 8 | 0.477 | 0.53 | -2 |
| 2 | 3 | 2 | 8 | 0.4876 | 0.53 | -2 |
| 2 | 3 | 2 | 8 | 0.4982 | 0.53 | -2 |
| 2 | 3 | 2 | 8 | 0.5088 | 0.53 | -2 |
| 2 | 3 | 2 | 8 | 0.5194 | 0.53 | -2 |
| 2 | 3 | 2 | 8 | 0.53 | 0.53 | 1 |
| 2 | 3 | 2 | 8 | 0.5406 | 0.53 | -2 |
| 2 | 3 | 2 | 8 | 0.5512 | 0.53 | -2 |
| 2 | 3 | 2 | 8 | 0.5618 | 0.53 | -2 |
| 2 | 3 | 2 | 8 | 0.5724 | 0.53 | -2 |
| 2 | 3 | 2 | 8 | 0.583 | 0.53 | -2 |
| 2 | 3 | 2 | 8 | 0.5936 | 0.53 | -2 |
| 2 | 3 | 2 | 8 | 0.6042 | 0.53 | -2 |
| 2 | 3 | 2 | 8 | 0.6148 | 0.53 | -2 |
| 2 | 3 | 2 | 8 | 0.6254 | 0.53 | -2 |
| 2 | 3 | 2 | 8 | 0.636 | 0.53 | -2 |
| 3 | 4 | 2 | 8 | 0.33896 | 0.4237 | -2 |
| 3 | 4 | 2 | 8 | 0.347434 | 0.4237 | -2 |
| 3 | 4 | 2 | 8 | 0.355908 | 0.4237 | -2 |
| 3 | 4 | 2 | 8 | 0.364382 | 0.4237 | -2 |
| 3 | 4 | 2 | 8 | 0.372856 | 0.4237 | -2 |
| 3 | 4 | 2 | 8 | 0.38133 | 0.4237 | -2 |
| 3 | 4 | 2 | 8 | 0.389804 | 0.4237 | -2 |
| 3 | 4 | 2 | 8 | 0.398278 | 0.4237 | -2 |
| 3 | 4 | 2 | 8 | 0.406752 | 0.4237 | -2 |
| 3 | 4 | 2 | 8 | 0.415226 | 0.4237 | -2 |
| 3 | 4 | 2 | 8 | 0.4237 | 0.4237 | 1 |
| 3 | 4 | 2 | 8 | 0.432174 | 0.4237 | -2 |
| 3 | 4 | 2 | 8 | 0.440648 | 0.4237 | -2 |
| 3 | 4 | 2 | 8 | 0.449122 | 0.4237 | -2 |
| 3 | 4 | 2 | 8 | 0.457596 | 0.4237 | -2 |
| 3 | 4 | 2 | 8 | 0.46607 | 0.4237 | -2 |
| 3 | 4 | 2 | 8 | 0.474544 | 0.4237 | -2 |
| 3 | 4 | 2 | 8 | 0.483018 | 0.4237 | -2 |
| 3 | 4 | 2 | 8 | 0.491492 | 0.4237 | -2 |
| 3 | 4 | 2 | 8 | 0.499966 | 0.4237 | -2 |
| 3 | 4 | 2 | 8 | 0.50844 | 0.4237 | -2 |
| 5 | 8 | 2 | 8 | 0.31488 | 0.3936 | -2 |
| 5 | 8 | 2 | 8 | 0.322752 | 0.3936 | -2 |
| 5 | 8 | 2 | 8 | 0.330624 | 0.3936 | -2 |
| 5 | 8 | 2 | 8 | 0.338496 | 0.3936 | -2 |
| 5 | 8 | 2 | 8 | 0.346368 | 0.3936 | -2 |
| 5 | 8 | 2 | 8 | 0.35424 | 0.3936 | -2 |
| 5 | 8 | 2 | 8 | 0.362112 | 0.3936 | -2 |
| 5 | 8 | 2 | 8 | 0.369984 | 0.3936 | -2 |
| 5 | 8 | 2 | 8 | 0.377856 | 0.3936 | -2 |
| 5 | 8 | 2 | 8 | 0.385728 | 0.3936 | -2 |
| 5 | 8 | 2 | 8 | 0.3936 | 0.3936 | 1 |
| 5 | 8 | 2 | 8 | 0.401472 | 0.3936 | -2 |
| 5 | 8 | 2 | 8 | 0.409344 | 0.3936 | -2 |
| 5 | 8 | 2 | 8 | 0.417216 | 0.3936 | -2 |
| 5 | 8 | 2 | 8 | 0.425088 | 0.3936 | -2 |
| 5 | 8 | 2 | 8 | 0.43296 | 0.3936 | -2 |
| 5 | 8 | 2 | 8 | 0.440832 | 0.3936 | -2 |
| 5 | 8 | 2 | 8 | 0.448704 | 0.3936 | -2 |
| 5 | 8 | 2 | 8 | 0.456576 | 0.3936 | -2 |
| 5 | 8 | 2 | 8 | 0.464448 | 0.3936 | -2 |
| 5 | 8 | 2 | 8 | 0.47232 | 0.3936 | -2 |
| 2 | 3 | 3 | 4 | -0.09824 | -0.1228 | -2 |
| 2 | 3 | 3 | 4 | -0.1007 | -0.1228 | -2 |
| 2 | 3 | 3 | 4 | -0.10315 | -0.1228 | -2 |
| 2 | 3 | 3 | 4 | -0.10561 | -0.1228 | -2 |
| 2 | 3 | 3 | 4 | -0.10806 | -0.1228 | -2 |
| 2 | 3 | 3 | 4 | -0.11052 | -0.1228 | -2 |
| 2 | 3 | 3 | 4 | -0.11298 | -0.1228 | -2 |
| 2 | 3 | 3 | 4 | -0.11543 | -0.1228 | -2 |
| 2 | 3 | 3 | 4 | -0.11789 | -0.1228 | -2 |
| 2 | 3 | 3 | 4 | -0.12034 | -0.1228 | -2 |
| 2 | 3 | 3 | 4 | -0.1228 | -0.1228 | 1 |
| 2 | 3 | 3 | 4 | -0.12526 | -0.1228 | -2 |
| 2 | 3 | 3 | 4 | -0.12771 | -0.1228 | -2 |
| 2 | 3 | 3 | 4 | -0.13017 | -0.1228 | -2 |
| 2 | 3 | 3 | 4 | -0.13262 | -0.1228 | -2 |
| 2 | 3 | 3 | 4 | -0.13508 | -0.1228 | -2 |
| 2 | 3 | 3 | 4 | -0.13754 | -0.1228 | -2 |
| 2 | 3 | 3 | 4 | -0.13999 | -0.1228 | -2 |
| 2 | 3 | 3 | 4 | -0.14245 | -0.1228 | -2 |
| 2 | 3 | 3 | 4 | -0.1449 | -0.1228 | -2 |
| 2 | 3 | 3 | 4 | -0.14736 | -0.1228 | -2 |
| 3 | 4 | 3 | 4 | 0.50664 | 0.6333 | -2 |
| 3 | 4 | 3 | 4 | 0.519306 | 0.6333 | -2 |
| 3 | 4 | 3 | 4 | 0.531972 | 0.6333 | -2 |
| 3 | 4 | 3 | 4 | 0.544638 | 0.6333 | -2 |
| 3 | 4 | 3 | 4 | 0.557304 | 0.6333 | -2 |
| 3 | 4 | 3 | 4 | 0.56997 | 0.6333 | -2 |
| 3 | 4 | 3 | 4 | 0.582636 | 0.6333 | -2 |
| 3 | 4 | 3 | 4 | 0.595302 | 0.6333 | -2 |
| 3 | 4 | 3 | 4 | 0.607968 | 0.6333 | -2 |
| 3 | 4 | 3 | 4 | 0.620634 | 0.6333 | -2 |
| 3 | 4 | 3 | 4 | 0.6333 | 0.6333 | 1 |
| 3 | 4 | 3 | 4 | 0.645966 | 0.6333 | -2 |
| 3 | 4 | 3 | 4 | 0.658632 | 0.6333 | -2 |
| 3 | 4 | 3 | 4 | 0.671298 | 0.6333 | -2 |
| 3 | 4 | 3 | 4 | 0.683964 | 0.6333 | -2 |
| 3 | 4 | 3 | 4 | 0.69663 | 0.6333 | -2 |
| 3 | 4 | 3 | 4 | 0.709296 | 0.6333 | -2 |
| 3 | 4 | 3 | 4 | 0.721962 | 0.6333 | -2 |
| 3 | 4 | 3 | 4 | 0.734628 | 0.6333 | -2 |
| 3 | 4 | 3 | 4 | 0.747294 | 0.6333 | -2 |
| 3 | 4 | 3 | 4 | 0.75996 | 0.6333 | -2 |
| 5 | 8 | 3 | 4 | -0.0508 | -0.0635 | -2 |
| 5 | 8 | 3 | 4 | -0.05207 | -0.0635 | -2 |
| 5 | 8 | 3 | 4 | -0.05334 | -0.0635 | -2 |
| 5 | 8 | 3 | 4 | -0.05461 | -0.0635 | -2 |
| 5 | 8 | 3 | 4 | -0.05588 | -0.0635 | -2 |
| 5 | 8 | 3 | 4 | -0.05715 | -0.0635 | -2 |
| 5 | 8 | 3 | 4 | -0.05842 | -0.0635 | -2 |
| 5 | 8 | 3 | 4 | -0.05969 | -0.0635 | -2 |
| 5 | 8 | 3 | 4 | -0.06096 | -0.0635 | -2 |
| 5 | 8 | 3 | 4 | -0.06223 | -0.0635 | -2 |
| 5 | 8 | 3 | 4 | -0.0635 | -0.0635 | 1 |
| 5 | 8 | 3 | 4 | -0.06477 | -0.0635 | -2 |
| 5 | 8 | 3 | 4 | -0.06604 | -0.0635 | -2 |
| 5 | 8 | 3 | 4 | -0.06731 | -0.0635 | -2 |
| 5 | 8 | 3 | 4 | -0.06858 | -0.0635 | -2 |
| 5 | 8 | 3 | 4 | -0.06985 | -0.0635 | -2 |
| 5 | 8 | 3 | 4 | -0.07112 | -0.0635 | -2 |
| 5 | 8 | 3 | 4 | -0.07239 | -0.0635 | -2 |
| 5 | 8 | 3 | 4 | -0.07366 | -0.0635 | -2 |
| 5 | 8 | 3 | 4 | -0.07493 | -0.0635 | -2 |
| 5 | 8 | 3 | 4 | -0.0762 | -0.0635 | -2 |
| 3 | 4 | 9 | 12 | -0.17208 | -0.2151 | -2 |
| 3 | 4 | 9 | 12 | -0.17638 | -0.2151 | -2 |
| 3 | 4 | 9 | 12 | -0.18068 | -0.2151 | -2 |
| 3 | 4 | 9 | 12 | -0.18499 | -0.2151 | -2 |
| 3 | 4 | 9 | 12 | -0.18929 | -0.2151 | -2 |
| 3 | 4 | 9 | 12 | -0.19359 | -0.2151 | -2 |
| 3 | 4 | 9 | 12 | -0.19789 | -0.2151 | -2 |
| 3 | 4 | 9 | 12 | -0.20219 | -0.2151 | -2 |
| 3 | 4 | 9 | 12 | -0.2065 | -0.2151 | -2 |
| 3 | 4 | 9 | 12 | -0.2108 | -0.2151 | -2 |
| 3 | 4 | 9 | 12 | -0.2151 | -0.2151 | 1 |
| 3 | 4 | 9 | 12 | -0.2194 | -0.2151 | -2 |
| 3 | 4 | 9 | 12 | -0.2237 | -0.2151 | -2 |
| 3 | 4 | 9 | 12 | -0.22801 | -0.2151 | -2 |
| 3 | 4 | 9 | 12 | -0.23231 | -0.2151 | -2 |
| 3 | 4 | 9 | 12 | -0.23661 | -0.2151 | -2 |
| 3 | 4 | 9 | 12 | -0.24091 | -0.2151 | -2 |
| 3 | 4 | 9 | 12 | -0.24521 | -0.2151 | -2 |
| 3 | 4 | 9 | 12 | -0.24952 | -0.2151 | -2 |
| 3 | 4 | 9 | 12 | -0.25382 | -0.2151 | -2 |
| 3 | 4 | 9 | 12 | -0.25812 | -0.2151 | -2 |
| 3 | 4 | 9 | 5 | 0.05464 | 0.0683 | -2 |
| 3 | 4 | 9 | 5 | 0.056006 | 0.0683 | -2 |
| 3 | 4 | 9 | 5 | 0.057372 | 0.0683 | -2 |
| 3 | 4 | 9 | 5 | 0.058738 | 0.0683 | -2 |
| 3 | 4 | 9 | 5 | 0.060104 | 0.0683 | -2 |
| 3 | 4 | 9 | 5 | 0.06147 | 0.0683 | -2 |
| 3 | 4 | 9 | 5 | 0.062836 | 0.0683 | -2 |
| 3 | 4 | 9 | 5 | 0.064202 | 0.0683 | -2 |
| 3 | 4 | 9 | 5 | 0.065568 | 0.0683 | -2 |
| 3 | 4 | 9 | 5 | 0.066934 | 0.0683 | -2 |
| 3 | 4 | 9 | 5 | 0.0683 | 0.0683 | 1 |
| 3 | 4 | 9 | 5 | 0.069666 | 0.0683 | -2 |
| 3 | 4 | 9 | 5 | 0.071032 | 0.0683 | -2 |
| 3 | 4 | 9 | 5 | 0.072398 | 0.0683 | -2 |
| 3 | 4 | 9 | 5 | 0.073764 | 0.0683 | -2 |
| 3 | 4 | 9 | 5 | 0.07513 | 0.0683 | -2 |
| 3 | 4 | 9 | 5 | 0.076496 | 0.0683 | -2 |
| 3 | 4 | 9 | 5 | 0.077862 | 0.0683 | -2 |
| 3 | 4 | 9 | 5 | 0.079228 | 0.0683 | -2 |
| 3 | 4 | 9 | 5 | 0.080594 | 0.0683 | -2 |
| 3 | 4 | 9 | 5 | 0.08196 | 0.0683 | -2 |
| 5 | 8 | 9 | 5 | -0.06744 | -0.0843 | -2 |
| 5 | 8 | 9 | 5 | -0.06913 | -0.0843 | -2 |
| 5 | 8 | 9 | 5 | -0.07081 | -0.0843 | -2 |
| 5 | 8 | 9 | 5 | -0.0725 | -0.0843 | -2 |
| 5 | 8 | 9 | 5 | -0.07418 | -0.0843 | -2 |
| 5 | 8 | 9 | 5 | -0.07587 | -0.0843 | -2 |
| 5 | 8 | 9 | 5 | -0.07756 | -0.0843 | -2 |
| 5 | 8 | 9 | 5 | -0.07924 | -0.0843 | -2 |
| 5 | 8 | 9 | 5 | -0.08093 | -0.0843 | -2 |
| 5 | 8 | 9 | 5 | -0.08261 | -0.0843 | -2 |
| 5 | 8 | 9 | 5 | -0.0843 | -0.0843 | 1 |
| 5 | 8 | 9 | 5 | -0.08599 | -0.0843 | -2 |
| 5 | 8 | 9 | 5 | -0.08767 | -0.0843 | -2 |
| 5 | 8 | 9 | 5 | -0.08936 | -0.0843 | -2 |
| 5 | 8 | 9 | 5 | -0.09104 | -0.0843 | -2 |
| 5 | 8 | 9 | 5 | -0.09273 | -0.0843 | -2 |
| 5 | 8 | 9 | 5 | -0.09442 | -0.0843 | -2 |
| 5 | 8 | 9 | 5 | -0.0961 | -0.0843 | -2 |
| 5 | 8 | 9 | 5 | -0.09779 | -0.0843 | -2 |
| 5 | 8 | 9 | 5 | -0.09947 | -0.0843 | -2 |
| 5 | 8 | 9 | 5 | -0.10116 | -0.0843 | -2 |
| 2 | 3 | 2 | 18 | 0.30768 | 0.3846 | -2 |
| 2 | 3 | 2 | 18 | 0.315372 | 0.3846 | -2 |
| 2 | 3 | 2 | 18 | 0.323064 | 0.3846 | -2 |
| 2 | 3 | 2 | 18 | 0.330756 | 0.3846 | -2 |
| 2 | 3 | 2 | 18 | 0.338448 | 0.3846 | -2 |
| 2 | 3 | 2 | 18 | 0.34614 | 0.3846 | -2 |
| 2 | 3 | 2 | 18 | 0.353832 | 0.3846 | -2 |
| 2 | 3 | 2 | 18 | 0.361524 | 0.3846 | -2 |
| 2 | 3 | 2 | 18 | 0.369216 | 0.3846 | -2 |
| 2 | 3 | 2 | 18 | 0.376908 | 0.3846 | -2 |
| 2 | 3 | 2 | 18 | 0.3846 | 0.3846 | 1 |
| 2 | 3 | 2 | 18 | 0.392292 | 0.3846 | -2 |
| 2 | 3 | 2 | 18 | 0.399984 | 0.3846 | -2 |
| 2 | 3 | 2 | 18 | 0.407676 | 0.3846 | -2 |
| 2 | 3 | 2 | 18 | 0.415368 | 0.3846 | -2 |
| 2 | 3 | 2 | 18 | 0.42306 | 0.3846 | -2 |
| 2 | 3 | 2 | 18 | 0.430752 | 0.3846 | -2 |
| 2 | 3 | 2 | 18 | 0.438444 | 0.3846 | -2 |
| 2 | 3 | 2 | 18 | 0.446136 | 0.3846 | -2 |
| 2 | 3 | 2 | 18 | 0.453828 | 0.3846 | -2 |
| 2 | 3 | 2 | 18 | 0.46152 | 0.3846 | -2 |
| 3 | 4 | 2 | 18 | 0.24592 | 0.3074 | -2 |
| 3 | 4 | 2 | 18 | 0.252068 | 0.3074 | -2 |
| 3 | 4 | 2 | 18 | 0.258216 | 0.3074 | -2 |
| 3 | 4 | 2 | 18 | 0.264364 | 0.3074 | -2 |
| 3 | 4 | 2 | 18 | 0.270512 | 0.3074 | -2 |
| 3 | 4 | 2 | 18 | 0.27666 | 0.3074 | -2 |
| 3 | 4 | 2 | 18 | 0.282808 | 0.3074 | -2 |
| 3 | 4 | 2 | 18 | 0.288956 | 0.3074 | -2 |
| 3 | 4 | 2 | 18 | 0.295104 | 0.3074 | -2 |
| 3 | 4 | 2 | 18 | 0.301252 | 0.3074 | -2 |
| 3 | 4 | 2 | 18 | 0.3074 | 0.3074 | 1 |
| 3 | 4 | 2 | 18 | 0.313548 | 0.3074 | -2 |
| 3 | 4 | 2 | 18 | 0.319696 | 0.3074 | -2 |
| 3 | 4 | 2 | 18 | 0.325844 | 0.3074 | -2 |
| 3 | 4 | 2 | 18 | 0.331992 | 0.3074 | -2 |
| 3 | 4 | 2 | 18 | 0.33814 | 0.3074 | -2 |
| 3 | 4 | 2 | 18 | 0.344288 | 0.3074 | -2 |
| 3 | 4 | 2 | 18 | 0.350436 | 0.3074 | -2 |
| 3 | 4 | 2 | 18 | 0.356584 | 0.3074 | -2 |
| 3 | 4 | 2 | 18 | 0.362732 | 0.3074 | -2 |
| 3 | 4 | 2 | 18 | 0.36888 | 0.3074 | -2 |
| 5 | 8 | 2 | 18 | 0.22848 | 0.2856 | -2 |
| 5 | 8 | 2 | 18 | 0.234192 | 0.2856 | -2 |
| 5 | 8 | 2 | 18 | 0.239904 | 0.2856 | -2 |
| 5 | 8 | 2 | 18 | 0.245616 | 0.2856 | -2 |
| 5 | 8 | 2 | 18 | 0.251328 | 0.2856 | -2 |
| 5 | 8 | 2 | 18 | 0.25704 | 0.2856 | -2 |
| 5 | 8 | 2 | 18 | 0.262752 | 0.2856 | -2 |
| 5 | 8 | 2 | 18 | 0.268464 | 0.2856 | -2 |
| 5 | 8 | 2 | 18 | 0.274176 | 0.2856 | -2 |
| 5 | 8 | 2 | 18 | 0.279888 | 0.2856 | -2 |
| 5 | 8 | 2 | 18 | 0.2856 | 0.2856 | 1 |
| 5 | 8 | 2 | 18 | 0.291312 | 0.2856 | -2 |
| 5 | 8 | 2 | 18 | 0.297024 | 0.2856 | -2 |
| 5 | 8 | 2 | 18 | 0.302736 | 0.2856 | -2 |
| 5 | 8 | 2 | 18 | 0.308448 | 0.2856 | -2 |
| 5 | 8 | 2 | 18 | 0.31416 | 0.2856 | -2 |
| 5 | 8 | 2 | 18 | 0.319872 | 0.2856 | -2 |
| 5 | 8 | 2 | 18 | 0.325584 | 0.2856 | -2 |
| 5 | 8 | 2 | 18 | 0.331296 | 0.2856 | -2 |
| 5 | 8 | 2 | 18 | 0.337008 | 0.2856 | -2 |
| 5 | 8 | 2 | 18 | 0.34272 | 0.2856 | -2 |
| 5 | 8 | 5 | 8 | 0.45216 | 0.5652 | -2 |
| 5 | 8 | 5 | 8 | 0.463464 | 0.5652 | -2 |
| 5 | 8 | 5 | 8 | 0.474768 | 0.5652 | -2 |
| 5 | 8 | 5 | 8 | 0.486072 | 0.5652 | -2 |
| 5 | 8 | 5 | 8 | 0.497376 | 0.5652 | -2 |
| 5 | 8 | 5 | 8 | 0.50868 | 0.5652 | -2 |
| 5 | 8 | 5 | 8 | 0.519984 | 0.5652 | -2 |
| 5 | 8 | 5 | 8 | 0.531288 | 0.5652 | -2 |
| 5 | 8 | 5 | 8 | 0.542592 | 0.5652 | -2 |
| 5 | 8 | 5 | 8 | 0.553896 | 0.5652 | -2 |
| 5 | 8 | 5 | 8 | 0.5652 | 0.5652 | 1 |
| 5 | 8 | 5 | 8 | 0.576504 | 0.5652 | -2 |
| 5 | 8 | 5 | 8 | 0.587808 | 0.5652 | -2 |
| 5 | 8 | 5 | 8 | 0.599112 | 0.5652 | -2 |
| 5 | 8 | 5 | 8 | 0.610416 | 0.5652 | -2 |
| 5 | 8 | 5 | 8 | 0.62172 | 0.5652 | -2 |
| 5 | 8 | 5 | 8 | 0.633024 | 0.5652 | -2 |
| 5 | 8 | 5 | 8 | 0.644328 | 0.5652 | -2 |
| 5 | 8 | 5 | 8 | 0.655632 | 0.5652 | -2 |
| 5 | 8 | 5 | 8 | 0.666936 | 0.5652 | -2 |
| 5 | 8 | 5 | 8 | 0.67824 | 0.5652 | -2 |
| 2 | 3 | 2 | 3 | 0.59816 | 0.7477 | -2 |
| 2 | 3 | 2 | 3 | 0.613114 | 0.7477 | -2 |
| 2 | 3 | 2 | 3 | 0.628068 | 0.7477 | -2 |
| 2 | 3 | 2 | 3 | 0.643022 | 0.7477 | -2 |
| 2 | 3 | 2 | 3 | 0.657976 | 0.7477 | -2 |
| 2 | 3 | 2 | 3 | 0.67293 | 0.7477 | -2 |
| 2 | 3 | 2 | 3 | 0.687884 | 0.7477 | -2 |
| 2 | 3 | 2 | 3 | 0.702838 | 0.7477 | -2 |
| 2 | 3 | 2 | 3 | 0.717792 | 0.7477 | -2 |
| 2 | 3 | 2 | 3 | 0.732746 | 0.7477 | -2 |
| 2 | 3 | 2 | 3 | 0.7477 | 0.7477 | 1 |
| 2 | 3 | 2 | 3 | 0.762654 | 0.7477 | -2 |
| 2 | 3 | 2 | 3 | 0.777608 | 0.7477 | -2 |
| 2 | 3 | 2 | 3 | 0.792562 | 0.7477 | -2 |
| 2 | 3 | 2 | 3 | 0.807516 | 0.7477 | -2 |
| 2 | 3 | 2 | 3 | 0.82247 | 0.7477 | -2 |
| 2 | 3 | 2 | 3 | 0.837424 | 0.7477 | -2 |
| 2 | 3 | 2 | 3 | 0.852378 | 0.7477 | -2 |
| 2 | 3 | 2 | 3 | 0.867332 | 0.7477 | -2 |
| 2 | 3 | 2 | 3 | 0.882286 | 0.7477 | -2 |
| 2 | 3 | 2 | 3 | 0.89724 | 0.7477 | -2 |
| 3 | 4 | 2 | 3 | -0.0696 | -0.087 | -2 |
| 3 | 4 | 2 | 3 | -0.07134 | -0.087 | -2 |
| 3 | 4 | 2 | 3 | -0.07308 | -0.087 | -2 |
| 3 | 4 | 2 | 3 | -0.07482 | -0.087 | -2 |
| 3 | 4 | 2 | 3 | -0.07656 | -0.087 | -2 |
| 3 | 4 | 2 | 3 | -0.0783 | -0.087 | -2 |
| 3 | 4 | 2 | 3 | -0.08004 | -0.087 | -2 |
| 3 | 4 | 2 | 3 | -0.08178 | -0.087 | -2 |
| 3 | 4 | 2 | 3 | -0.08352 | -0.087 | -2 |
| 3 | 4 | 2 | 3 | -0.08526 | -0.087 | -2 |
| 3 | 4 | 2 | 3 | -0.087 | -0.087 | 1 |
| 3 | 4 | 2 | 3 | -0.08874 | -0.087 | -2 |
| 3 | 4 | 2 | 3 | -0.09048 | -0.087 | -2 |
| 3 | 4 | 2 | 3 | -0.09222 | -0.087 | -2 |
| 3 | 4 | 2 | 3 | -0.09396 | -0.087 | -2 |
| 3 | 4 | 2 | 3 | -0.0957 | -0.087 | -2 |
| 3 | 4 | 2 | 3 | -0.09744 | -0.087 | -2 |
| 3 | 4 | 2 | 3 | -0.09918 | -0.087 | -2 |
| 3 | 4 | 2 | 3 | -0.10092 | -0.087 | -2 |
| 3 | 4 | 2 | 3 | -0.10266 | -0.087 | -2 |
| 3 | 4 | 2 | 3 | -0.1044 | -0.087 | -2 |
| 5 | 8 | 2 | 3 | -0.04024 | -0.0503 | -2 |
| 5 | 8 | 2 | 3 | -0.04125 | -0.0503 | -2 |
| 5 | 8 | 2 | 3 | -0.04225 | -0.0503 | -2 |
| 5 | 8 | 2 | 3 | -0.04326 | -0.0503 | -2 |
| 5 | 8 | 2 | 3 | -0.04426 | -0.0503 | -2 |
| 5 | 8 | 2 | 3 | -0.04527 | -0.0503 | -2 |
| 5 | 8 | 2 | 3 | -0.04628 | -0.0503 | -2 |
| 5 | 8 | 2 | 3 | -0.04728 | -0.0503 | -2 |
| 5 | 8 | 2 | 3 | -0.04829 | -0.0503 | -2 |
| 5 | 8 | 2 | 3 | -0.04929 | -0.0503 | -2 |
| 5 | 8 | 2 | 3 | -0.0503 | -0.0503 | 1 |
| 5 | 8 | 2 | 3 | -0.05131 | -0.0503 | -2 |
| 5 | 8 | 2 | 3 | -0.05231 | -0.0503 | -2 |
| 5 | 8 | 2 | 3 | -0.05332 | -0.0503 | -2 |
| 5 | 8 | 2 | 3 | -0.05432 | -0.0503 | -2 |
| 5 | 8 | 2 | 3 | -0.05533 | -0.0503 | -2 |
| 5 | 8 | 2 | 3 | -0.05634 | -0.0503 | -2 |
| 5 | 8 | 2 | 3 | -0.05734 | -0.0503 | -2 |
| 5 | 8 | 2 | 3 | -0.05835 | -0.0503 | -2 |
| 5 | 8 | 2 | 3 | -0.05935 | -0.0503 | -2 |
| 5 | 8 | 2 | 3 | -0.06036 | -0.0503 | -2 |
| 3 | 4 | 14 | 12 | -0.07536 | -0.0942 | -2 |
| 3 | 4 | 14 | 12 | -0.07724 | -0.0942 | -2 |
| 3 | 4 | 14 | 12 | -0.07913 | -0.0942 | -2 |
| 3 | 4 | 14 | 12 | -0.08101 | -0.0942 | -2 |
| 3 | 4 | 14 | 12 | -0.0829 | -0.0942 | -2 |
| 3 | 4 | 14 | 12 | -0.08478 | -0.0942 | -2 |
| 3 | 4 | 14 | 12 | -0.08666 | -0.0942 | -2 |
| 3 | 4 | 14 | 12 | -0.08855 | -0.0942 | -2 |
| 3 | 4 | 14 | 12 | -0.09043 | -0.0942 | -2 |
| 3 | 4 | 14 | 12 | -0.09232 | -0.0942 | -2 |
| 3 | 4 | 14 | 12 | -0.0942 | -0.0942 | 1 |
| 3 | 4 | 14 | 12 | -0.09608 | -0.0942 | -2 |
| 3 | 4 | 14 | 12 | -0.09797 | -0.0942 | -2 |
| 3 | 4 | 14 | 12 | -0.09985 | -0.0942 | -2 |
| 3 | 4 | 14 | 12 | -0.10174 | -0.0942 | -2 |
| 3 | 4 | 14 | 12 | -0.10362 | -0.0942 | -2 |
| 3 | 4 | 14 | 12 | -0.1055 | -0.0942 | -2 |
| 3 | 4 | 14 | 12 | -0.10739 | -0.0942 | -2 |
| 3 | 4 | 14 | 12 | -0.10927 | -0.0942 | -2 |
| 3 | 4 | 14 | 12 | -0.11116 | -0.0942 | -2 |
| 3 | 4 | 14 | 12 | -0.11304 | -0.0942 | -2 |

# Appendix F: Simultaneous PTDF estimation for Case 1

| Table F.1: Simultaneous estimation of PTDF set # 1 |  |  |  |  |
| --- | --- | --- | --- | --- |
| 1st PTDF estimated value | 2nd PTDF estimated value | Feasibility flag (feasible=1) | 1st PTDF true value | 2nd PTDF true value |
| 0.45712 | 0.11432 | -2 | 0.5714 | 0.1429 |
| 0.51426 | 0.11432 | -2 | 0.5714 | 0.1429 |
| 0.5714 | 0.11432 | -2 | 0.5714 | 0.1429 |
| 0.62854 | 0.11432 | -2 | 0.5714 | 0.1429 |
| 0.68568 | 0.11432 | -2 | 0.5714 | 0.1429 |
| 0.45712 | 0.12861 | -2 | 0.5714 | 0.1429 |
| 0.51426 | 0.12861 | -2 | 0.5714 | 0.1429 |
| 0.5714 | 0.12861 | -2 | 0.5714 | 0.1429 |
| 0.62854 | 0.12861 | -2 | 0.5714 | 0.1429 |
| 0.68568 | 0.12861 | -2 | 0.5714 | 0.1429 |
| 0.45712 | 0.1429 | -2 | 0.5714 | 0.1429 |
| 0.51426 | 0.1429 | -2 | 0.5714 | 0.1429 |
| 0.5714 | 0.1429 | 1 | 0.5714 | 0.1429 |
| 0.62854 | 0.1429 | 1 | 0.5714 | 0.1429 |
| 0.68568 | 0.1429 | 1 | 0.5714 | 0.1429 |
| 0.45712 | 0.15719 | 1 | 0.5714 | 0.1429 |
| 0.51426 | 0.15719 | 1 | 0.5714 | 0.1429 |
| 0.5714 | 0.15719 | 1 | 0.5714 | 0.1429 |
| 0.62854 | 0.15719 | 1 | 0.5714 | 0.1429 |
| 0.68568 | 0.15719 | 1 | 0.5714 | 0.1429 |
| 0.45712 | 0.17148 | 1 | 0.5714 | 0.1429 |
| 0.51426 | 0.17148 | 1 | 0.5714 | 0.1429 |
| 0.5714 | 0.17148 | 1 | 0.5714 | 0.1429 |
| 0.62854 | 0.17148 | 1 | 0.5714 | 0.1429 |
| 0.68568 | 0.17148 | 1 | 0.5714 | 0.1429 |

Note that Table F.1 cannot be used to single out the true values however it provides a range of values including the true values of PTDFs.

| Table F.2: Simultaneous estimation of PTDF set # 2 |  |  |  |  |
| --- | --- | --- | --- | --- |
| 1st PTDF estimated value | 2nd PTDF estimated value | Feasibility flag (feasible=1) | 1st PTDF true value | 2nd PTDF true value |
| 0.11432 | -0.11432 | -2 | 0.1429 | -0.1429 |
| 0.12861 | -0.11432 | -2 | 0.1429 | -0.1429 |
| 0.1429 | -0.11432 | -2 | 0.1429 | -0.1429 |
| 0.15719 | -0.11432 | -2 | 0.1429 | -0.1429 |
| 0.17148 | -0.11432 | -2 | 0.1429 | -0.1429 |
| 0.11432 | -0.12861 | -2 | 0.1429 | -0.1429 |
| 0.12861 | -0.12861 | -2 | 0.1429 | -0.1429 |
| 0.1429 | -0.12861 | -2 | 0.1429 | -0.1429 |
| 0.15719 | -0.12861 | -2 | 0.1429 | -0.1429 |
| 0.17148 | -0.12861 | -2 | 0.1429 | -0.1429 |
| 0.11432 | -0.1429 | -2 | 0.1429 | -0.1429 |
| 0.12861 | -0.1429 | -2 | 0.1429 | -0.1429 |
| 0.1429 | -0.1429 | 1 | 0.1429 | -0.1429 |
| 0.15719 | -0.1429 | 1 | 0.1429 | -0.1429 |
| 0.17148 | -0.1429 | 1 | 0.1429 | -0.1429 |
| 0.11432 | -0.15719 | -2 | 0.1429 | -0.1429 |
| 0.12861 | -0.15719 | -2 | 0.1429 | -0.1429 |
| 0.1429 | -0.15719 | -2 | 0.1429 | -0.1429 |
| 0.15719 | -0.15719 | -2 | 0.1429 | -0.1429 |
| 0.17148 | -0.15719 | -2 | 0.1429 | -0.1429 |
| 0.11432 | -0.17148 | -2 | 0.1429 | -0.1429 |
| 0.12861 | -0.17148 | -2 | 0.1429 | -0.1429 |
| 0.1429 | -0.17148 | -2 | 0.1429 | -0.1429 |
| 0.15719 | -0.17148 | -2 | 0.1429 | -0.1429 |
| 0.17148 | -0.17148 | -2 | 0.1429 | -0.1429 |

| Table F.3: Simultaneous estimation of PTDF set # 3 |  |  |  |  |
| --- | --- | --- | --- | --- |
| 1st PTDF estimated value | 2nd PTDF estimated value | Feasibility flag (feasible=1) | 1st PTDF true value | 2nd PTDF true value |
| -0.11432 | -0.22856 | -2 | -0.1429 | -0.2857 |
| -0.12861 | -0.22856 | -2 | -0.1429 | -0.2857 |
| -0.1429 | -0.22856 | -2 | -0.1429 | -0.2857 |
| -0.15719 | -0.22856 | -2 | -0.1429 | -0.2857 |
| -0.17148 | -0.22856 | -2 | -0.1429 | -0.2857 |
| -0.11432 | -0.25713 | -2 | -0.1429 | -0.2857 |
| -0.12861 | -0.25713 | -2 | -0.1429 | -0.2857 |
| -0.1429 | -0.25713 | -2 | -0.1429 | -0.2857 |
| -0.15719 | -0.25713 | -2 | -0.1429 | -0.2857 |
| -0.17148 | -0.25713 | -2 | -0.1429 | -0.2857 |
| -0.11432 | -0.2857 | -2 | -0.1429 | -0.2857 |
| -0.12861 | -0.2857 | -2 | -0.1429 | -0.2857 |
| -0.1429 | -0.2857 | 1 | -0.1429 | -0.2857 |
| -0.15719 | -0.2857 | -2 | -0.1429 | -0.2857 |
| -0.17148 | -0.2857 | -2 | -0.1429 | -0.2857 |
| -0.11432 | -0.31427 | -2 | -0.1429 | -0.2857 |
| -0.12861 | -0.31427 | -2 | -0.1429 | -0.2857 |
| -0.1429 | -0.31427 | -2 | -0.1429 | -0.2857 |
| -0.15719 | -0.31427 | -2 | -0.1429 | -0.2857 |
| -0.17148 | -0.31427 | -2 | -0.1429 | -0.2857 |
| -0.11432 | -0.34284 | -2 | -0.1429 | -0.2857 |
| -0.12861 | -0.34284 | -2 | -0.1429 | -0.2857 |
| -0.1429 | -0.34284 | -2 | -0.1429 | -0.2857 |
| -0.15719 | -0.34284 | -2 | -0.1429 | -0.2857 |
| -0.17148 | -0.34284 | -2 | -0.1429 | -0.2857 |

| Table F.4: Simultaneous estimation of PTDF set # 4 |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 1st PTDF estimated value | 2nd PTDF estimated value | 3rd PTDF estimated value | Feasibility flag (feasible=1) | 1st PTDF true value | 2nd PTDF true value | 3rd PTDF true value |
| 0.45712 | 0.11432 | 0.22856 | -2 | 0.5714 | 0.1429 | 0.2857 |
| 0.51426 | 0.11432 | 0.22856 | -2 | 0.5714 | 0.1429 | 0.2857 |
| 0.5714 | 0.11432 | 0.22856 | -2 | 0.5714 | 0.1429 | 0.2857 |
| 0.62854 | 0.11432 | 0.22856 | -2 | 0.5714 | 0.1429 | 0.2857 |
| 0.68568 | 0.11432 | 0.22856 | -2 | 0.5714 | 0.1429 | 0.2857 |
| 0.45712 | 0.11432 | 0.25713 | -2 | 0.5714 | 0.1429 | 0.2857 |
| 0.51426 | 0.11432 | 0.25713 | -2 | 0.5714 | 0.1429 | 0.2857 |
| 0.5714 | 0.11432 | 0.25713 | -2 | 0.5714 | 0.1429 | 0.2857 |
| 0.62854 | 0.11432 | 0.25713 | -2 | 0.5714 | 0.1429 | 0.2857 |
| 0.68568 | 0.11432 | 0.25713 | -2 | 0.5714 | 0.1429 | 0.2857 |
| 0.45712 | 0.11432 | 0.2857 | -2 | 0.5714 | 0.1429 | 0.2857 |
| 0.51426 | 0.11432 | 0.2857 | -2 | 0.5714 | 0.1429 | 0.2857 |
| 0.5714 | 0.11432 | 0.2857 | -2 | 0.5714 | 0.1429 | 0.2857 |
| 0.62854 | 0.11432 | 0.2857 | -2 | 0.5714 | 0.1429 | 0.2857 |
| 0.68568 | 0.11432 | 0.2857 | -2 | 0.5714 | 0.1429 | 0.2857 |
| 0.45712 | 0.11432 | 0.31427 | -2 | 0.5714 | 0.1429 | 0.2857 |
| 0.51426 | 0.11432 | 0.31427 | 1 | 0.5714 | 0.1429 | 0.2857 |
| 0.5714 | 0.11432 | 0.31427 | 1 | 0.5714 | 0.1429 | 0.2857 |
| 0.62854 | 0.11432 | 0.31427 | 1 | 0.5714 | 0.1429 | 0.2857 |
| 0.68568 | 0.11432 | 0.31427 | 1 | 0.5714 | 0.1429 | 0.2857 |
| 0.45712 | 0.11432 | 0.34284 | 1 | 0.5714 | 0.1429 | 0.2857 |
| 0.51426 | 0.11432 | 0.34284 | 1 | 0.5714 | 0.1429 | 0.2857 |
| 0.5714 | 0.11432 | 0.34284 | 1 | 0.5714 | 0.1429 | 0.2857 |
| 0.62854 | 0.11432 | 0.34284 | 1 | 0.5714 | 0.1429 | 0.2857 |
| 0.68568 | 0.11432 | 0.34284 | 1 | 0.5714 | 0.1429 | 0.2857 |
| 0.45712 | 0.12861 | 0.22856 | -2 | 0.5714 | 0.1429 | 0.2857 |
| 0.51426 | 0.12861 | 0.22856 | -2 | 0.5714 | 0.1429 | 0.2857 |
| 0.5714 | 0.12861 | 0.22856 | -2 | 0.5714 | 0.1429 | 0.2857 |
| 0.62854 | 0.12861 | 0.22856 | -2 | 0.5714 | 0.1429 | 0.2857 |
| 0.68568 | 0.12861 | 0.22856 | -2 | 0.5714 | 0.1429 | 0.2857 |
| 0.45712 | 0.12861 | 0.25713 | -2 | 0.5714 | 0.1429 | 0.2857 |
| 0.51426 | 0.12861 | 0.25713 | -2 | 0.5714 | 0.1429 | 0.2857 |
| 0.5714 | 0.12861 | 0.25713 | -2 | 0.5714 | 0.1429 | 0.2857 |
| 0.62854 | 0.12861 | 0.25713 | -2 | 0.5714 | 0.1429 | 0.2857 |
| 0.68568 | 0.12861 | 0.25713 | -2 | 0.5714 | 0.1429 | 0.2857 |
| 0.45712 | 0.12861 | 0.2857 | -2 | 0.5714 | 0.1429 | 0.2857 |
| 0.51426 | 0.12861 | 0.2857 | -2 | 0.5714 | 0.1429 | 0.2857 |
| 0.5714 | 0.12861 | 0.2857 | -2 | 0.5714 | 0.1429 | 0.2857 |
| 0.62854 | 0.12861 | 0.2857 | -2 | 0.5714 | 0.1429 | 0.2857 |
| 0.68568 | 0.12861 | 0.2857 | -2 | 0.5714 | 0.1429 | 0.2857 |
| 0.45712 | 0.12861 | 0.31427 | 1 | 0.5714 | 0.1429 | 0.2857 |
| 0.51426 | 0.12861 | 0.31427 | 1 | 0.5714 | 0.1429 | 0.2857 |
| 0.5714 | 0.12861 | 0.31427 | 1 | 0.5714 | 0.1429 | 0.2857 |
| 0.62854 | 0.12861 | 0.31427 | 1 | 0.5714 | 0.1429 | 0.2857 |
| 0.68568 | 0.12861 | 0.31427 | -3 | 0.5714 | 0.1429 | 0.2857 |
| 0.45712 | 0.12861 | 0.34284 | 1 | 0.5714 | 0.1429 | 0.2857 |
| 0.51426 | 0.12861 | 0.34284 | 1 | 0.5714 | 0.1429 | 0.2857 |
| 0.5714 | 0.12861 | 0.34284 | 1 | 0.5714 | 0.1429 | 0.2857 |
| 0.62854 | 0.12861 | 0.34284 | 1 | 0.5714 | 0.1429 | 0.2857 |
| 0.68568 | 0.12861 | 0.34284 | 1 | 0.5714 | 0.1429 | 0.2857 |
| 0.45712 | 0.1429 | 0.22856 | -2 | 0.5714 | 0.1429 | 0.2857 |
| 0.51426 | 0.1429 | 0.22856 | -2 | 0.5714 | 0.1429 | 0.2857 |
| 0.5714 | 0.1429 | 0.22856 | -2 | 0.5714 | 0.1429 | 0.2857 |
| 0.62854 | 0.1429 | 0.22856 | -2 | 0.5714 | 0.1429 | 0.2857 |
| 0.68568 | 0.1429 | 0.22856 | -2 | 0.5714 | 0.1429 | 0.2857 |
| 0.45712 | 0.1429 | 0.25713 | -2 | 0.5714 | 0.1429 | 0.2857 |
| 0.51426 | 0.1429 | 0.25713 | -2 | 0.5714 | 0.1429 | 0.2857 |
| 0.5714 | 0.1429 | 0.25713 | -2 | 0.5714 | 0.1429 | 0.2857 |
| 0.62854 | 0.1429 | 0.25713 | -2 | 0.5714 | 0.1429 | 0.2857 |
| 0.68568 | 0.1429 | 0.25713 | -2 | 0.5714 | 0.1429 | 0.2857 |
| 0.45712 | 0.1429 | 0.2857 | -2 | 0.5714 | 0.1429 | 0.2857 |
| 0.51426 | 0.1429 | 0.2857 | -2 | 0.5714 | 0.1429 | 0.2857 |
| 0.5714 | 0.1429 | 0.2857 | 1 | 0.5714 | 0.1429 | 0.2857 |
| 0.62854 | 0.1429 | 0.2857 | 1 | 0.5714 | 0.1429 | 0.2857 |
| 0.68568 | 0.1429 | 0.2857 | 1 | 0.5714 | 0.1429 | 0.2857 |
| 0.45712 | 0.1429 | 0.31427 | 1 | 0.5714 | 0.1429 | 0.2857 |
| 0.51426 | 0.1429 | 0.31427 | 1 | 0.5714 | 0.1429 | 0.2857 |
| 0.5714 | 0.1429 | 0.31427 | 1 | 0.5714 | 0.1429 | 0.2857 |
| 0.62854 | 0.1429 | 0.31427 | 1 | 0.5714 | 0.1429 | 0.2857 |
| 0.68568 | 0.1429 | 0.31427 | 1 | 0.5714 | 0.1429 | 0.2857 |
| 0.45712 | 0.1429 | 0.34284 | 1 | 0.5714 | 0.1429 | 0.2857 |
| 0.51426 | 0.1429 | 0.34284 | 1 | 0.5714 | 0.1429 | 0.2857 |
| 0.5714 | 0.1429 | 0.34284 | 1 | 0.5714 | 0.1429 | 0.2857 |
| 0.62854 | 0.1429 | 0.34284 | 1 | 0.5714 | 0.1429 | 0.2857 |
| 0.68568 | 0.1429 | 0.34284 | 1 | 0.5714 | 0.1429 | 0.2857 |
| 0.45712 | 0.15719 | 0.22856 | -2 | 0.5714 | 0.1429 | 0.2857 |
| 0.51426 | 0.15719 | 0.22856 | -2 | 0.5714 | 0.1429 | 0.2857 |
| 0.5714 | 0.15719 | 0.22856 | -2 | 0.5714 | 0.1429 | 0.2857 |
| 0.62854 | 0.15719 | 0.22856 | -2 | 0.5714 | 0.1429 | 0.2857 |
| 0.68568 | 0.15719 | 0.22856 | -2 | 0.5714 | 0.1429 | 0.2857 |
| 0.45712 | 0.15719 | 0.25713 | -2 | 0.5714 | 0.1429 | 0.2857 |
| 0.51426 | 0.15719 | 0.25713 | -2 | 0.5714 | 0.1429 | 0.2857 |
| 0.5714 | 0.15719 | 0.25713 | -2 | 0.5714 | 0.1429 | 0.2857 |
| 0.62854 | 0.15719 | 0.25713 | -2 | 0.5714 | 0.1429 | 0.2857 |
| 0.68568 | 0.15719 | 0.25713 | -2 | 0.5714 | 0.1429 | 0.2857 |
| 0.45712 | 0.15719 | 0.2857 | 1 | 0.5714 | 0.1429 | 0.2857 |
| 0.51426 | 0.15719 | 0.2857 | 1 | 0.5714 | 0.1429 | 0.2857 |
| 0.5714 | 0.15719 | 0.2857 | 1 | 0.5714 | 0.1429 | 0.2857 |
| 0.62854 | 0.15719 | 0.2857 | 1 | 0.5714 | 0.1429 | 0.2857 |
| 0.68568 | 0.15719 | 0.2857 | 1 | 0.5714 | 0.1429 | 0.2857 |
| 0.45712 | 0.15719 | 0.31427 | 1 | 0.5714 | 0.1429 | 0.2857 |
| 0.51426 | 0.15719 | 0.31427 | 1 | 0.5714 | 0.1429 | 0.2857 |
| 0.5714 | 0.15719 | 0.31427 | 1 | 0.5714 | 0.1429 | 0.2857 |
| 0.62854 | 0.15719 | 0.31427 | 1 | 0.5714 | 0.1429 | 0.2857 |
| 0.68568 | 0.15719 | 0.31427 | 1 | 0.5714 | 0.1429 | 0.2857 |
| 0.45712 | 0.15719 | 0.34284 | 1 | 0.5714 | 0.1429 | 0.2857 |
| 0.51426 | 0.15719 | 0.34284 | 1 | 0.5714 | 0.1429 | 0.2857 |
| 0.5714 | 0.15719 | 0.34284 | 1 | 0.5714 | 0.1429 | 0.2857 |
| 0.62854 | 0.15719 | 0.34284 | 1 | 0.5714 | 0.1429 | 0.2857 |
| 0.68568 | 0.15719 | 0.34284 | 1 | 0.5714 | 0.1429 | 0.2857 |
| 0.45712 | 0.17148 | 0.22856 | -2 | 0.5714 | 0.1429 | 0.2857 |
| 0.51426 | 0.17148 | 0.22856 | -2 | 0.5714 | 0.1429 | 0.2857 |
| 0.5714 | 0.17148 | 0.22856 | -2 | 0.5714 | 0.1429 | 0.2857 |
| 0.62854 | 0.17148 | 0.22856 | -2 | 0.5714 | 0.1429 | 0.2857 |
| 0.68568 | 0.17148 | 0.22856 | -2 | 0.5714 | 0.1429 | 0.2857 |
| 0.45712 | 0.17148 | 0.25713 | -2 | 0.5714 | 0.1429 | 0.2857 |
| 0.51426 | 0.17148 | 0.25713 | -2 | 0.5714 | 0.1429 | 0.2857 |
| 0.5714 | 0.17148 | 0.25713 | -2 | 0.5714 | 0.1429 | 0.2857 |
| 0.62854 | 0.17148 | 0.25713 | -2 | 0.5714 | 0.1429 | 0.2857 |
| 0.68568 | 0.17148 | 0.25713 | 1 | 0.5714 | 0.1429 | 0.2857 |
| 0.45712 | 0.17148 | 0.2857 | 1 | 0.5714 | 0.1429 | 0.2857 |
| 0.51426 | 0.17148 | 0.2857 | 1 | 0.5714 | 0.1429 | 0.2857 |
| 0.5714 | 0.17148 | 0.2857 | 1 | 0.5714 | 0.1429 | 0.2857 |
| 0.62854 | 0.17148 | 0.2857 | 1 | 0.5714 | 0.1429 | 0.2857 |
| 0.68568 | 0.17148 | 0.2857 | 1 | 0.5714 | 0.1429 | 0.2857 |
| 0.45712 | 0.17148 | 0.31427 | 1 | 0.5714 | 0.1429 | 0.2857 |
| 0.51426 | 0.17148 | 0.31427 | 1 | 0.5714 | 0.1429 | 0.2857 |
| 0.5714 | 0.17148 | 0.31427 | 1 | 0.5714 | 0.1429 | 0.2857 |
| 0.62854 | 0.17148 | 0.31427 | 1 | 0.5714 | 0.1429 | 0.2857 |
| 0.68568 | 0.17148 | 0.31427 | 1 | 0.5714 | 0.1429 | 0.2857 |
| 0.45712 | 0.17148 | 0.34284 | -2 | 0.5714 | 0.1429 | 0.2857 |
| 0.51426 | 0.17148 | 0.34284 | -2 | 0.5714 | 0.1429 | 0.2857 |
| 0.5714 | 0.17148 | 0.34284 | -2 | 0.5714 | 0.1429 | 0.2857 |
| 0.62854 | 0.17148 | 0.34284 | -2 | 0.5714 | 0.1429 | 0.2857 |
| 0.68568 | 0.17148 | 0.34284 | -2 | 0.5714 | 0.1429 | 0.2857 |

| Table F.5: Simultaneous estimation of PTDF set # 5 |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 1st PTDF estimated value | 2nd PTDF estimated value | 3rd PTDF estimated value | Feasibility flag (feasible=1) | 1st PTDF true value | 2nd PTDF true value | 3rd PTDF true value |
| 0.45712 | 0.11432 | -0.11432 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.51426 | 0.11432 | -0.11432 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.5714 | 0.11432 | -0.11432 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.62854 | 0.11432 | -0.11432 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.68568 | 0.11432 | -0.11432 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.45712 | 0.11432 | -0.12861 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.51426 | 0.11432 | -0.12861 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.5714 | 0.11432 | -0.12861 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.62854 | 0.11432 | -0.12861 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.68568 | 0.11432 | -0.12861 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.45712 | 0.11432 | -0.1429 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.51426 | 0.11432 | -0.1429 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.5714 | 0.11432 | -0.1429 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.62854 | 0.11432 | -0.1429 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.68568 | 0.11432 | -0.1429 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.45712 | 0.11432 | -0.15719 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.51426 | 0.11432 | -0.15719 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.5714 | 0.11432 | -0.15719 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.62854 | 0.11432 | -0.15719 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.68568 | 0.11432 | -0.15719 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.45712 | 0.11432 | -0.17148 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.51426 | 0.11432 | -0.17148 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.5714 | 0.11432 | -0.17148 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.62854 | 0.11432 | -0.17148 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.68568 | 0.11432 | -0.17148 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.45712 | 0.12861 | -0.11432 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.51426 | 0.12861 | -0.11432 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.5714 | 0.12861 | -0.11432 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.62854 | 0.12861 | -0.11432 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.68568 | 0.12861 | -0.11432 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.45712 | 0.12861 | -0.12861 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.51426 | 0.12861 | -0.12861 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.5714 | 0.12861 | -0.12861 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.62854 | 0.12861 | -0.12861 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.68568 | 0.12861 | -0.12861 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.45712 | 0.12861 | -0.1429 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.51426 | 0.12861 | -0.1429 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.5714 | 0.12861 | -0.1429 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.62854 | 0.12861 | -0.1429 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.68568 | 0.12861 | -0.1429 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.45712 | 0.12861 | -0.15719 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.51426 | 0.12861 | -0.15719 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.5714 | 0.12861 | -0.15719 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.62854 | 0.12861 | -0.15719 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.68568 | 0.12861 | -0.15719 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.45712 | 0.12861 | -0.17148 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.51426 | 0.12861 | -0.17148 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.5714 | 0.12861 | -0.17148 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.62854 | 0.12861 | -0.17148 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.68568 | 0.12861 | -0.17148 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.45712 | 0.1429 | -0.11432 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.51426 | 0.1429 | -0.11432 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.5714 | 0.1429 | -0.11432 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.62854 | 0.1429 | -0.11432 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.68568 | 0.1429 | -0.11432 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.45712 | 0.1429 | -0.12861 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.51426 | 0.1429 | -0.12861 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.5714 | 0.1429 | -0.12861 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.62854 | 0.1429 | -0.12861 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.68568 | 0.1429 | -0.12861 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.45712 | 0.1429 | -0.1429 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.51426 | 0.1429 | -0.1429 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.5714 | 0.1429 | -0.1429 | 1 | 0.5714 | 0.1429 | -0.1429 |
| 0.62854 | 0.1429 | -0.1429 | 1 | 0.5714 | 0.1429 | -0.1429 |
| 0.68568 | 0.1429 | -0.1429 | 1 | 0.5714 | 0.1429 | -0.1429 |
| 0.45712 | 0.1429 | -0.15719 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.51426 | 0.1429 | -0.15719 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.5714 | 0.1429 | -0.15719 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.62854 | 0.1429 | -0.15719 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.68568 | 0.1429 | -0.15719 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.45712 | 0.1429 | -0.17148 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.51426 | 0.1429 | -0.17148 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.5714 | 0.1429 | -0.17148 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.62854 | 0.1429 | -0.17148 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.68568 | 0.1429 | -0.17148 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.45712 | 0.15719 | -0.11432 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.51426 | 0.15719 | -0.11432 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.5714 | 0.15719 | -0.11432 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.62854 | 0.15719 | -0.11432 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.68568 | 0.15719 | -0.11432 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.45712 | 0.15719 | -0.12861 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.51426 | 0.15719 | -0.12861 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.5714 | 0.15719 | -0.12861 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.62854 | 0.15719 | -0.12861 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.68568 | 0.15719 | -0.12861 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.45712 | 0.15719 | -0.1429 | 1 | 0.5714 | 0.1429 | -0.1429 |
| 0.51426 | 0.15719 | -0.1429 | 1 | 0.5714 | 0.1429 | -0.1429 |
| 0.5714 | 0.15719 | -0.1429 | 1 | 0.5714 | 0.1429 | -0.1429 |
| 0.62854 | 0.15719 | -0.1429 | 1 | 0.5714 | 0.1429 | -0.1429 |
| 0.68568 | 0.15719 | -0.1429 | 1 | 0.5714 | 0.1429 | -0.1429 |
| 0.45712 | 0.15719 | -0.15719 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.51426 | 0.15719 | -0.15719 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.5714 | 0.15719 | -0.15719 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.62854 | 0.15719 | -0.15719 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.68568 | 0.15719 | -0.15719 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.45712 | 0.15719 | -0.17148 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.51426 | 0.15719 | -0.17148 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.5714 | 0.15719 | -0.17148 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.62854 | 0.15719 | -0.17148 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.68568 | 0.15719 | -0.17148 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.45712 | 0.17148 | -0.11432 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.51426 | 0.17148 | -0.11432 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.5714 | 0.17148 | -0.11432 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.62854 | 0.17148 | -0.11432 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.68568 | 0.17148 | -0.11432 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.45712 | 0.17148 | -0.12861 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.51426 | 0.17148 | -0.12861 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.5714 | 0.17148 | -0.12861 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.62854 | 0.17148 | -0.12861 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.68568 | 0.17148 | -0.12861 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.45712 | 0.17148 | -0.1429 | 1 | 0.5714 | 0.1429 | -0.1429 |
| 0.51426 | 0.17148 | -0.1429 | 1 | 0.5714 | 0.1429 | -0.1429 |
| 0.5714 | 0.17148 | -0.1429 | 1 | 0.5714 | 0.1429 | -0.1429 |
| 0.62854 | 0.17148 | -0.1429 | 1 | 0.5714 | 0.1429 | -0.1429 |
| 0.68568 | 0.17148 | -0.1429 | 1 | 0.5714 | 0.1429 | -0.1429 |
| 0.45712 | 0.17148 | -0.15719 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.51426 | 0.17148 | -0.15719 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.5714 | 0.17148 | -0.15719 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.62854 | 0.17148 | -0.15719 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.68568 | 0.17148 | -0.15719 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.45712 | 0.17148 | -0.17148 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.51426 | 0.17148 | -0.17148 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.5714 | 0.17148 | -0.17148 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.62854 | 0.17148 | -0.17148 | -2 | 0.5714 | 0.1429 | -0.1429 |
| 0.68568 | 0.17148 | -0.17148 | -2 | 0.5714 | 0.1429 | -0.1429 |

| Table F.6: Simultaneous estimation of PTDF set # 6 |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 1st PTDF estimated value | 2nd PTDF estimated value | 3rd PTDF estimated value | Feasibility flag (feasible=1) | 1st PTDF true value | 2nd PTDF true value | 3rd PTDF true value |
| 0.45712 | -0.22856 | 0.34288 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.51426 | -0.22856 | 0.34288 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.5714 | -0.22856 | 0.34288 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.62854 | -0.22856 | 0.34288 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.68568 | -0.22856 | 0.34288 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.45712 | -0.22856 | 0.38574 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.51426 | -0.22856 | 0.38574 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.5714 | -0.22856 | 0.38574 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.62854 | -0.22856 | 0.38574 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.68568 | -0.22856 | 0.38574 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.45712 | -0.22856 | 0.4286 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.51426 | -0.22856 | 0.4286 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.5714 | -0.22856 | 0.4286 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.62854 | -0.22856 | 0.4286 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.68568 | -0.22856 | 0.4286 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.45712 | -0.22856 | 0.47146 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.51426 | -0.22856 | 0.47146 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.5714 | -0.22856 | 0.47146 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.62854 | -0.22856 | 0.47146 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.68568 | -0.22856 | 0.47146 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.45712 | -0.22856 | 0.51432 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.51426 | -0.22856 | 0.51432 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.5714 | -0.22856 | 0.51432 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.62854 | -0.22856 | 0.51432 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.68568 | -0.22856 | 0.51432 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.45712 | -0.25713 | 0.34288 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.51426 | -0.25713 | 0.34288 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.5714 | -0.25713 | 0.34288 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.62854 | -0.25713 | 0.34288 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.68568 | -0.25713 | 0.34288 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.45712 | -0.25713 | 0.38574 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.51426 | -0.25713 | 0.38574 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.5714 | -0.25713 | 0.38574 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.62854 | -0.25713 | 0.38574 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.68568 | -0.25713 | 0.38574 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.45712 | -0.25713 | 0.4286 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.51426 | -0.25713 | 0.4286 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.5714 | -0.25713 | 0.4286 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.62854 | -0.25713 | 0.4286 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.68568 | -0.25713 | 0.4286 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.45712 | -0.25713 | 0.47146 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.51426 | -0.25713 | 0.47146 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.5714 | -0.25713 | 0.47146 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.62854 | -0.25713 | 0.47146 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.68568 | -0.25713 | 0.47146 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.45712 | -0.25713 | 0.51432 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.51426 | -0.25713 | 0.51432 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.5714 | -0.25713 | 0.51432 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.62854 | -0.25713 | 0.51432 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.68568 | -0.25713 | 0.51432 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.45712 | -0.2857 | 0.34288 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.51426 | -0.2857 | 0.34288 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.5714 | -0.2857 | 0.34288 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.62854 | -0.2857 | 0.34288 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.68568 | -0.2857 | 0.34288 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.45712 | -0.2857 | 0.38574 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.51426 | -0.2857 | 0.38574 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.5714 | -0.2857 | 0.38574 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.62854 | -0.2857 | 0.38574 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.68568 | -0.2857 | 0.38574 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.45712 | -0.2857 | 0.4286 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.51426 | -0.2857 | 0.4286 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.5714 | -0.2857 | 0.4286 | 1 | 0.5714 | -0.2857 | 0.4286 |
| 0.62854 | -0.2857 | 0.4286 | 1 | 0.5714 | -0.2857 | 0.4286 |
| 0.68568 | -0.2857 | 0.4286 | 1 | 0.5714 | -0.2857 | 0.4286 |
| 0.45712 | -0.2857 | 0.47146 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.51426 | -0.2857 | 0.47146 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.5714 | -0.2857 | 0.47146 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.62854 | -0.2857 | 0.47146 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.68568 | -0.2857 | 0.47146 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.45712 | -0.2857 | 0.51432 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.51426 | -0.2857 | 0.51432 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.5714 | -0.2857 | 0.51432 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.62854 | -0.2857 | 0.51432 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.68568 | -0.2857 | 0.51432 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.45712 | -0.31427 | 0.34288 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.51426 | -0.31427 | 0.34288 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.5714 | -0.31427 | 0.34288 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.62854 | -0.31427 | 0.34288 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.68568 | -0.31427 | 0.34288 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.45712 | -0.31427 | 0.38574 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.51426 | -0.31427 | 0.38574 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.5714 | -0.31427 | 0.38574 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.62854 | -0.31427 | 0.38574 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.68568 | -0.31427 | 0.38574 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.45712 | -0.31427 | 0.4286 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.51426 | -0.31427 | 0.4286 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.5714 | -0.31427 | 0.4286 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.62854 | -0.31427 | 0.4286 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.68568 | -0.31427 | 0.4286 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.45712 | -0.31427 | 0.47146 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.51426 | -0.31427 | 0.47146 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.5714 | -0.31427 | 0.47146 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.62854 | -0.31427 | 0.47146 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.68568 | -0.31427 | 0.47146 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.45712 | -0.31427 | 0.51432 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.51426 | -0.31427 | 0.51432 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.5714 | -0.31427 | 0.51432 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.62854 | -0.31427 | 0.51432 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.68568 | -0.31427 | 0.51432 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.45712 | -0.34284 | 0.34288 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.51426 | -0.34284 | 0.34288 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.5714 | -0.34284 | 0.34288 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.62854 | -0.34284 | 0.34288 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.68568 | -0.34284 | 0.34288 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.45712 | -0.34284 | 0.38574 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.51426 | -0.34284 | 0.38574 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.5714 | -0.34284 | 0.38574 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.62854 | -0.34284 | 0.38574 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.68568 | -0.34284 | 0.38574 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.45712 | -0.34284 | 0.4286 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.51426 | -0.34284 | 0.4286 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.5714 | -0.34284 | 0.4286 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.62854 | -0.34284 | 0.4286 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.68568 | -0.34284 | 0.4286 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.45712 | -0.34284 | 0.47146 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.51426 | -0.34284 | 0.47146 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.5714 | -0.34284 | 0.47146 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.62854 | -0.34284 | 0.47146 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.68568 | -0.34284 | 0.47146 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.45712 | -0.34284 | 0.51432 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.51426 | -0.34284 | 0.51432 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.5714 | -0.34284 | 0.51432 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.62854 | -0.34284 | 0.51432 | -2 | 0.5714 | -0.2857 | 0.4286 |
| 0.68568 | -0.34284 | 0.51432 | -2 | 0.5714 | -0.2857 | 0.4286 |

| Table F.7: Simultaneous estimation of PTDF set # 7 |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 1st PTDF estimated value | 2nd PTDF estimated value | 3rd PTDF estimated value | Feasibility flag (feasible=1) | 1st PTDF true value | 2nd PTDF true value | 3rd PTDF true value |
| -0.11432 | -0.22856 | 0.34288 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.12861 | -0.22856 | 0.34288 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.1429 | -0.22856 | 0.34288 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.15719 | -0.22856 | 0.34288 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.17148 | -0.22856 | 0.34288 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.11432 | -0.22856 | 0.38574 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.12861 | -0.22856 | 0.38574 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.1429 | -0.22856 | 0.38574 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.15719 | -0.22856 | 0.38574 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.17148 | -0.22856 | 0.38574 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.11432 | -0.22856 | 0.4286 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.12861 | -0.22856 | 0.4286 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.1429 | -0.22856 | 0.4286 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.15719 | -0.22856 | 0.4286 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.17148 | -0.22856 | 0.4286 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.11432 | -0.22856 | 0.47146 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.12861 | -0.22856 | 0.47146 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.1429 | -0.22856 | 0.47146 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.15719 | -0.22856 | 0.47146 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.17148 | -0.22856 | 0.47146 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.11432 | -0.22856 | 0.51432 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.12861 | -0.22856 | 0.51432 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.1429 | -0.22856 | 0.51432 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.15719 | -0.22856 | 0.51432 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.17148 | -0.22856 | 0.51432 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.11432 | -0.25713 | 0.34288 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.12861 | -0.25713 | 0.34288 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.1429 | -0.25713 | 0.34288 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.15719 | -0.25713 | 0.34288 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.17148 | -0.25713 | 0.34288 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.11432 | -0.25713 | 0.38574 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.12861 | -0.25713 | 0.38574 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.1429 | -0.25713 | 0.38574 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.15719 | -0.25713 | 0.38574 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.17148 | -0.25713 | 0.38574 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.11432 | -0.25713 | 0.4286 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.12861 | -0.25713 | 0.4286 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.1429 | -0.25713 | 0.4286 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.15719 | -0.25713 | 0.4286 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.17148 | -0.25713 | 0.4286 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.11432 | -0.25713 | 0.47146 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.12861 | -0.25713 | 0.47146 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.1429 | -0.25713 | 0.47146 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.15719 | -0.25713 | 0.47146 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.17148 | -0.25713 | 0.47146 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.11432 | -0.25713 | 0.51432 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.12861 | -0.25713 | 0.51432 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.1429 | -0.25713 | 0.51432 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.15719 | -0.25713 | 0.51432 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.17148 | -0.25713 | 0.51432 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.11432 | -0.2857 | 0.34288 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.12861 | -0.2857 | 0.34288 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.1429 | -0.2857 | 0.34288 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.15719 | -0.2857 | 0.34288 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.17148 | -0.2857 | 0.34288 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.11432 | -0.2857 | 0.38574 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.12861 | -0.2857 | 0.38574 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.1429 | -0.2857 | 0.38574 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.15719 | -0.2857 | 0.38574 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.17148 | -0.2857 | 0.38574 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.11432 | -0.2857 | 0.4286 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.12861 | -0.2857 | 0.4286 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.1429 | -0.2857 | 0.4286 | 1 | -0.1429 | -0.2857 | 0.4286 |
| -0.15719 | -0.2857 | 0.4286 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.17148 | -0.2857 | 0.4286 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.11432 | -0.2857 | 0.47146 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.12861 | -0.2857 | 0.47146 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.1429 | -0.2857 | 0.47146 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.15719 | -0.2857 | 0.47146 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.17148 | -0.2857 | 0.47146 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.11432 | -0.2857 | 0.51432 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.12861 | -0.2857 | 0.51432 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.1429 | -0.2857 | 0.51432 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.15719 | -0.2857 | 0.51432 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.17148 | -0.2857 | 0.51432 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.11432 | -0.31427 | 0.34288 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.12861 | -0.31427 | 0.34288 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.1429 | -0.31427 | 0.34288 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.15719 | -0.31427 | 0.34288 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.17148 | -0.31427 | 0.34288 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.11432 | -0.31427 | 0.38574 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.12861 | -0.31427 | 0.38574 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.1429 | -0.31427 | 0.38574 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.15719 | -0.31427 | 0.38574 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.17148 | -0.31427 | 0.38574 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.11432 | -0.31427 | 0.4286 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.12861 | -0.31427 | 0.4286 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.1429 | -0.31427 | 0.4286 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.15719 | -0.31427 | 0.4286 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.17148 | -0.31427 | 0.4286 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.11432 | -0.31427 | 0.47146 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.12861 | -0.31427 | 0.47146 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.1429 | -0.31427 | 0.47146 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.15719 | -0.31427 | 0.47146 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.17148 | -0.31427 | 0.47146 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.11432 | -0.31427 | 0.51432 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.12861 | -0.31427 | 0.51432 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.1429 | -0.31427 | 0.51432 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.15719 | -0.31427 | 0.51432 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.17148 | -0.31427 | 0.51432 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.11432 | -0.34284 | 0.34288 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.12861 | -0.34284 | 0.34288 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.1429 | -0.34284 | 0.34288 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.15719 | -0.34284 | 0.34288 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.17148 | -0.34284 | 0.34288 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.11432 | -0.34284 | 0.38574 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.12861 | -0.34284 | 0.38574 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.1429 | -0.34284 | 0.38574 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.15719 | -0.34284 | 0.38574 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.17148 | -0.34284 | 0.38574 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.11432 | -0.34284 | 0.4286 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.12861 | -0.34284 | 0.4286 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.1429 | -0.34284 | 0.4286 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.15719 | -0.34284 | 0.4286 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.17148 | -0.34284 | 0.4286 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.11432 | -0.34284 | 0.47146 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.12861 | -0.34284 | 0.47146 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.1429 | -0.34284 | 0.47146 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.15719 | -0.34284 | 0.47146 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.17148 | -0.34284 | 0.47146 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.11432 | -0.34284 | 0.51432 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.12861 | -0.34284 | 0.51432 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.1429 | -0.34284 | 0.51432 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.15719 | -0.34284 | 0.51432 | -2 | -0.1429 | -0.2857 | 0.4286 |
| -0.17148 | -0.34284 | 0.51432 | -2 | -0.1429 | -0.2857 | 0.4286 |

# Appendix G: Simultaneous PTDF estimation for Case 2

| Table G.1: Simultaneous estimation of PTDF set # 1 |  |  |  |  |
| --- | --- | --- | --- | --- |
| 1st PTDF estimated value | 2nd PTDF estimated value | Feasibility flag (feasible=1) | 1st PTDF true value | 2nd PTDF true value |
| 0.424 | 0.33896 | -2 | 0.53 | 0.4237 |
| 0.477 | 0.33896 | -2 | 0.53 | 0.4237 |
| 0.53 | 0.33896 | -2 | 0.53 | 0.4237 |
| 0.583 | 0.33896 | -2 | 0.53 | 0.4237 |
| 0.636 | 0.33896 | -2 | 0.53 | 0.4237 |
| 0.424 | 0.38133 | -2 | 0.53 | 0.4237 |
| 0.477 | 0.38133 | -2 | 0.53 | 0.4237 |
| 0.53 | 0.38133 | -2 | 0.53 | 0.4237 |
| 0.583 | 0.38133 | -2 | 0.53 | 0.4237 |
| 0.636 | 0.38133 | -2 | 0.53 | 0.4237 |
| 0.424 | 0.4237 | -2 | 0.53 | 0.4237 |
| 0.477 | 0.4237 | -2 | 0.53 | 0.4237 |
| 0.53 | 0.4237 | 1 | 0.53 | 0.4237 |
| 0.583 | 0.4237 | -2 | 0.53 | 0.4237 |
| 0.636 | 0.4237 | -2 | 0.53 | 0.4237 |
| 0.424 | 0.46607 | -2 | 0.53 | 0.4237 |
| 0.477 | 0.46607 | -2 | 0.53 | 0.4237 |
| 0.53 | 0.46607 | -2 | 0.53 | 0.4237 |
| 0.583 | 0.46607 | -2 | 0.53 | 0.4237 |
| 0.636 | 0.46607 | -2 | 0.53 | 0.4237 |
| 0.424 | 0.50844 | -2 | 0.53 | 0.4237 |
| 0.477 | 0.50844 | -2 | 0.53 | 0.4237 |
| 0.53 | 0.50844 | -2 | 0.53 | 0.4237 |
| 0.583 | 0.50844 | -2 | 0.53 | 0.4237 |
| 0.636 | 0.50844 | -2 | 0.53 | 0.4237 |

| Table G.2: Simultaneous estimation of PTDF set # 2 |  |  |  |  |
| --- | --- | --- | --- | --- |
| 1st PTDF estimated value | 2nd PTDF estimated value | Feasibility flag (feasible=1) | 1st PTDF true value | 2nd PTDF true value |
| 0.424 | -0.09824 | -2 | 0.53 | -0.1228 |
| 0.477 | -0.09824 | -2 | 0.53 | -0.1228 |
| 0.53 | -0.09824 | -2 | 0.53 | -0.1228 |
| 0.583 | -0.09824 | -2 | 0.53 | -0.1228 |
| 0.636 | -0.09824 | -2 | 0.53 | -0.1228 |
| 0.424 | -0.11052 | -2 | 0.53 | -0.1228 |
| 0.477 | -0.11052 | -2 | 0.53 | -0.1228 |
| 0.53 | -0.11052 | -2 | 0.53 | -0.1228 |
| 0.583 | -0.11052 | -2 | 0.53 | -0.1228 |
| 0.636 | -0.11052 | -2 | 0.53 | -0.1228 |
| 0.424 | -0.1228 | -2 | 0.53 | -0.1228 |
| 0.477 | -0.1228 | -2 | 0.53 | -0.1228 |
| 0.53 | -0.1228 | 1 | 0.53 | -0.1228 |
| 0.583 | -0.1228 | -2 | 0.53 | -0.1228 |
| 0.636 | -0.1228 | -2 | 0.53 | -0.1228 |
| 0.424 | -0.13508 | -2 | 0.53 | -0.1228 |
| 0.477 | -0.13508 | -2 | 0.53 | -0.1228 |
| 0.53 | -0.13508 | -2 | 0.53 | -0.1228 |
| 0.583 | -0.13508 | -2 | 0.53 | -0.1228 |
| 0.636 | -0.13508 | -2 | 0.53 | -0.1228 |
| 0.424 | -0.14736 | -2 | 0.53 | -0.1228 |
| 0.477 | -0.14736 | -2 | 0.53 | -0.1228 |
| 0.53 | -0.14736 | -2 | 0.53 | -0.1228 |
| 0.583 | -0.14736 | -2 | 0.53 | -0.1228 |
| 0.636 | -0.14736 | -2 | 0.53 | -0.1228 |

| Table G.3: Simultaneous estimation of PTDF set # 3 |  |  |  |  |
| --- | --- | --- | --- | --- |
| 1st PTDF estimated value | 2nd PTDF estimated value | Feasibility flag (feasible=1) | 1st PTDF true value | 2nd PTDF true value |
| -0.09824 | 0.50664 | -2 | -0.1228 | 0.6333 |
| -0.11052 | 0.50664 | -2 | -0.1228 | 0.6333 |
| -0.1228 | 0.50664 | -2 | -0.1228 | 0.6333 |
| -0.13508 | 0.50664 | -2 | -0.1228 | 0.6333 |
| -0.14736 | 0.50664 | -2 | -0.1228 | 0.6333 |
| -0.09824 | 0.56997 | -2 | -0.1228 | 0.6333 |
| -0.11052 | 0.56997 | -2 | -0.1228 | 0.6333 |
| -0.1228 | 0.56997 | -2 | -0.1228 | 0.6333 |
| -0.13508 | 0.56997 | -2 | -0.1228 | 0.6333 |
| -0.14736 | 0.56997 | -2 | -0.1228 | 0.6333 |
| -0.09824 | 0.6333 | -2 | -0.1228 | 0.6333 |
| -0.11052 | 0.6333 | -2 | -0.1228 | 0.6333 |
| -0.1228 | 0.6333 | 1 | -0.1228 | 0.6333 |
| -0.13508 | 0.6333 | -2 | -0.1228 | 0.6333 |
| -0.14736 | 0.6333 | -2 | -0.1228 | 0.6333 |
| -0.09824 | 0.69663 | -2 | -0.1228 | 0.6333 |
| -0.11052 | 0.69663 | -2 | -0.1228 | 0.6333 |
| -0.1228 | 0.69663 | -2 | -0.1228 | 0.6333 |
| -0.13508 | 0.69663 | -2 | -0.1228 | 0.6333 |
| -0.14736 | 0.69663 | -2 | -0.1228 | 0.6333 |
| -0.09824 | 0.75996 | -2 | -0.1228 | 0.6333 |
| -0.11052 | 0.75996 | -2 | -0.1228 | 0.6333 |
| -0.1228 | 0.75996 | -2 | -0.1228 | 0.6333 |
| -0.13508 | 0.75996 | -2 | -0.1228 | 0.6333 |
| -0.14736 | 0.75996 | -2 | -0.1228 | 0.6333 |

| Table G.4: Simultaneous estimation of PTDF set # 4 |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 1st PTDF estimated value | 2nd PTDF estimated value | 3rd PTDF estimated value | Feasibility flag (feasible=1) | 1st PTDF true value | 2nd PTDF true value | 3rd PTDF true value |
| 0.424 | 0.33896 | 0.31488 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.477 | 0.33896 | 0.31488 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.53 | 0.33896 | 0.31488 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.583 | 0.33896 | 0.31488 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.636 | 0.33896 | 0.31488 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.424 | 0.33896 | 0.35424 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.477 | 0.33896 | 0.35424 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.53 | 0.33896 | 0.35424 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.583 | 0.33896 | 0.35424 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.636 | 0.33896 | 0.35424 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.424 | 0.33896 | 0.3936 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.477 | 0.33896 | 0.3936 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.53 | 0.33896 | 0.3936 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.583 | 0.33896 | 0.3936 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.636 | 0.33896 | 0.3936 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.424 | 0.33896 | 0.43296 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.477 | 0.33896 | 0.43296 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.53 | 0.33896 | 0.43296 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.583 | 0.33896 | 0.43296 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.636 | 0.33896 | 0.43296 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.424 | 0.33896 | 0.47232 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.477 | 0.33896 | 0.47232 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.53 | 0.33896 | 0.47232 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.583 | 0.33896 | 0.47232 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.636 | 0.33896 | 0.47232 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.424 | 0.38133 | 0.31488 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.477 | 0.38133 | 0.31488 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.53 | 0.38133 | 0.31488 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.583 | 0.38133 | 0.31488 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.636 | 0.38133 | 0.31488 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.424 | 0.38133 | 0.35424 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.477 | 0.38133 | 0.35424 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.53 | 0.38133 | 0.35424 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.583 | 0.38133 | 0.35424 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.636 | 0.38133 | 0.35424 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.424 | 0.38133 | 0.3936 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.477 | 0.38133 | 0.3936 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.53 | 0.38133 | 0.3936 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.583 | 0.38133 | 0.3936 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.636 | 0.38133 | 0.3936 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.424 | 0.38133 | 0.43296 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.477 | 0.38133 | 0.43296 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.53 | 0.38133 | 0.43296 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.583 | 0.38133 | 0.43296 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.636 | 0.38133 | 0.43296 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.424 | 0.38133 | 0.47232 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.477 | 0.38133 | 0.47232 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.53 | 0.38133 | 0.47232 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.583 | 0.38133 | 0.47232 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.636 | 0.38133 | 0.47232 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.424 | 0.4237 | 0.31488 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.477 | 0.4237 | 0.31488 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.53 | 0.4237 | 0.31488 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.583 | 0.4237 | 0.31488 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.636 | 0.4237 | 0.31488 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.424 | 0.4237 | 0.35424 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.477 | 0.4237 | 0.35424 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.53 | 0.4237 | 0.35424 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.583 | 0.4237 | 0.35424 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.636 | 0.4237 | 0.35424 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.424 | 0.4237 | 0.3936 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.477 | 0.4237 | 0.3936 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.53 | 0.4237 | 0.3936 | 1 | 0.53 | 0.4237 | 0.3936 |
| 0.583 | 0.4237 | 0.3936 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.636 | 0.4237 | 0.3936 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.424 | 0.4237 | 0.43296 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.477 | 0.4237 | 0.43296 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.53 | 0.4237 | 0.43296 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.583 | 0.4237 | 0.43296 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.636 | 0.4237 | 0.43296 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.424 | 0.4237 | 0.47232 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.477 | 0.4237 | 0.47232 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.53 | 0.4237 | 0.47232 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.583 | 0.4237 | 0.47232 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.636 | 0.4237 | 0.47232 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.424 | 0.46607 | 0.31488 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.477 | 0.46607 | 0.31488 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.53 | 0.46607 | 0.31488 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.583 | 0.46607 | 0.31488 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.636 | 0.46607 | 0.31488 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.424 | 0.46607 | 0.35424 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.477 | 0.46607 | 0.35424 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.53 | 0.46607 | 0.35424 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.583 | 0.46607 | 0.35424 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.636 | 0.46607 | 0.35424 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.424 | 0.46607 | 0.3936 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.477 | 0.46607 | 0.3936 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.53 | 0.46607 | 0.3936 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.583 | 0.46607 | 0.3936 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.636 | 0.46607 | 0.3936 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.424 | 0.46607 | 0.43296 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.477 | 0.46607 | 0.43296 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.53 | 0.46607 | 0.43296 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.583 | 0.46607 | 0.43296 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.636 | 0.46607 | 0.43296 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.424 | 0.46607 | 0.47232 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.477 | 0.46607 | 0.47232 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.53 | 0.46607 | 0.47232 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.583 | 0.46607 | 0.47232 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.636 | 0.46607 | 0.47232 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.424 | 0.50844 | 0.31488 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.477 | 0.50844 | 0.31488 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.53 | 0.50844 | 0.31488 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.583 | 0.50844 | 0.31488 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.636 | 0.50844 | 0.31488 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.424 | 0.50844 | 0.35424 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.477 | 0.50844 | 0.35424 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.53 | 0.50844 | 0.35424 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.583 | 0.50844 | 0.35424 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.636 | 0.50844 | 0.35424 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.424 | 0.50844 | 0.3936 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.477 | 0.50844 | 0.3936 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.53 | 0.50844 | 0.3936 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.583 | 0.50844 | 0.3936 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.636 | 0.50844 | 0.3936 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.424 | 0.50844 | 0.43296 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.477 | 0.50844 | 0.43296 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.53 | 0.50844 | 0.43296 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.583 | 0.50844 | 0.43296 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.636 | 0.50844 | 0.43296 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.424 | 0.50844 | 0.47232 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.477 | 0.50844 | 0.47232 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.53 | 0.50844 | 0.47232 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.583 | 0.50844 | 0.47232 | -2 | 0.53 | 0.4237 | 0.3936 |
| 0.636 | 0.50844 | 0.47232 | -2 | 0.53 | 0.4237 | 0.3936 |

| Table G.5: Simultaneous estimation of PTDF set # 5 |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 1st PTDF estimated value | 2nd PTDF estimated value | 3rd PTDF estimated value | Feasibility flag (feasible=1) | 1st PTDF true value | 2nd PTDF true value | 3rd PTDF true value |
| 0.424 | -0.09824 | -0.17208 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.477 | -0.09824 | -0.17208 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.53 | -0.09824 | -0.17208 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.583 | -0.09824 | -0.17208 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.636 | -0.09824 | -0.17208 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.424 | -0.09824 | -0.19359 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.477 | -0.09824 | -0.19359 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.53 | -0.09824 | -0.19359 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.583 | -0.09824 | -0.19359 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.636 | -0.09824 | -0.19359 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.424 | -0.09824 | -0.2151 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.477 | -0.09824 | -0.2151 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.53 | -0.09824 | -0.2151 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.583 | -0.09824 | -0.2151 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.636 | -0.09824 | -0.2151 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.424 | -0.09824 | -0.23661 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.477 | -0.09824 | -0.23661 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.53 | -0.09824 | -0.23661 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.583 | -0.09824 | -0.23661 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.636 | -0.09824 | -0.23661 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.424 | -0.09824 | -0.25812 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.477 | -0.09824 | -0.25812 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.53 | -0.09824 | -0.25812 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.583 | -0.09824 | -0.25812 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.636 | -0.09824 | -0.25812 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.424 | -0.11052 | -0.17208 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.477 | -0.11052 | -0.17208 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.53 | -0.11052 | -0.17208 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.583 | -0.11052 | -0.17208 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.636 | -0.11052 | -0.17208 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.424 | -0.11052 | -0.19359 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.477 | -0.11052 | -0.19359 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.53 | -0.11052 | -0.19359 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.583 | -0.11052 | -0.19359 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.636 | -0.11052 | -0.19359 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.424 | -0.11052 | -0.2151 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.477 | -0.11052 | -0.2151 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.53 | -0.11052 | -0.2151 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.583 | -0.11052 | -0.2151 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.636 | -0.11052 | -0.2151 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.424 | -0.11052 | -0.23661 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.477 | -0.11052 | -0.23661 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.53 | -0.11052 | -0.23661 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.583 | -0.11052 | -0.23661 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.636 | -0.11052 | -0.23661 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.424 | -0.11052 | -0.25812 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.477 | -0.11052 | -0.25812 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.53 | -0.11052 | -0.25812 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.583 | -0.11052 | -0.25812 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.636 | -0.11052 | -0.25812 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.424 | -0.1228 | -0.17208 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.477 | -0.1228 | -0.17208 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.53 | -0.1228 | -0.17208 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.583 | -0.1228 | -0.17208 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.636 | -0.1228 | -0.17208 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.424 | -0.1228 | -0.19359 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.477 | -0.1228 | -0.19359 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.53 | -0.1228 | -0.19359 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.583 | -0.1228 | -0.19359 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.636 | -0.1228 | -0.19359 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.424 | -0.1228 | -0.2151 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.477 | -0.1228 | -0.2151 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.53 | -0.1228 | -0.2151 | 1 | 0.53 | -0.1228 | -0.2151 |
| 0.583 | -0.1228 | -0.2151 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.636 | -0.1228 | -0.2151 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.424 | -0.1228 | -0.23661 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.477 | -0.1228 | -0.23661 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.53 | -0.1228 | -0.23661 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.583 | -0.1228 | -0.23661 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.636 | -0.1228 | -0.23661 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.424 | -0.1228 | -0.25812 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.477 | -0.1228 | -0.25812 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.53 | -0.1228 | -0.25812 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.583 | -0.1228 | -0.25812 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.636 | -0.1228 | -0.25812 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.424 | -0.13508 | -0.17208 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.477 | -0.13508 | -0.17208 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.53 | -0.13508 | -0.17208 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.583 | -0.13508 | -0.17208 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.636 | -0.13508 | -0.17208 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.424 | -0.13508 | -0.19359 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.477 | -0.13508 | -0.19359 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.53 | -0.13508 | -0.19359 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.583 | -0.13508 | -0.19359 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.636 | -0.13508 | -0.19359 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.424 | -0.13508 | -0.2151 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.477 | -0.13508 | -0.2151 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.53 | -0.13508 | -0.2151 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.583 | -0.13508 | -0.2151 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.636 | -0.13508 | -0.2151 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.424 | -0.13508 | -0.23661 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.477 | -0.13508 | -0.23661 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.53 | -0.13508 | -0.23661 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.583 | -0.13508 | -0.23661 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.636 | -0.13508 | -0.23661 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.424 | -0.13508 | -0.25812 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.477 | -0.13508 | -0.25812 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.53 | -0.13508 | -0.25812 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.583 | -0.13508 | -0.25812 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.636 | -0.13508 | -0.25812 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.424 | -0.14736 | -0.17208 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.477 | -0.14736 | -0.17208 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.53 | -0.14736 | -0.17208 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.583 | -0.14736 | -0.17208 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.636 | -0.14736 | -0.17208 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.424 | -0.14736 | -0.19359 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.477 | -0.14736 | -0.19359 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.53 | -0.14736 | -0.19359 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.583 | -0.14736 | -0.19359 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.636 | -0.14736 | -0.19359 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.424 | -0.14736 | -0.2151 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.477 | -0.14736 | -0.2151 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.53 | -0.14736 | -0.2151 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.583 | -0.14736 | -0.2151 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.636 | -0.14736 | -0.2151 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.424 | -0.14736 | -0.23661 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.477 | -0.14736 | -0.23661 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.53 | -0.14736 | -0.23661 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.583 | -0.14736 | -0.23661 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.636 | -0.14736 | -0.23661 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.424 | -0.14736 | -0.25812 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.477 | -0.14736 | -0.25812 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.53 | -0.14736 | -0.25812 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.583 | -0.14736 | -0.25812 | -2 | 0.53 | -0.1228 | -0.2151 |
| 0.636 | -0.14736 | -0.25812 | -2 | 0.53 | -0.1228 | -0.2151 |

| Table G.6: Simultaneous estimation of PTDF set # 6 |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 1st PTDF estimated value | 2nd PTDF estimated value | 3rd PTDF estimated value | Feasibility flag (feasible=1) | 1st PTDF true value | 2nd PTDF true value | 3rd PTDF true value |
| -0.09824 | 0.50664 | -0.17208 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.11052 | 0.50664 | -0.17208 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.1228 | 0.50664 | -0.17208 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.13508 | 0.50664 | -0.17208 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.14736 | 0.50664 | -0.17208 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.09824 | 0.50664 | -0.19359 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.11052 | 0.50664 | -0.19359 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.1228 | 0.50664 | -0.19359 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.13508 | 0.50664 | -0.19359 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.14736 | 0.50664 | -0.19359 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.09824 | 0.50664 | -0.2151 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.11052 | 0.50664 | -0.2151 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.1228 | 0.50664 | -0.2151 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.13508 | 0.50664 | -0.2151 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.14736 | 0.50664 | -0.2151 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.09824 | 0.50664 | -0.23661 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.11052 | 0.50664 | -0.23661 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.1228 | 0.50664 | -0.23661 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.13508 | 0.50664 | -0.23661 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.14736 | 0.50664 | -0.23661 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.09824 | 0.50664 | -0.25812 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.11052 | 0.50664 | -0.25812 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.1228 | 0.50664 | -0.25812 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.13508 | 0.50664 | -0.25812 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.14736 | 0.50664 | -0.25812 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.09824 | 0.56997 | -0.17208 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.11052 | 0.56997 | -0.17208 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.1228 | 0.56997 | -0.17208 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.13508 | 0.56997 | -0.17208 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.14736 | 0.56997 | -0.17208 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.09824 | 0.56997 | -0.19359 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.11052 | 0.56997 | -0.19359 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.1228 | 0.56997 | -0.19359 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.13508 | 0.56997 | -0.19359 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.14736 | 0.56997 | -0.19359 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.09824 | 0.56997 | -0.2151 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.11052 | 0.56997 | -0.2151 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.1228 | 0.56997 | -0.2151 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.13508 | 0.56997 | -0.2151 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.14736 | 0.56997 | -0.2151 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.09824 | 0.56997 | -0.23661 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.11052 | 0.56997 | -0.23661 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.1228 | 0.56997 | -0.23661 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.13508 | 0.56997 | -0.23661 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.14736 | 0.56997 | -0.23661 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.09824 | 0.56997 | -0.25812 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.11052 | 0.56997 | -0.25812 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.1228 | 0.56997 | -0.25812 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.13508 | 0.56997 | -0.25812 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.14736 | 0.56997 | -0.25812 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.09824 | 0.6333 | -0.17208 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.11052 | 0.6333 | -0.17208 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.1228 | 0.6333 | -0.17208 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.13508 | 0.6333 | -0.17208 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.14736 | 0.6333 | -0.17208 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.09824 | 0.6333 | -0.19359 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.11052 | 0.6333 | -0.19359 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.1228 | 0.6333 | -0.19359 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.13508 | 0.6333 | -0.19359 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.14736 | 0.6333 | -0.19359 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.09824 | 0.6333 | -0.2151 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.11052 | 0.6333 | -0.2151 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.1228 | 0.6333 | -0.2151 | 1 | -0.1228 | 0.6333 | -0.2151 |
| -0.13508 | 0.6333 | -0.2151 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.14736 | 0.6333 | -0.2151 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.09824 | 0.6333 | -0.23661 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.11052 | 0.6333 | -0.23661 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.1228 | 0.6333 | -0.23661 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.13508 | 0.6333 | -0.23661 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.14736 | 0.6333 | -0.23661 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.09824 | 0.6333 | -0.25812 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.11052 | 0.6333 | -0.25812 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.1228 | 0.6333 | -0.25812 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.13508 | 0.6333 | -0.25812 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.14736 | 0.6333 | -0.25812 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.09824 | 0.69663 | -0.17208 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.11052 | 0.69663 | -0.17208 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.1228 | 0.69663 | -0.17208 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.13508 | 0.69663 | -0.17208 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.14736 | 0.69663 | -0.17208 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.09824 | 0.69663 | -0.19359 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.11052 | 0.69663 | -0.19359 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.1228 | 0.69663 | -0.19359 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.13508 | 0.69663 | -0.19359 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.14736 | 0.69663 | -0.19359 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.09824 | 0.69663 | -0.2151 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.11052 | 0.69663 | -0.2151 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.1228 | 0.69663 | -0.2151 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.13508 | 0.69663 | -0.2151 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.14736 | 0.69663 | -0.2151 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.09824 | 0.69663 | -0.23661 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.11052 | 0.69663 | -0.23661 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.1228 | 0.69663 | -0.23661 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.13508 | 0.69663 | -0.23661 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.14736 | 0.69663 | -0.23661 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.09824 | 0.69663 | -0.25812 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.11052 | 0.69663 | -0.25812 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.1228 | 0.69663 | -0.25812 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.13508 | 0.69663 | -0.25812 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.14736 | 0.69663 | -0.25812 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.09824 | 0.75996 | -0.17208 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.11052 | 0.75996 | -0.17208 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.1228 | 0.75996 | -0.17208 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.13508 | 0.75996 | -0.17208 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.14736 | 0.75996 | -0.17208 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.09824 | 0.75996 | -0.19359 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.11052 | 0.75996 | -0.19359 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.1228 | 0.75996 | -0.19359 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.13508 | 0.75996 | -0.19359 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.14736 | 0.75996 | -0.19359 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.09824 | 0.75996 | -0.2151 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.11052 | 0.75996 | -0.2151 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.1228 | 0.75996 | -0.2151 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.13508 | 0.75996 | -0.2151 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.14736 | 0.75996 | -0.2151 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.09824 | 0.75996 | -0.23661 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.11052 | 0.75996 | -0.23661 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.1228 | 0.75996 | -0.23661 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.13508 | 0.75996 | -0.23661 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.14736 | 0.75996 | -0.23661 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.09824 | 0.75996 | -0.25812 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.11052 | 0.75996 | -0.25812 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.1228 | 0.75996 | -0.25812 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.13508 | 0.75996 | -0.25812 | -2 | -0.1228 | 0.6333 | -0.2151 |
| -0.14736 | 0.75996 | -0.25812 | -2 | -0.1228 | 0.6333 | -0.2151 |